Planning & Urban Development Department

Jeff Levine, AICP, Director

Planning Division

Alexander Jaegerman, Director

February 12, 2013

| Greg Shinberg Shinberg Consulting 477 Congress Street Portland, ME 04101 | Cow Plaza Hotel, LLC 100 Commercial Street Suite 306 Portland, ME 04101 |
| --- | --- |

Project Name:	  Canal Plaza Hotel				Project ID:	2012-558

Address:	  433 Fore Street				CBL:  		32-I-40

Applicant:	  Cow Plaza Hotel, LLC, Applicant

Planner: 	  Nell Donaldson

Dear Mr. Shinberg:

On November 5, 2012, the Planning Board approved your application for an 80,000 SF development, the Canal Plaza Hotel, at 433 Fore Street.  In the intervening time, you requested that a foundation permit be issued for the hotel prior to the release of a building permit.  As conditions relating specifically to a foundation permit were not identified in the original approval letter, this letter is intended to clarify those conditions and verify that they have been met.  For your reference, this letter also clarifies deadlines for other conditions specified in the approval letter.  The approval letter is attached.

The following conditions were required prior to the issuance of a foundation permit and have been met:

- The applicant shall revise the final plans prior to the issuance of a building permit to include:

- A “Do Not Enter” sign at the egress drive location on Union Street

- A note indicating that LED versions of the proposed street lights will be installed, and that the applicant will coordinate with the city regarding model numbers

- Tree grates as specified by the city arborist

- The applicant shall acquire easements for drainage and service access, as well as formalize an easement to CMP which corresponds to the actual location of the electrical duct bank on site, for review and approval by the Planning Authority;

- The applicant shall submit a revised construction management plan for review and approval by the Planning Authority, the Department of Public Services, the city’s Parking Manager, and the city’s Fire Prevention Bureau;

- The applicant shall revise the site plan to include notes indicating the final location of the existing mast arm, the final location of the controller cabinet, and the final location of the pedestrian signal heads, for review and approval by the Department of Public Services;

- The applicant shall provide information on slip-resistance and prepare a maintenance agreement regarding the granite driveway aprons, if required, for review and approval by the city’s Department of Public Services and Corporation Counsel, or revert to bituminous aprons per the city’s Technical Manual; and

- The applicant shall increase the clearance in the porte cochere to 10’, for review and approval by the city’s Fire Prevention Bureau.

For reference, note that the following conditions must be met prior to the issuance of a building permit:

- The applicant shall obtain revocable licenses for the proposed brise soleil, signage, and footings required in the city’s right-of-way;

Note that revocable licenses for foundation footings in the city’s right-of-way, if necessary, would have been required as a condition for a foundation permit.  However, since the applicant is not requesting licenses for this purpose, the remaining licenses listed here are required as a condition for a building permit.

- The applicant shall provide a detailed plan for managing traffic in the porte cochere that includes sufficient staffing, 24-hours a day, to prevent stacking into the Fore Street sidewalk and street right-of-way and provide a plan for the handling of large truck deliveries for review and approval by the Planning Authority and the city’s Department of Public Services;

- The applicant shall submit samples of the final custom color of the limestone composite panels proposed for the exterior of the building, consistent with the color panels shown at the public hearing, for review and approval by the Planning Authority; and

- The applicant shall submit revised elevations and specifications for the rooftop mechanical screen and stair tower, which address the recommendations of the Planning staff and the Historic Preservation Board, for review and approval by the Planning Authority.

# The following conditions must be met prior to the issuance of a certificate of occupancy:

- The applicant shall submit the HVAC system specifications meeting applicable standards for the Zoning Administrator’s review and approval;

10. A final lighting plan including photometric data and meeting relevant Technical Standards, which may include any proposed low intensity top floor wash or grazing lighting, shall be submitted for review and approval by the Planning Authority prior to the issuance of a certificate of occupancy; and

- A final comprehensive signage plan, including design and illumination details for all proposed signs, shall be submitted for review and approval by the Planning Authority prior to the issuance of a certificate of occupancy.

# Note that, per a letter from the Planning Division dated February 6, 2013, confirmation of the restaurant as an ancillary use of the hotel will also be required as a condition of certificate of occupancy. This letter is also attached here for reference.

# If there are any questions, please feel free to contact me at (207) 874-8723.

Sincerely,

Nell Donaldson,

Planner

# cc:  	Jeff Levine, Director of Planning and Urban Development

# Alexander Jaegerman, Planning Division Director

# Barbara Barhydt, Development Review Services Manager

# Philip DiPierro, Development Review Coordinator, Planning

# Marge Schmuckal, Zoning Administrator, Inspections Division

# Tammy Munson, Inspection Division Director

# Lannie Dobson, Administration, Inspections Division

# Gayle Guertin, Administration, Inspections Division

# Michael Bobinsky, Public Services Director

# Katherine Earley, Engineering Services Manager, Public Services

# Bill Clark, Project Engineer, Public Services

# David Margolis-Pineo, Deputy City Engineer, Public Services

# Doug Roncarati, Stormwater Coordinator, Public Services

# Greg Vining, Associate Engineer, Public Services

# Michelle Sweeney, Associate Engineer

# John Low, Associate Engineer, Public Services

# Matt Doughty, Field Inspection Coordinator, Public Services

# Mike Farmer, Project Engineer, Public Services

# Jane Ward, Administration, Public Services

# Jeff Tarling, City Arborist, Public Services

# Captain Chris Pirone, Fire Department

# Thomas Erriso, P.E., TY Lin Associates

# David Senus, P.E., Woodard and Curran

# Rick Blackburn, Assessor’s Department

# Approval Letter File