| CONDITIONS OF APPROVAL (11/14/12) | TIMELINE | ACTION |
| --- | --- | --- |
| The applicant shall revise the final plans prior to the issuance of a building permit to include: A “Do Not Enter” sign at the egress drive location on Union Street A note indicating that LED versions of the proposed street lights will be installed, and that the applicant will coordinate with the city regarding model numbers Tree grates as specified by the city arborist Updated grease trap info (ND addition) | Any permit | Per JT email (1/24/13), ok with grates All other conditions met on 1/15/13 plans |
| The applicant shall acquire easements for drainage and service access, as well as formalize an easement to CMP which corresponds to the actual location of the electrical duct bank on site, for review and approval by the Planning Authority; | Any permit | 1/7/13 – Have CMP easement 1/24/13 – Downloaded other easements |
| The applicant shall obtain revocable licenses for the proposed brise soleil, signage, and footings required in the city’s right-of-way; | Foundation footings – Any permit Other – Building permit | 1/22/13 – Legal descriptions sent to Bill Clark 1/22/13 - Draft language sent to GS 2/11/13 – have final, signed licenses |
| The applicant shall submit the HVAC system specifications meeting applicable standards for the Zoning Administrator’s review and approval; | CO |  |
| The applicant shall submit a revised construction management plan for review and approval by the Planning Authority, the Department of Public Services, the city’s Parking Manager, and the city’s Fire Prevention Bureau; | Any permit | OK 2/7/13 |
| The applicant shall revise the site plan to include notes indicating the final location of the existing mast arm, the final location of the controller cabinet, and the final location of the pedestrian signal heads, for review and approval by the Department of Public Services; | Any permit | OK per TE email 2/7/13 |
| The applicant shall provide information on slip-resistance and prepare a maintenance agreement regarding the granite driveway aprons, if required, for review and approval by the city’s Department of Public Services and Corporation Counsel, or revert to bituminous aprons per the city’s Technical Manual; | Building permit | Reverted to bituminous per 2/7 site plan |
| The applicant shall provide a detailed plan for managing traffic in the porte cochere that includes sufficient staffing, 24-hours a day, to prevent stacking into the Fore Street sidewalk and street right-of-way and provide a plan for the handling of large truck deliveries for review and approval by the Planning Authority and the city’s Department of Public Services; | Building permit | Per 1/31/13 email from Tom Errico, okay with letter provided re p.c. traffic Truck deliveries – formal letter supplied to applicant 4/16/13 |
| The applicant shall increase the clearance in the porte cochere to 10’, and add sign, for review and approval by the city’s Fire Prevention Bureau; | Any permit | Per 1/23/13 email from Chris Pirone, condition has been met |
| 10. A final lighting plan including photometric data and meeting relevant Technical Standards, which may include any proposed low intensity top floor wash or grazing lighting, shall be submitted for review and approval by the Planning Authority prior to the issuance of a certificate of occupancy; | CO |  |
| A final comprehensive signage plan, including design and illumination details for all proposed signs, shall be submitted for review and approval by the Planning Authority prior to the issuance of a certificate of occupancy; | CO |  |
| The applicant shall submit samples of the final custom color of the limestone composite panels proposed for the exterior of the building, consistent with the color panels shown at the public hearing, for review and approval by the Planning Authority; | Building permit | Verbal OK from design review group 4/4/13 |
| The applicant shall submit revised elevations and specifications for the rooftop mechanical screen and stair tower, which address the recommendations of the Planning staff and the Historic Preservation Board, for review and approval by the Planning Authority. | Building permit | Lowered several feet. Verbal OK from design review group 4/4/13 |
| OTHER. Applicant shall confirm the trip generation of the restaurant for review and approval by Tom Errico. | Any permit | OK per TE email 1/31/13. ND sent addendum letter 2/6/13 |
| OTHER: Confirmation of restaurant as independent operation. | CO |  |
| OTHER: PLAN AMENDMENTS. Increase in rooms, changes to exterior elevations | Building permit |  |