From: 	Marge Schmuckal
To:	Helen Donaldson
Date: 	10/3/2012 3:42 PM
Subject: 	433 Fore Street

Hi Nell,
Here are my non-one solution comments....
 
433 Fore Street -  032-I-040
#2012 558 - B-3 Zone
10/3/2012
 
I have been able to view the most recent submission. Currently the room number count has been reduced by one to 123 rooms.  I have also reviewed the elevations showing the average grade using the computation method that I commonly use.  The 65' maximum street wall height is being met. The so-called krinkle wall is also meeting the maximum street wall height requirement. The maximum allowable height for the structure is 85' and the top of the highest roof beam is 75.25'. There is a roof wall surrounding the HVAC units and elevator shafts that is not required to meet the height requirement by Ordinance.
 
All other zoning requirements are being met. My previous comments about signage and HVAC units still are in force.
 
Marge Schmuckal
Zoning Administrator