CITY OF PORTLAND

DEPARTMENT OF PLANNING & URBAN DEVELOPMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

|  |  |  |  |
| --- | --- | --- | --- |
| **Owner/Manager**  TEVANIAN SHIRLEY E TRUSTEE | | **Inspector**  Chuck Fagone | **Inspection Date**  6/9/2015 |
| **Location**  44 CEDAR ST | **CBL**  033 H011001 | **Status**  Re-Inspect 30 Days | **Inspection Type**  Complaint-Inspection |

**Code Int/Ext Floor**

**Unit No.**

**Area**

**Compliance Date**

1) 6-116. (e) Interior Smoke Alarms

**Violation:**

**Notes: Comments:**

**FIRE PROTECTION**

Every dwelling, dwelling unit, rooming house and rooming unit shall comply with the applicable provisions of the most current edition of the National Fire Protection Association Life Safety Code, and with all other applicable state statutes and regulations.

Violations exist, no smoke detectors. A battery operated or hard wired smoke detector will need to be installed in each bedroom. A combination smoke/carbon monoxide detector should be installed on each floor in a common area (living room or foyer). Detectors will need to be photo-electric.

Fire Protection