## Memorandum

Department of Planning and Development

Planning Division

TO:		Inspections Department

FROM:	Philip DiPierro, Development Review Coordinator

DATE:	February 28, 2013

RE:		C. of O. for # 385 Cumberland Avenue, Shalom House

(Id # 2011-388) (CBL 033 I 009001)

After visiting the site, I have the following comments:

Site work incomplete:

- Landscaping and plant installations, finish grading, loaming and seeding,

- Paving and striping,

- Installation of the 3 foot stockade fence,

- Riprap installation,

- Removal of concrete, and installation of brick along the front of the building,

- Miscellaneous minor site work.

I anticipate this work can be completed by June 1, 2013.

At this time, I recommend issuing a temporary Certificate of Occupancy.

Cc:	Tammy Munson, Inspection Services Manager

Barbara Barhydt, Development Review Services Manager