18 Hanover Street

Existing Conditions

- The house was constructed in the 1840’s, and is combined with the adjacent house at 20 Hanover St

- The framing details are  assumed to be 2x4 wall construction. The flooring was replaced in the past to alleviate a rotted floor joists; the new joists are 2x10  running at right angles to the street with a center support.

- The roof is framed consistent with that era and is covered with insulation.

- The basement under the area to be renovated as a kitchen is a 3 foot crawl space, with a stone/brick  foundation

Proposed Scope of Work

- The owner seeks to install a modern kitchen in the rear area, and a new half bath with a laundry room.

- The framing will remain the same except the electrical will be installed and be code compliant.

- The Plumbing will be upgraded to accommodate the new kitchen and laundry room. These too will be code compliant

- The flooring has not been determined,

- To the extent that the sheetrock or plaster are removed the disturbed area will be insulated and covered with sheetrock

- The heat source has not been determined. It is possible that another zonw ill be added or a Rinnai heater installed .