## Memorandum

Department of Planning and Development

Planning Division

TO:		Inspections Department

FROM:	Philip DiPierro, Development Review Coordinator

DATE:	May 27, 2010

RE:		C. of O. for # 58 Alder Street, Bowl Portland

(Id # 09-79900009) (CBL 034  H 002001)

After visiting the site, I have the following comments:

Site work incomplete:

- Installation of permanent street lights and fixtures along Alder Street,

- Confirmation that Steve Harris in Public Services has approved and inspected the installation of the grease trap,

- Installation of the 2 bike racks,

- Confirmation that the paved parking area adequately drains,

- Minor Miscellaneous site work,

I anticipate this work can be completed by June 30, 2010.

At this time, I recommend issuing a temporary Certificate of Occupancy.

Cc:	Inspection Services Manager

File:  Barbara Barhydt, Development Review Services Manager

File:  HTE