# CITY OF PORTLAND, MAINE

# PLANNING BOARD

Elizabeth Boepple, Chair
Sean Dundon, Vice Chair

David Eaton
Bill Hall
Carol Morrissette

Jack Soley

October 29th, 2015

Patrick Ducas 17 Chestnut Street Portland ME 04101

Project Name:	Subdivision and Change of Use/Renovation of existing building to create Ten Residential Units

Project #:   	#2015-162;   Level III Subdivision and Site Plan

Address:	415 Cumberland Avenue, Portland

CBL:  		036 G033 001

Applicant:	Patrick Ducas

Planner: 	Jean Fraser

Dear Mr. Ducas:

On October 27th, 2015, the Planning Board considered the Level III Subdivision and Site Plan application for the subdivision and change of use of the 3 - 4 story existing building at 415 Cumberland Avenue, along with associated renovations and minor site improvements. The conversion creates ten residential units on the upper floors, served by storage and parking facilities (6 parking spaces) on the lowest floor, totaling approximately 12,500 sq ft.  A 1300 sq ft commercial space remains on the lowest floor with a separate access. The Planning Board reviewed the proposal for conformance with the standards of the Subdivision and Site Plan Ordinances, and approved the application with the following waiver and conditions as presented below.

- Waiver

On the basis of the application, plans, reports and other information submitted by the applicant, findings and recommendations, contained in the Planning Board Report for the public hearing on October 27, 2015 for application #2015-162 (415 Cumberland Avenue) relevant to Portland’s Technical and Design Standards and other regulations, and the testimony presented at the Planning Board hearing:

- Street Trees: The Planning Board voted 4-0 (Hall and Soley absent) to waive Section 14-526 (b) (2) (b) (iii) Street Trees, in respect of 6 of the 10 required street trees due to the lack of space, subject to the applicant making a contribution of $1200 to the City of Portland Tree Fund (prior to the issuance of a building permit) towards the installation and maintenance of urban street trees in the vicinity of the site.

B.	Subdivision Review

On the basis of the application, plans, reports and other information submitted by the applicant, findings and recommendations contained in the Planning Board Report for the public hearing on October 27, 2015 for application #2015-162 (415 Cumberland Avenue) relevant to the Subdivision regulations, and the testimony presented at the Planning Board hearing, the Planning Board voted 4-0 (Hall and Soley absent) that it finds that the plan is in conformance with the subdivision standards of the land use code subject to the following conditions of approval:

- That the Subdivision Plat shall be finalized to the satisfaction of the Planning Authority, Corporation Counsel, and Department of Public Services, and include confirmation regarding the street tree requirements, clarification of easements, and other information along with relevant notes and conditions prior to submission for Planning Board signature; and

- That in the event the property is converted to a condominium, that the recorded condominium documents shall be copied to the Planning Authority.

C.  	Site Plan Review

On the basis of the application, plans, reports and other information submitted by the applicant; findings and recommendations contained in the Planning Board Report for the public hearing on October 27, 2015 for application #2015-162 (415 Cumberland Avenue) relevant to the site plan regulations; and the testimony presented at the planning board hearing,  the Planning Board voted 4-0 (Hall and Soley absent) that it finds the plan is in conformance with the site plan standards of the land use code, subject to the following conditions of approval:

- That the applicant shall submit a revised site plan/plat that shows the location and design of the 4 bicycle parking spaces, the proposed planting in the front garden area including 2 street trees on the site, and the replacement ADA ramp panel in the ROW at the corner of Forest Avenue and Cumberland Avenue (to meet the City’s Technical Standards for any work in the ROW), for review and approval by the Planning Authority prior to the issuance of a building permit; and

- That the  applicant shall submit plans showing the proposals for:  A) Any modifications to the roof drainage to meet the Wastewater Capacity Letter conditions (that all roof drainage be directed to the sidewalk or street level); and B) All upgrades to the existing water and sewer utilities at the existing locations, including restoration of the sidewalk (to meet the City’s Technical Standards for any work in the ROW);  both for review and approval prior to the issuance of a building permit; and

- That the applicant shall submit the capacity letter in respect of water supply prior to the issuance of a building permit; and

- That any exterior lighting shall meet the to meet the City’s Site Lighting Standards in Section 12 of the Technical Manual, and the trash storage area shall meet the B3c External Effects standards; and

- That the applicant shall address the comments of the Fire Department dated 10.7.15 regarding the development of street addresses and their marking on the structure prior to the issuance of a certificate of occupancy; and

- That a separate “change of use” permit shall be obtained from the Inspections Division.

The approval is based on the submitted plans and the findings related to site plan and subdivision review standards as contained in Planning Report for application #2015-162, which is attached.

# Standard Conditions of Approval

Please note the following standard conditions of approval and requirements for all approved site plans:

- Subdivision Recording Plat  A revised recording plat listing all conditions of subdivision approval must be submitted for review and signature prior to the issuance of a performance guarantee.  The performance guarantee must be issued prior to the release of the recording plat for recording at the Cumberland County Registry of Deeds.

- Subdivision Waivers  Pursuant to 30-A MRSA section 4406(B)(1), any waiver must be specified on the subdivision plan or outlined in a notice and the plan or notice must be recorded in the Cumberland County Registry of Deeds within 90 days of the final subdivision approval).

- Develop Site According to Plan The site shall be developed and maintained as depicted on the site plan and in the written submission of the applicant. Modification of any approved site plan or alteration of a parcel which was the subject of site plan approval after May 20, 1974, shall require the prior approval of a revised site plan by the Planning Board or the Planning Authority pursuant to the terms of Chapter 14, Land Use, of the Portland City Code.

- Separate Building Permits Are Required This approval does not constitute approval of building plans, which must be reviewed and approved by the City of Portland’s Inspection Division.

- Site Plan Expiration The site plan approval will be deemed to have expired unless work has commenced within one (1) year of the approval or within a time period up to three (3) years from the approval date as agreed upon in writing by the City and the applicant.  Requests to extend approvals must be received before the one (1) year expiration date.

- Subdivision Plan Expiration The subdivision approval is valid for up to three years from the date of Planning Board approval.

- Performance Guarantee and Inspection Fees A performance guarantee covering the site improvements as well as an inspection fee payment of 2.0% of the guarantee amount and six (6) final sets of plans must be submitted to and approved by the Planning Division and Public Services Department prior to the release of a subdivision plat for recording at the Cumberland County of Deeds, and prior to the release of a building permit, street opening permit or certificate of occupancy for site plans.  If you need to make any modifications to the approved plans, you must submit a revised site plan application for staff review and approval.

- Defect Guarantee A defect guarantee, consisting of 10% of the performance guarantee, must be posted before the performance guarantee will be released.

- Preconstruction Meeting  Prior to the release of a building permit or site construction, a pre-construction meeting shall be held at the project site.  This meeting will be held with the contractor, Development Review Coordinator, Public Service's representative and owner to review the construction schedule and critical aspects of the site work.  At that time, the Development Review Coordinator will confirm that the contractor is working from the approved site plan.  The site/building contractor shall provide three (3) copies of a detailed construction schedule to the attending City representatives.  It shall be the contractor's responsibility to arrange a mutually agreeable time for the pre-construction meeting.

- Department of Public Services Permits If work will occur within the public right-of-way such as utilities, curb, sidewalk and driveway construction, a street opening permit(s) is required for your site.  Please contact Carol Merritt at 874-8300, ext. 8828.  (Only excavators licensed by the City of Portland are eligible.)

- As-Built Final Plans Final sets of as-built plans shall be submitted digitally to the Planning Division, on a CD or DVD, in AutoCAD format (*,dwg), release AutoCAD 2005 or greater.

- Mylar Copies Mylar copies of the as-built drawings for the public streets and other public infrastructure in the subdivision must be submitted to the Public Services Dept. prior to the issuance of a certificate of occupancy.

The Development Review Coordinator must be notified five (5) working days prior to date required for final site inspection.  The Development Review Coordinator can be reached at the Planning Division at 874-8632.  All site plan requirements must be completed and approved by the Development Review Coordinator prior to issuance of a Certificate of Occupancy.  Please schedule any property closing with these requirements in mind.

If there are any questions, please contact Jean Fraser at 874-8728.

Sincerely,

Elizabeth Boepple, Chair

Portland Planning Board

Attachments:

- Fire Department comments dated 10.7.2015

- Planning Board Report for #2015-162  415 Cumberland Avenue

- Performance Guarantee Packet

Electronic Distribution:

# cc:  	Jeff Levine, AICP, Director of Planning and Urban Development

# Stuart O’Brien, Planning Division Director

# Barbara Barhydt, Development Review Services Manager

# Jean Fraser, Planner

# Philip DiPierro, Development Review Coordinator, Planning

# Ann Machado, Zoning Administrator, Inspections Division

# Tammy Munson, Inspections Division Director

# Jonathan Rioux, Inspections Division Deputy Director

# Jeanie Bourke, Plan Reviewer/CEO, Inspections Division

# Brad Saucier, Administration, Inspections Division

# Katherine Earley, Engineering Services Manager, Public Services

# Bill Clark, Project Engineer, Public Services

# David Margolis-Pineo, Deputy City Engineer, Public Services

# Doug Roncarati, Stormwater Coordinator, Public Services

# Greg Vining, Associate Engineer, Public Services

# Michelle Sweeney, Associate Engineer

# John Low, Associate Engineer, Public Services

# Rhonda Zazzara, Field Inspection Coordinator, Public Services

# Mike Farmer, Project Engineer, Public Services

# Jane Ward, Administration, Public Services

# Jeff Tarling, City Arborist, Public Services

# Jeremiah Bartlett, Public Services

# Keith Gautreau, Fire Department

# Jennifer Thompson, Corporation Counsel

# Thomas Errico, P.E., TY Lin Associates

# David Senus, P.E., Woodard and Curran

# Deborah Andrews, Historic Preservation Program Manager

# Rick Blackburn, Assessor’s Department

# Approval Letter File

# Attachment 1