January 6, 2010

To:   	Jean Fraser

Barbara Barhydt

From:	David Margolis-Pineo

Public Services Review Comments

Re:	Oak Street Discontinuance

The Department of Public Services offers the following comments.

- Oak Street is a significant cut through for pedestrian traffic from Pleasant Street and the surrounding neighborhood to Spring Street.  Eliminating access from Oak Street would require pedestrians to go to either High Street or Center Street.  As a result, this Department feels strongly that pedestrian access should be maintained on this section of Oak Street.  The applicant should be responsible to keep the pedestrian access, including the sidewalk and stairs up to Spring Street clear and safe (during all seasons) for pedestrian passage.

- If it should be decided that the city should discontinue Oak Street, Holiday Inn should also be expected to maintain all sewer infrastructure within this portion of  Oak Street R-O-W including the sewers extending into Pleasant and Spring Street from Oak Street until they connect to the sewer mains in Pleasant and Spring Street.

- It appears that the retaining wall constructed during the building of Spring Street was placed outside the Spring Street R-O-W.  This Department feels strongly that the applicant should be responsible for the maintenance and structural stability of this retaining wall.