January 5, 2010

To:   	Jean Fraser

Barbara Barhydt

From:	David Margolis-Pineo

Public Services Review Comments

Re:	Oak Street Discontinuance

The Department of Public Services offers the following comments.

- Oak Street is a significant cut through for pedestrian traffic from Pleasant Street and the surrounding neighborhood to Spring Street.  Eliminating access from Oak Street will require pedestrians to go to either High Street or Center Street.  This Department feels strongly that pedestrian access should be maintained on this section of Oak Street.

- If it should be decided that the city should vacate Oak Street, Holiday Inn would be expected to maintain all sewer infrastructure within the former Oak Street R-O-W including the sewers extending into Pleasant and Spring Street from Oak Street until they connect to the sewer mains in Pleasant and Spring Street.

- It appears that the retaining wall constructed during the building of Spring Street was placed outside the Spring Street R-O-W.  If Oak Street is discontinued, an agreement is recommended to allow for the maintenance of the retaining wall.