3/2/12

Scope of Work:  537 Congress St. 4th Floor

Customer is adding 8 new apartments to the 4th floor.  Speaker strobes will be added to the living area and bedrooms of each unit and strobes will be added to the bathrooms of the handicap units.

There is an existing addressable fire alarm control panel with voice evacuation which will be re used.  There will be no system smoke detectors installed in the units per fire department request.

DL Electric will install the equipment provided by Norris Inc.  Norris Inc. will provide submittal documents, program and test per City of Portland requirements.