SECTION – 08150

Elevator Smoke Door

1.0	GENERAL

1.1	Roll down smoke door is to be provided at elevator shaft openings on first floor only.  Door shall be by Cookson Company (Door Services Inc 797-5696) and meet UL1784 for air leakage.

END OF SECTION