DIVISION 16 - ELECTRICAL

I.	Section  - BASIC ELECTRICAL REQUIREMENTS:  Methods required by more than one Project system encompassed by Division 16, including:

A.	Regulatory Requirements.

B.	Quality Assurance.

C.	Submittals

D.	Applicable Publications.

E.	Equipment Requirements.

F.	Nameplates and Identification.

II.	Section  - Basic Electrical Materials and Methods

A.	Raceways: Rigid Conduit, EMT.

B.	Wires and Cables: Type THWN, XHHW, NM.

C.	Boxes.

D.	Wiring Devices.

III.	Section  - Service Entrance

A.	Existing service entrance is 208/120V, 3 phase, provide new and locate within each apartment unit a 100 amp panel and with individual metering located at a central location approved by the local utility for all units.

IV.	Section  - Disconnect Switches

A.	Furnished as required.

V.	Section  - Grounding

A.	Equipment and all new panels etc shall be grounded according to the latest NEC code .

VI.	Section - Panelboards

A.	Provide all new panalboards with the latest requirements of the NEC and meter banking            for all new apartment units.

VII.	Section - Motor Control

A.	Furnished as required.

VIII.	Section - Lighting

A.	Install surface mounted florescent lights in storage and janitor rooms.

B.	Relocate or replace existing lights as required in corridors, egress areas, etc.

C.	Provide and install emergency lights for corridors, and egress.

D.	LED lighted exit signs will be provided as required by code .

E.	Provide specialty lighting in apartment units.

IX.	Section  - Computer Networks

A.	Provide computer network service for each apartment.

X.	Section  - Fire Alarm System

A.	New system throughout existing building, see expanded section.

XI.	Section  - Intrusion Detection System

A.	Install an intrusion detection system for each unit.

XII.	Section  - Telephone Systems

A.	Provide conduit , wiring and boxes for new telephone locations in apartments .

B.	Telephones by owner.

XIII.	Section - Cable Television Systems

A.	Install conduit ,cable and boxes for cable TV system.

****END****