SECTION 01631

PRODUCTS AND SUBSTITUTIONS

1. 	GENERAL

1.1 	PROCEDURAL REQUIREMENTS

A.  	Source Limitations:

1.  	To the fullest extent possible, provide products of the same generic kind, from a single 				source, for each unit of work.  Where it is not possible to do so, match separate 					procurements as closely as possible.

2.  	To the extent that the product selection process is under the Contractor's control, provide 			products that are compatible with previously selected products.

3.  	Where standard products are available that comply with specified requirements, provide 				those standard products that have been used successfully before in similar applications, 				and that are recommended by the manufacturers for the applications indicated.

1.2 	PRODUCT SELECTION LIMITATIONS

A.  	Specified products may be substituted with an Or Equal product if approved by 					Architect/Engineer:

1.  	Compliance with Standards:  Where the specifications require only compliance with an 				imposed standard, code or regulation, the Contractor has the option of selecting any 					product that complies with specified requirements.

B.  	Nameplates:  Except as otherwise indicated for required labels and operating data, do not 			permanently attach or imprint manufacturer's or producer's nameplates or trademarks on 				exposed surfaces of products which will be exposed to view either in occupied spaces or on the 		exterior of the completed project.

1.3 	SUBSTITUTIONS

A.  	Submittals:  Include the following information, as appropriate, in each request for substitution:

1.  	Provide complete product documentation, including product data and samples, where 				appropriate.

2.  	Provide detailed performance comparisons and evaluation, including testing laboratory 				reports where applicable.

3.  	Provide coordination information indicating the effect of the substitution on other work 				and the time schedule.

4.  	Provide cost information for the proposed change order.

5.  	Provide the Contractor's general certification of the recommended substitution.

1.4 	DELIVERY, STORAGE, AND HANDLING

A.  	Receive, store and handle products, materials and equipment in a manner which will prevent 			loss, deterioration and damage.

B.  	Schedule deliveries so as to minimize long-term storage at the project site.

END OF SECTION