7/27/12

Scope of Work:  574 Congress St.

Norris Inc. to install a new addressable fire alarm system.  The customer is in the process of sprinkling the building so the design is based upon the assumption that the building is fully sprinkled.

Norris Inc. to program, test and label all devices per code and the City of Portland Technical Standard for Signaling Systems for the Protection of Life and Property.