10/25/12

Scope of Work:  Space Gallery—536 Congress St.

Eldee Associates to install new addressable fire alarm system per city requirements.  The system will cover 3 tenant spaces—534, 536 and 538 Congress St.  The panel will be located in the basement of 536 Congress St.  There will be an annunciator panel at the main entrance of each tenant space along with a knox box.  The building will be fully sprinkled and the sprinkler system will be monitored via a digital communicator.

Norris Inc. will provide fire alarm equipment, submittal documents, fire alarm permits, final connections and testing per City of Portland requirements.