| Inspection/Test Start Date/Time: | 7-19-18 | Inspection/Test Completion Date/Time: | 12:00 |
| --- | --- | --- | --- |
|  | Supplemental Form(s) Attached: |  | (yes/no) |

1.	Property Information

| Name of property: | 492 CONGRESS ST |
| --- | --- |
| Address: | PORTLAND ME |
| Description of property: | SAME |
| Name of property representative: | x |
| Address: | same |
| Phone: |  | Fax: |  | E-mail: |  |

2.	TESTING AND MONITORING INFORMATION

| Testing organization: | RB Allen Co., inc. |
| --- | --- |
| Address: | 131 Lafayette Road North Hampton, NH 03862 |
| Phone: | 6039648140 | Fax: | 6039648885 | E-mail: | rballen@rballen.com |
| Monitoring organization: | x |
| Address: |  |
| Phone: |  | Fax: |  | E-mail: |  |
| Account number: |  | Phone line 1: |  | Phone line 2: |  |
| Means of transmission: | x |
| Entity to which alarms are retransmitted: |  | Phone: |  |

3.	DOCUMENTATION

| On-site location of the required record documents and site-specific software: |  |
| --- | --- |

4.	DESCRIPTION OF SYSTEM OR SERVICE

| 4.1 Control Unit |
| --- |
| Manufacturer: | FCI | Model number: | 7100 |
| 4.2 Software and Firmware |
| Firmware revision number: | x |
| 4.3 System Power |
| 4.3.1 Primary (Main) Power |
| Nominal voltage: | 120VAC | Amps: |  | Location: |  |
| Overcurrent protection type: | Ckt Brkr | Amps: | 20 | Disconnecting means location: |  |

4.	DESCRIPTION OF SYSTEM OR SERVICE (continued)

| 4.3.2 Secondary Power |
| --- |
| Type: | Batteries | Location: |  |
| Battery type (if applicable): | Sealed Lead Acid |
| Calculated capacity of batteries to drive the system: |
| In standby mode (hours): | 24 | In alarm mode (minutes): | 5 |

5.	NOTIFICATIONS MADE PRIOR TO TESTING

| Monitoring organization | Contact: |  | Time: |  |
| --- | --- | --- | --- | --- |
| Building management | Contact: |  | Time: |  |
| Building occupants | Contact: |  | Time: |  |
| Authority having jurisdiction | Contact: | PORTLAND F.D. | Time: |  |
| Other, if required |  | Contact: |  | Time: |  |

6.	TESTING RESULTS

| 6.1 Control Unit and Related Equipment |
| --- |
| Description | Visual Inspection | Functional Test | Comments |
| Control unit |  |  | Operational Condition |
| Lamps/LEDs/LCDs |  |  | Operational Condition |
| Fuses |  |  | In place and operational |
| Trouble signals |  |  | Lights and Sounds |
| Disconnect switches |  |  | If applicable touch keys or software based |
| Ground-fault monitoring |  |  | yes |
| Supervision |  |  | SLC's, RA's, NAC's, Batteries, City Connection |
| Local annunciator |  |  | yes |
| Remote annunciators |  |  |  |
| Remote power panels |  |  |  |
| 6.2 Secondary Power |
| Description | Visual Inspection | Functional Test | Comments |
| Battery condition |  |  |  |
| Load voltage |  |  |  |
| Discharge test |  |  |  |
| Charger test |  |  |  |
| Remote panel batteries |  |  |  |

6.	TESTING RESULTS (continued)

| 6.3 Alarm and Supervisory Alarm Initiating Device |
| --- |
| Attach supplementary device test sheets for all initiating devices. |
| 6.4 Notification Appliances |
| Attach supplementary appliance test sheets for all notification appliances. |
| 6.5 Interface Equipment |
| Attach supplementary interface component test sheets for all interface components. |
|  | Circuit Interface / Signaling Line Circuit Interface / Fire Alarm Control Interface |
| 6.6 Supervising Station Monitoring |
| Description | Yes | No | Time | Comments |
| Alarm signal |  |  |  |  |
| Alarm restoration |  |  |  |  |
| Trouble signal |  |  |  |  |
| Trouble restoration |  |  |  |  |
| Supervisory signal |  |  |  |  |
| Supervisory restoration |  |  |  |  |
| 6.7 Public Emergency Alarm Reporting System |
| Description | Yes | No | Time | Comments |
| Alarm signal |  |  |  |  |
| Alarm restoration |  |  |  |  |
| Trouble signal |  |  |  |  |
| Trouble restoration |  |  |  |  |
| Supervisory signal |  |  |  |  |
| Supervisory restoration |  |  |  |  |

7.	NOTIFICATIONS THAT TESTING IS COMPLETE

| Monitoring organization | Contact: | RAPID RESPONSE | Time: | 13:00 |
| --- | --- | --- | --- | --- |
| Building management | Contact: |  | Time: |  |
| Building occupants | Contact: |  | Time: |  |
| Authority having jurisdiction | Contact: | PORTLAND F.D. | Time: |  |
| Other, if required |  | Contact: |  | Time: |  |

8.	SYSTEM RESTORED TO NORMAL OPERATION

| Date: |  | Time: |  |
| --- | --- | --- | --- |

9.	CERTIFICATION

| This system as specified herein has been inspected and tested according to NFPA 72, 2013 edition, Chapter 14. |
| --- |
| Signed: | JAMES GAILEY | Printed name: | Jim Gailey | Date: | x |
| Organization: | RB Allen Co., inc. | Title: | technician | Phone: | 6039648140 |
| Qualifications (refer to 10.5.3): | NICET ,IMSA I & II Interior, IMSA Municipal, Factory Trained. |

10.	 DEFECTS OR MALFUNCTIONS NOT CORRECTED AT CONCLUSION OF SYSTEM INSPECTION,

TESTING, OR MAINTENANCE

| 10.1 Acceptance by Owner or Owner’s Representative: |
| --- |
| The undersigned accepted the test report for the system as specified herein: |
| Signed: |  | Printed name: |  | Date: |  |
| Organization: |  | Title: |  | Phone: |  |