Copyright 2002, The American Institute of Architects (AIA)

SECTION 01700

EXECUTION REQUIREMENTS

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

SUMMARY

This Section includes general procedural requirements governing execution of the Work including, but not limited to, the following:

Adjust list below to suit Project.

Construction layout.

Field engineering and surveying.

General installation of products.

Coordination of Owner-installed products.

Progress cleaning.

Starting and adjusting.

Protection of installed construction.

Correction of the Work.

Related Sections include the following:

List below only procedures that the reader might expect to find in this Section but are specified elsewhere.  See Evaluations about first subparagraph below.

Division 1 Section "Project Management and Coordination" for procedures for coordinating field engineering with other construction activities.

Division 1 Section "Submittal Procedures" for submitting surveys.

Division 1 Section "Cutting and Patching" for procedural requirements for cutting and patching necessary for the installation or performance of other components of the Work.

Revise subparagraph below to suit Project.

Division 1 Section "Closeout Procedures" for submitting final property survey with Project Record Documents, recording of Owner-accepted deviations from indicated lines and levels, and final cleaning.

PRODUCTS (Not Used)

EXECUTION

EXAMINATION

Retain paragraph and subparagraph below for renovation work.  Revise to suit Project.

Existing Conditions:  The existence and location of site improvements, utilities, and other construction indicated as existing are not guaranteed.  Before beginning work, investigate and verify the existence and location of mechanical and electrical systems and other construction affecting the Work.

Before construction, verify the location and points of connection of utility services.

Revise first paragraph and subparagraphs below to suit Project.  Verify with authorities having jurisdiction and utility companies.  Coordinate with Division 2 Sections.

Existing Utilities:  The existence and location of underground and other utilities and construction indicated as existing are not guaranteed.  Before beginning Sitework, investigate

and verify the existence and location of underground utilities and other construction affecting the Work.

Before construction, verify the location and invert elevation at points of connection of sanitary sewer, storm sewer, and water-service piping; and underground electrical services.

Furnish location data for work related to Project that must be performed by public utilities serving Project site.

Acceptance of Conditions:  Examine substrates, areas, and conditions, with Installer or Applicator present where indicated, for compliance with requirements for installation tolerances and other conditions affecting performance.  Record observations.

Delete first subparagraph and associated subparagraphs below if not required.

Written Report:  Where a written report listing conditions detrimental to performance of the Work is required by other Sections, include the following:

Description of the Work.

List of detrimental conditions, including substrates.

List of unacceptable installation tolerances.

Recommended corrections.

Verify compatibility with and suitability of substrates, including compatibility with existing finishes or primers.

Examine roughing-in for mechanical and electrical systems to verify actual locations of connections before equipment and fixture installation.

Examine walls, floors, and roofs for suitable conditions where products and systems are to be installed.

Proceed with installation only after unsatisfactory conditions have been corrected.  Proceeding with the Work indicates acceptance of surfaces and conditions.

PREPARATION

Revise first paragraph below to suit Project.

Existing Utility Information:  Furnish information to local utility and Owner that is necessary to adjust, move, or relocate existing utility structures, utility poles, lines, services, or other utility appurtenances located in or affected by construction.  Coordinate with authorities having jurisdiction.

Field Measurements:  Take field measurements as required to fit the Work properly.  Recheck measurements before installing each product.  Where portions of the Work are indicated to fit to other construction, verify dimensions of other construction by field measurements before fabrication.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

Space Requirements:  Verify space requirements and dimensions of items shown diagrammatically on Drawings.

Revise paragraph below to suit Project and special Owner requirements.

Review of Contract Documents and Field Conditions:  Immediately on discovery of the need for clarification of the Contract Documents, submit a request for information to Architect.  Include a detailed description of problem encountered, together with recommendations for changing the Contract Documents.

CONSTRUCTION LAYOUT

Verification:  Before proceeding to lay out the Work, verify layout information shown on Drawings, in relation to the property survey and existing benchmarks.  If discrepancies are discovered, notify Architect promptly.

Insert special requirements for laying out the Work to suit Project.

Retain first paragraph below if required by Owner or authorities having jurisdiction.

Insert other special field-engineering requirements, such as damage surveys, settlement surveys and reports, environmental impact surveys, and similar requirements, as needed.

INSTALLATION

General:  Locate the Work and components of the Work accurately, in correct alignment and elevation, as indicated.

Make vertical work plumb and make horizontal work level.

Where space is limited, install components to maximize space available for maintenance and ease of removal for replacement.

Conceal pipes, ducts, and wiring in finished areas, unless otherwise indicated.

Maintain minimum headroom clearance of 8 feet (2.4 m) in spaces without a suspended ceiling, unless indicated otherwise.

Comply with manufacturer's written instructions and recommendations for installing products in applications indicated.

Install products at the time and under conditions that will ensure the best possible results.  Maintain conditions required for product performance until Substantial Completion.

Conduct construction operations so no part of the Work is subjected to damaging operations or loading in excess of that expected during normal conditions of occupancy.

Tools and Equipment:  Do not use tools or equipment that produce harmful noise levels.

Templates:  Obtain and distribute to the parties involved templates for work specified to be factory prepared and field installed.  Check Shop Drawings of other work to confirm that adequate provisions are made for locating and installing products to comply with indicated requirements.

Anchors and Fasteners:  Provide anchors and fasteners as required to anchor each component securely in place, accurately located and aligned with other portions of the Work.

Mounting Heights:  Where mounting heights are not indicated, mount components at heights directed by Architect.

Allow for building movement, including thermal expansion and contraction.

Coordinate installation of anchorages.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

Joints:  Make joints of uniform width.  Where joint locations in exposed work are not indicated, arrange joints for the best visual effect.  Fit exposed connections together to form hairline joints.

Hazardous Materials:  Use products, cleaners, and installation materials that are not considered hazardous.

No asbestos containing materials shall be used in the work.

Insert installation requirements to suit Project.  See Evaluations.

OWNER-INSTALLED PRODUCTS

Coordination:  Coordinate construction and operations of the Work with work performed by Owner's construction forces.

Construction Schedule:  Inform Owner of Contractor's preferred construction schedule for Owner's portion of the Work.  Adjust construction schedule based on a mutually agreeable timetable.  Notify Owner if changes to schedule are required due to differences in actual construction progress.

Preinstallation Conferences:  Include Owner's construction forces at preinstallation conferences covering portions of the Work that are to receive Owner's work.  Attend preinstallation conferences conducted by Owner's construction forces if portions of the Work depend on Owner's construction.

PROGRESS CLEANING

This Article refers to regular cleaning operations conducted while construction is in progress.  Requirements for final cleaning before Substantial Completion are included in Division 1 Section "Closeout Procedures."

General:  Clean Project site and work areas daily, including common areas.  Coordinate progress cleaning for joint-use areas where more than one installer has worked.  Enforce requirements strictly.  Dispose of materials lawfully.

Comply with requirements in NFPA 241 for removal of combustible waste materials and debris.

Do not hold materials more than 7 days during normal weather or 3 days if the temperature is expected to rise above 80 deg F (27 deg C).

Containerize hazardous and unsanitary waste materials separately from other waste.  Mark containers appropriately and dispose of legally, according to regulations.

Site:  Maintain Project site free of waste materials and debris.

Work Areas:  Clean areas where work is in progress to the level of cleanliness necessary for proper execution of the Work.  It is the Contactor’s responsibility for job site safety.

Remove liquid spills promptly.

Where dust would impair proper execution of the Work, broom-clean or vacuum the entire work area, as appropriate.

Clean interior spaces prior to the start of finish painting, and continue cleaning on an as-needed basis until painting is finished.

Schedule operations so that dust and other contaminants resulting from cleaning process will not fall on wet or newly coated surfaces.

Remove materials and debris that create tripping hazards.

Installed Work:  Keep installed work clean.  Clean installed surfaces according to written instructions of manufacturer or fabricator of product installed, using only cleaning materials specifically recommended.  If specific cleaning materials are not recommended, use cleaning materials that are not hazardous to health or property and that will not damage exposed surfaces.

Concealed Spaces:  Remove debris from concealed spaces before enclosing the space.

Exposed Surfaces in Finished Areas:  Clean exposed surfaces and protect as necessary to ensure freedom from damage and deterioration at time of Substantial Completion.

Waste Disposal:  Burying or burning waste materials on-site will not be permitted.  Washing waste materials down sewers or into waterways will not be permitted.

Three paragraphs below reduce or eliminate the need for similar provisions in other Sections.  Insert other provisions needed because of unusual Project conditions.  Specify unusual provisions for specific work in the individual Section.

During handling and installation, clean and protect construction in progress and adjoining materials already in place.  Apply protective covering where required to ensure protection from damage or deterioration at Substantial Completion.

Clean and provide maintenance on completed construction as frequently as necessary through the remainder of the construction period.  Adjust and lubricate operable components to ensure operability without damaging effects.

If necessary, expand paragraph below by adding a list of exposures.  See Evaluations.

Limiting Exposures:  Supervise construction operations to assure that no part of the construction, completed or in progress, is subject to harmful, dangerous, damaging, or otherwise deleterious exposure during the construction period.

Special cleaning provisions are often required on projects that include alterations to existing buildings.  See Evaluations.

STARTING AND ADJUSTING

Start equipment and operating components to confirm proper operation.  Remove malfunctioning units, replace with new units, and retest.

Adjust operating components for proper operation without binding.  Adjust equipment for proper operation.

Test each piece of equipment to verify proper operation.  Test and adjust controls and safeties.  Replace damaged and malfunctioning controls and equipment.

Manufacturer's Field Service:  If a factory-authorized service representative is required to inspect field-assembled components and equipment installation, comply with qualification requirements in Division 1 Section "Quality Requirements."

PROTECTION OF INSTALLED CONSTRUCTION

Revise first paragraph below to suit Project conditions and special Owner requirements.

Provide final protection and maintain conditions that ensure installed Work is without damage or deterioration at time of Substantial Completion.

Comply with manufacturer's written instructions for temperature and relative humidity.

CORRECTION OF THE WORK

Repair or remove and replace defective construction.  Restore damaged substrates and finishes.  Comply with requirements in Division 1 Section "Cutting and Patching."

Repairing includes replacing defective parts, refinishing damaged surfaces, touching up with matching materials, and properly adjusting operating equipment.

Restore permanent facilities used during construction to their specified condition.

Remove and replace damaged surfaces that are exposed to view if surfaces cannot be repaired without visible evidence of repair.

Repair components that do not operate properly.  Remove and replace operating components that cannot be repaired.

Remove and replace chipped, scratched, and broken glass or reflective surfaces.

END OF SECTION 01700