SECTION 08110

STEEL FRAMES

# PART 1 – GENERAL

1.1    RELATED DOCUMENTS

- Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

  - SUMMARY

- This Section includes the following:

1.	Steel door frames.

- Related Sections include the following:

1.   Division 8 Section "Glazing" for glass in glazed openings in doors.

2.   Division 8 Section "Door Hardware" for door hardware and weather stripping specified separately in Tenant Improvement documents.

3.   Division 9 Section "Painting" for field painting factory-primed doors and frames specified separately in Tenant Improvement Documents.

4.  Division 16 Section “Electrical Service and Connections” of electrified door hardware and controls.

1.3     DEFINITIONS

- Minimum Steel Sheet Thickness: Minimum thickness of base metal without coatings.

1.4	SUBMITTALS

- General: Submit in accordance with Section 01330.

- Product Data: Include door designation, type, level and model, construction details, material description, core description, label compliance, fire-resistance ratings, and finishes for each type of steel door and frame indicated.

- Shop Drawings: In addition to requirements below, provide a schedule of frames using same reference numbers for details and openings as those on drawings:

1.    Frame details for each frame type including dimensioned profiles.

2.    Details and locations of reinforcement and preparations for hardware.

3.    Details of each different wall opening condition.

4.    Details of anchorages, accessories, joints, and connections.

5.    Coordination of glazing frames and stops with glass and glazing requirements.

6.    Details of conduit and preparations for electrified door hardware and controls.

- Frame Schedule: Use same reference indicated on Drawings in preparing frames.

- Product Test Reports: Based on evaluation of comprehensive fire tests performed by a qualified testing agency, for each type of steel door and frame.

1.5    QUALITY ASSURANCE

- Source Limitations: Obtain frames through one source from a single manufacturer.

1.6    DELIVERY, STORAGE, AND HANDLING

- Deliver frames palletized, wrapped or crated to provide protection during transit and project-site storage. Do not use non-vented plastic.

- Deliver welded frames with two removable spreader bars across bottom of frames, tack welded to jambs and mullions.

- Inspect frames on delivery for damage, and notify shipper and supplier if damage is found. Minor damages may be repaired provided refinished items match new work and are acceptable to Architect. Remove and replace damaged items that cannot be repaired as directed.

- Store frames at building site under cover. Place units in a vertical position with heads up, spaced by blocking, on minimum 4-inch- (100-mm-) high wood blocking. Avoid using non-vented plastic or canvas shelters that could create a humidity chamber.

PART 2 – PRODUCTS

2.1	MANUFACTURERS

- Manufacturers: Subject to compliance with requirements, provide products by one of the following:

  - Ceco Door Products; a ASSA ABLOY Group Company.

  - CURRIES Company; an ASSA ABLOY Group Company

  - Steelcraft; a Ingersoll-Rand Company

2.2    MATERIALS

- Cold-Rolled Steel Sheets:     ASTM A 1008/A 1008M, Commercial Steel (CS), or Type B; suitable for exposed applications.

- Hot-Rolled Steel Sheets: ASTM A 1011/A 1011M, Commercial Steel (CS), Type B; free of scale, pitting, or surface defects; pickled and oiled.

- Metallic-Coated Steel Sheet: ASTM A 653/A 653M, Commercial Steel (CS), Type B; with minimum A40 (AF180) zinc-iron-alloy (galvannealed) coating designation.

- Supports and Anchors: After fabricating, galvanize units to be built into exterior walls according to ASTM A 153/A 153M, Class B.

- Inserts, Bolts and Fasteners: Provide items to be built into exterior walls, hot-dip galvanized according to ASTM A 153/A 153M.

- Powder-Actuated Fasteners in Concrete: Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with clips or other accessory devices for attaching steel door frames of type indicated.

- Glazing: Comply with requirements in Division 8 Section “Glazing.”

- Bituminous Coating: Cold-applied asphalt mastic, SSPC-Paint 12, compounded for 15-mil dry film thickness per coat. Provide inert-type noncorrosive compound free of asbestos fibers, sulfur components, and other deleterious impurities.

  - STEEL FRAMES

- General: Comply with ANSI A250.8 and with details indicated for type and profile. Conceal fastenings, unless otherwise indicated.

- Interior Frames: Fabricated from cold-rolled steel sheet, unless otherwise indicated to comply with exterior frame requirements.

- Fabricate frames with mitered or coped and welded face corners and seamless face joints, unless otherwise indicated.

- Frames for Wood Doors: 0.053 inch thick (16 gage), steel sheet, unless otherwise indicated.

- Frames for Borrowed Lights: 0.042 inch thick, (18 gage) steel sheet, unless otherwise indicated.

- Hardware Reinforcement: Fabricate reinforcement plates of sufficient strength from same materials as frames to support hardware without through bolting and to comply with the following minimum sizes:

  - Hinges: Minimum 0.123 inch thick, 10 gage, by 1-1/2 inches wide by 6 inches longer than hinge, secured by not less than 6 spot welds.

  - Lock Face, Flush Bolts, Closers, and Concealed Holders: Minimum 0.067 inch thick, 14 gage.

  - All Other Surface Mounted Hardware: Minimum 0.067 inch thick, 14 gage.

  - Locate hardware as indicated on shop drawings or, if not indicated, according to ANSI A250.8.

a.	Hardware for doors mounted in existing frames shall be coordinated with locations 	of existing frame hardware preparations.

- Supports and Anchors: Fabricated from not less than 0.042-inch- (1.0-mm-) thick, electrolytic zinc-coated or metallic-coated steel sheet.

- Jamb Anchors:

  - Masonry Type: T-shaped anchors to suit frame size, not less than 0.042 inch thick, 18 gage.

  - Stud-Wall Type: Designed to engage stud, welded to back of frames; not less than 0.042 inch thick, 18 gage.

  - Compression Type for Slip-on Frames (For use at existing stud walls only): Adjustable compression anchors.

  - Post installed Expansion Type (For existing in-place concrete or masonry only): Minimum 3/8 inch diameter bolts with expansion shields or inserts. Provide pipe spacer from frame to wall, with throat reinforcement plate, welded to frame at each anchor location.

- Floor Anchors:  Formed from same material as frames, not less than 0.042 inch thick, 18 gage, and as follows:

  - Monolithic Concrete Slabs: Clip-type anchors, with two holes to receive fasteners.

- Fabricate concealed stiffeners and hardware reinforcement from either cold- or hot-rolled steel sheet.

  - FABRICATION

- General: Fabricate frames to be rigid and free from defects, warp or buckle. Accurately form metal to required sizes and profiles, with minimum radius for thickness of metal. Where practical, fit and assemble units in manufacturer's plant. Clearly identify work that cannot be permanently factory assembled before shipment, to assure proper assembly at Project site.

- Steel Frames: Where frames are fabricated in sections due to shipping or handling limitations, provide alignment plates or angles at each joint, fabricated of same thickness metal as frames.

  - Welded Frames: Weld flush face joints continuously; grind, fill, dress and make smooth, flush and invisible.

  - Sidelight Frames: Provide closed tabular members with no visible face seams or joints; fabricated from same material as door frame. Fasten members at crossings and to jambs by butt welding; grind smooth and invisible.

  - Provide countersunk, flat- or oval-head exposed screws and bolts for exposed fasteners, unless otherwise indicated.

  - Floor Anchors: Weld anchors to bottom of jambs and mullions with at least four spot welds per anchor. Provide floor anchors for all frames.

  - Jamb Anchors: Locate anchors not more than 18 inches from top and bottom of frame. Space anchors not more than 32 inches o.c. and as follows:

a.	Stud-wall type:

      - Three anchors per jamb up to 60 inches in height.

      - Four anchors per jamb from 60 to 90 inches in height.

      - Five anchors per jamb from 90 to 96 inches in height.

      - Five anchors per jamb plus 1 additional anchor per jamb for each 24 inches or fraction thereof more than 96 inches in height.

      - Two anchors per head for frames more than 42 inches wide and mounted in metal-stud partitions.

a.	Compression type (For frames in existing construction only): Not less than two 	anchors in each jamb.

b.	Post-installed expansion type (For frames in existing concrete construction only): 	Locate anchors not more than 6 inches from top and bottom of frame. Space anchors 	not more than 26 inches o.c.

  - Door Silencers: Except on weather-stripped doors, drill stops to receive door silencers as follows. Provide plastic plugs to keep holes clear during construction.

a.	Single-Door Frames: Drill stop in strike jamb to receive three door silencers.

b.	Double-Door Frames: Drill stop in head jamb to receive two door silencers.

  - Provide welded frames with temporary spreader bars for shipping.

- Hardware Preparation: Factory prepare steel frames to receive templated mortised hardware; include cutouts, reinforcement, mortising, drilling and tapping, according to the Door Hardware Schedule and templates furnished as specified in Division 8 Section “Door Hardware.”

  - Reinforce doors and frames to receive non-templated mortised and surface-mounted door hardware. Through bolting will not be acceptable.

  - Comply with applicable requirements in ANSI A250.6 and ANSI/DHI A115 Series specification for door and frame preparation for hardware. Locate hardware as indicated on shop drawings or, if not indicated, according to ASNI A250.8.

2.6     STEEL FINISHES

- General: Comply with NAAMM’s “Metal Finishes Manual for Architectural and Metal Products” for recommendations for applying and designating finishes.

- Apply primers to steel door and frames after assembly.

- Comply with SSPC-PA1, “Paint Application Specification No. 1,” for steel sheet finishes.

- Metallic-Coated Steel Surface Preparation: Clean surfaces with non-petroleum solvent so surfaces are free of oil and other contaminants. After cleaning, apply a conversion coating suited to the organic coating to be applied over it. Clean welds, mechanical connections, and abraded areas, and apply galvanizing repair paint specified below to comply with ASTM A 780.

- Galvanizing Repair Paint: High-zinc-dust-content paint for re-galvanizing welds in steel, complying with SSPC-Paint 20.

- Steel Surface Preparation: Clean surfaces to comply with SSPC-Paint 1, “Solvent Cleaning”; remove dirt, oil, grease or other contaminants that could impair paint bond. Remove mill scale and rust, if present, from uncoated steel; comply SSPC-SP 3, “Power Tool Cleaning,” or SSPC-SP 6/NACE No. 3, “Commercial Blast Cleaning.”

- Factory Priming for Field-Painted Finish: Apply shop primer specified below immediately after surface preparation and pretreatment. Apply a smooth coat of even consistency to provide a uniform dry film thickness of not less than 0.7 mils.

- Shop Primer: Manufacturer’s standard, fast-curing, lead- and chromate-free primer complying with ANSI A250.10 acceptance criteria; recommended by primer manufacturer for substrate; compatible with substrate and field-applied finish paint system indicated; and providing a sound foundation for field-applied topcoats despite prolonged exposure.

PART 3 - EXECUTION

3.1	EXAMINATION

- Examine substrates, areas, and conditions, with installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of steel frames frames.

- Examine roughing-in for embedded and built-in anchors to verify actual locations of steel frame connections before frame installation.

- If unacceptable conditions are encountered, prepare written report, endorsed by installer, listing conditions detrimental to performance of work.

- Proceed with installation only after unsatisfactory conditions have been corrected.

3.2	PREPARATION

- Remove welded-in shipping spreaders installed factory.

- Prior to installation, adjust and securely brace steel door frames for squareness, alignment, twist and plumb to the following tolerances:

- Squareness: Plus or minus 1/16 inch, measured at door rabbet on a line 90 degrees from jamb perpendicular to frame head.

- Alignment: Plus or minus 1/16 inch, measured at jambs on horizontal line parallel to plane of wall.

- Twist: Plus or minus 1/16 inch, measured at opposite face corners of jambs on parallel lines, and perpendicular to plane of wall.

- Plumbness: Plus or minus 1/16 inch, measured at jambs on a perpendicular line from head to floor.

- Drill and tap frames to receive non templated mortised and surface-mounted door hardware.

3.3	INSTALLATION

- General:   Provide doors and frames of sizes, thicknesses, and designs indicated. Install steel frames plumb, rigid, properly aligned, and securely fastened in place; comply with drawings and manufacturer’s written instructions.

- Steel Frames: Install steel frames for doors, borrowed lights and other openings, of size and profile indicated. Comply with SDI 105.

- Set frames accurately in position; plumbed, aligned, and braced securely until permanent anchors are set. After wall construction is complete, remove temporary braces, leaving surfaces smooth and undamaged.

  - At fire-protection-rated openings, install frames according to NFPA 80.

  - Where frames are fabricated in sections due to shipping or handling limitations, field splice at approved locations by welding face joint continuously; grind, fill, dress and make splice smooth, flush and invisible on exposed faces.

  - Install frames with removable glazing stops located on secure side of opening.

  - Remove shipping straps at bottom of frames. Properly space frame using wood template that is fell depth of frame and of proper spacing width during setting and anchoring of frames to maintain proper width, with frame plumb and square without twists. Remove temporary braces necessary for installation only after frames have been properly set and secured.

  - Check plumb, squareness, and twist of frames as walls are constructed. Shim as necessary to comply with installation tolerances.

- Floor Anchors: Provide floor anchors for each jamb and mullion that extends to floor and secure with post installed expansion anchors. Floor anchors are in addition to wall anchors.

  - Floor anchors may be set with powder-actuated fasteners instead of post installed expansion anchors if so indicated and approved on shop drawings.

- Metal-Stud Partitions: Attach wall anchors to studs with screws. Provide floor anchor at each jamb, in addition to wall anchors.

- Existing In-Place Concrete Construction: Secure frames in place with post installed expansion anchors. Countersink anchors, and fill and make smooth, flush and invisible on exposed faces.

- Existing In-Place Gypsum Board Partitions: Secure frames in place with post installed expansion anchors through floor anchors at each jamb. Countersink anchors, and fill and make smooth, flush and invisible on exposed faces.

- Installation Tolerances: Adjust steel door frames for squareness, alignment, twist and plumb to the following tolerances:

  - Squareness: Plus or minus 1/16 inch, measured at door rabbet on a line 90 degrees from jamb perpendicular to frame head.

  - Alignment: Plus or minus 1/16 inch, measured at jambs on horizontal line parallel to plane of wall.

  - Twist: Plus or minus 1/16 inch, measured at opposite face corners of jambs on parallel lines, and perpendicular to plane of wall.

  - Plumbness: Plus or minus 1/16 inch, measured at jambs on a perpendicular line from head to floor.

- Glazing: Comply with installation requirements in Division 8 Section “Glazing” and with steel frame manufacturer’s written instructions.

  - Secure stops with countersunk flat- or oval-head machine screws spaced uniformly not more than 9 inches o.c., and not more than 2 inches o.c. from each corner.

3.4	ADJUSTING AND CLEANING

- Final Adjustments: Remove and replace defective work, including frames that are warped, bowed or otherwise unacceptable.

- Clean grout and other bonding material off steel frames immediately after installation.

- Prime-Coat Touchup: Immediately after installation, sand smooth any rusted or damaged areas of prime coat and apply touch up of compatible air-drying primer.

### END OF SECTION 08110