SECTION 08710

FINISH HARDWARE

PART 1 –GENERAL

1.01	RELATED DOCUMENTS

A.	All of the Contract Documents, including General and Supplementary Conditions and Division 1 General Requirements, apply to the work of this section.

1.02	DESCRIPTION OF WORK

A.	The work of this section includes, but is not limited to, the following:

1.	Providing hardware for all doors, except doors provided with their own hardware.

2.	Providing the services of a qualified hardware consultant to prepare detailed schedules of hardware required for the project.

1.03	RELATED WORK

A.	Carefully examine all of the Contrast Documents for requirements which affect the work of this section. Other specifications sections which directly relate to the work of this section include, but are not limited to, the following:

1.	Section 08100 – Hollow Metal Doors and Frames; work requiring template coordination, metal astragals for fire-rated doors.

2.	Section 08210 – Wood Doors; work requiring template coordination, metal astragals for fire-rated doors.

1.04	INTENT

A.	A major intent of the work of this section is to provide hardware for every door in the project, except as indicated, so that each door functions correctly for its intended use. Provide only hardware that complies with applicable codes and requirements of authorities having jurisdiction including requirements for barrier–free accessibility.

1.05	QUALITY ASSURANCE

A.	Hardware supplier shall have in his employ one or more members of the Door and Hardware Institute to include at least one Certified Architectural Hardware Consultant in good standing, who shall be responsible for preparation of the Finish Hardware Schedule. This Consultant shall be acceptable to the Architect and is to ensure that the intent requirement of this specification is fulfilled, and certify that the work of this section meets or exceeds the requirements specified in this section and the requirements of authorities having jurisdiction.

B.	Hardware supplier shall warrant and guarantee, in writing, that hardware supplied is free of defective material and workmanship. Supplier shall further warrant and guarantee for a period of one (1) year from Owner’s Use and Occupancy that the hardware shall function in a satisfactory manner without binding, collapse, or dislodging of its parts, provide the installation is made to the manufacturer’s recommendations.

C.	The hardware supplier shall repair of remedy, without charge, any defect of workmanship or material for which he is responsible hereunder.

1.06	SUBMITTALS

A.	Submit the following in accordance with SECTION 01300-SUBMITTALS:

1.	Schedule: Submit to the Architect four (4) copies of the complete hardware 	schedule within the fourteen (14) days after receipt of contract award. Submit 	therewith-complete catalog cuts and descriptive data of all products specifically 	scheduled therein. No materials shall be ordered or templates issued until the 	hardware 	schedule has been approved by the Architect. Form and detail of 	hardware schedule shall be in vertical format in conformance to the door and 	hardware industry standards. All hardware sets shall be clearly cross-referenced to 	the hardware set numbers listed in the specifications.

2.	Samples: If requested, submit to the Architect for approval, a complete line of 	samples as directed. Samples shall be plainly marked giving hardware number used 	in this specification, the manufacturer’s numbers, types, and sizes. The Architect 	will deliver approved samples to the project site to be stored. Samples will remain 	with the Architect until delivery of all hardware to the project is complete, after 	which time they will be turned over to the General Contractor for incorporation 	into the work.

3.	Keying System Submission: Before cylinders are ordered, submit a complete 	proposed keying system for approval. This should be done after a keying meeting 	has been held with the owner’s representative.

1.07	PRODUCT DELIVERY, STORAGE, AND HANDLING

A.	Delivery of hardware shall be made to the project by the Hardware Supplier in accordance with the instructions of the General Contractor.

B.	The finish hardware shall be delivered to the jobsite and received there by the General Contractor. The General Contractor shall prepare a locked storage room with adequate shelving, for all hardware. The storage room shall be in a dry, secure area, and shall not include storage of other products by other trades.

C.	The General Contractor shall furnish the Hardware Supplier with receipts for all hardware and accessory items received, and shall send copies of these receipts to the Architect, if requested.

1.08	REGULATORY REQUIREMENTS

A.	Conform to all applicable codes. Provide all throws, projections, coatings, knurling, opening and closing forces, and other special functions required by State and Local Building Codes, and all applicable Handicap Code requirements.

B.	For fire rated openings, provide hardware complying with NFPA 80 and NFPA 101 without exception. Provide only hardware tested by UL for the type and size of door installed and fire resistance rating required.

1.09	SPECIAL REQUIREMENTS

A.	Hardware Supplier shall determine conditions and materials of all doors and frames for proper application of hardware.

B.	The Hardware Schedule shall list the actual product series numbers. Bidders are required to follow the manufacturers’ catalog requirement for the actual size of door closers, brackets, and holders. All door-opening sizes are as noted on the Door Schedule and all hardware shall be in strict accordance with requirements of height, width, and thickness.

PART 2 – PRODUCTS

2.01	ACCEPTABLE MANUFACTURERS

Hinges				McKinney			Scranton, PA

Stanley				New Britain, CT

Locksets			Sargent 			New Haven, CT

Exit Devices			Sargent				New Haven, CT

Door Closers			Sargent				New Haven, CT

Door Stop			Glynn Johnson			Indianapolis, IN

Ives				New Haven, CT

Rockwood			Rockwood, PA

Push/Pulls			Rockwood			Rockwood, PA

Burns				Erie, PA

Ives				New Haven, CT

Protective Plates		Rockwood			Rockwood, PA

Burns				Erie, PA

Ives				New Haven, CT

Thresholds/			NGP				Memphis, TN

Weatherstripping/		Pemko				Memphis, TN

Rain Drips			Reese				Rosemount, MN

Silencers			Ives				New Haven, CT

Glynn Johnson			Indianapolis, IN

Rockwood			Rockwood, PA

2.02	MATERIALS AND QUALITY

A.	All hardware shall be of the best grade of solid metal entirely free from imperfections manufacturer and finish.

B.	Qualities, weights, and sizes given herein are the minimum that will be accepted. It is the responsibility of the Hardware Supplier to supply the specified size and weight of hardware and the proper function of hardware in each case and to provide UL approved hardware at all fire rated doors.

C.	Provide, as far as possible, locks of one lock manufacturer and hinges of one hinge manufacturer. Modifications to hardware that are necessary to conform to construction shown or specified shall be provided as required for the specified operation and functional features.

2.03	HARDWARE DESIGNATIONS

A.	All items of hardware are referenced by manufacturer’s names and numbers. The manufacturer’s names and numbers are used to define the function, design, and the quality of the material to be supplied.

Substitution of products other than those listed shall be submitted to the Architect at least ten (10) days PRIOR to the bid date. The Architect shall be the sole judge of any proposed substitution.

2.04	TEMPLATES

A.	Hardware supplier shall immediately, but not later than three (3) days after approval of his Schedule by the Architect, furnish the General Contractor with complete template information necessary for the fabrication of doors, frames, etc. No templates shall be furnished prior to the approval of the hardware schedule.

2.05     HARDWARE FOR LABELED FIRE DOORS, EXIT DEVICES, AND SMOKE DOORS

A.	Hardware shall conform to requirements of NFPA 80 for labeled fire doors and to NFPA 101 for exit doors, as well as to other requirements specified. Labeling and listing by UL Building Materials Directory, for class of door being used will be accepted as evidence of conformance to these requirements. Install minimum latch throw as specified on label of individual doors. Provide hardware listed by UL except where heavier materials, larger sizes, or better grades are specified herein under paragraph entitled “Hardware Sets.” In lieu of UL labeling and listing, test reports from a nationally recognized testing agency may b e submitted showing that hardware has been tested in accordance with UL test methods and that it conforms to NFPA requirements. Specific hardware requirements of door or frame manufacturers that exceed sized or weights of hardware herein listed shall be provided with no additional charge.

2.06	KEYS AND KEYING

A.	The hardware supplier shall review the specific hardware functions with the Architect and owner at the time of the keying review, to assure the appropriateness of each of the hardware functions. Failure to make this review does not relieve the hardware supplier from providing the proper functions.

B.	Key System: All cylinders shall be Masterkeyed and/or Grandmaster-keyed to existing Two Portland Square Sargent Grandmaster Key System.

1.	Master keys, Grandmaster keys:  Furnish six (6) keys for each set, if required.

2.	Furnish three (3) change keys for each cylinder keyed differently; six (6) change keys for each set keyed alike, and in sets where only (2) cylinders are keyed alike, four (4) change keys will be required.

3.	All keying is to be done at the factory to avoid duplication of the new cylinders.

4.	Master Keys shall be sent to the Owner by registered mail, return receipt required.

5.	Supply a bitting list for all change keys and master keys to the Owner.

2.07	FASTENERS

A.	Manufacture hardware to conform to published templates, generally prepared for machine screw installation.

B.	Furnish screws for installation, with each hardware item. Provide Phillips flat-head screws except as otherwise indicated. Furnish exposed screws to match the hardware finish, or, if exposed in surfaces of other work, to match the finish of such other work as closely as possible, except as otherwise indicated.

C.	Provide concealed fasteners for hardware units which are exposed when the door is closed, except to the extent no standard manufactured units of the type specified are available with concealed fasteners. Do not use thru-bolts unless specifically approved by the Architect.

D.	All hardware shall be installed only with fasteners supplied by manufacturers of specific products.

2.08	PACKING AND MARKING

A.	All hardware shall have the required screws, bolts, and fastenings necessary for proper installation and shall be wrapped in the same package as the hardware item for which it is intended and shall match finish of hardware with which to be used.

B.	Each package shall be clearly labeled indicating the portion of the work for which it is intended.

2.09	ENVIROMENTAL CONCERN FOR PACKING

A.	The hardware shipped to the jobsite is to be packaged in biodegradable packs such as paper or cardboard boxes and wrapping. If non-biodegradable packing such as plastic, plastic bags or large amounts of Styrofoam is utilized, then the Contractor will be responsible for the disposal of the non-biodegradable packing to a licensed or authorized collector for recycling of the non-degradable packing.

2.10	FINISH HARDWARE DESCRIPTION

A.	Hardware items shall conform to respective specifications and standards and to requirements specified herein.

B.	MATERIALS AND FINISH MATERIALS AND FINISHES SHALL BE:

1.	Interior Butts: US26D (BHMA652)

2.	Exterior Geared Hinges: US28 (BHMA 628)

3.	Door Closers: Sprayed to match hardware finish.

4.	Exit Devices: US26D (BHMA 626)

4.	Kick, Push Plates: US32D (BHMA 630)

5.	All other hardware shall be: US26D (BHMA 626) or as scheduled.

C.	HINGES

1.	Number of hinges per door, two hinges for doors up to and including 5-feet in height and an additional hinge for each 2½-feet or fraction thereof.

2.	Hinges shall be as follows:

Exterior	McKinney	TA2314	4 ½ x 4 ½ NRP

Stanley		FBB191	4 ½ x 4 ½ NRP

Interior		McKinney	TA2714	4 ½ x 4 ½

Stanley		FBB179	4 ½ x 4 ½

Elec		McKinney	TA2714-CC4

Stanley		CEFBB179

D.	DOOR CLOSERS:

1.	Door closers shall have fully hydraulic, full rack and pinion action. Cylinder body shall be 1-1/2” in diameter, and double heat-treated pinion shall be 11/16” in diameter.

2.	Hydraulic fluid shall be of a type requiring no seasonal closer adjustment for temperatures ranging from 120 degrees F to minus 30 degrees F.

3.	Spring power shall be continuously adjustable over the full range of closer sizes, and allow for reduced opening force for physically handicapped. Hydraulic regulation shall be by tamper-proof, non-critical valves. Closers shall have separate adjustment for latch speed, general speed, and hydraulic back-check.

4.	All closers shall have solid forged steel main arms (and forged forearms for parallel arm closers).

5.	Closer arms (and metal covers when specified) shall have a powder coating finish.

6.	Provide drop, mounting plates, where required.

7.	Do not locate closers on the side of doors facing corridors, passageways, or similar type areas. Where it is necessary, due to certain conditions and approval of the Architect, to have closers in corridors, provide such closers with parallel or track type arms.

8.	All door closers shall be adjusted by the installer in accordance with the manufacturer’s templates and written instructions. Closers with parallel arms shall have back-check features adjusted prior to installation.

9.	Closers shall conform to all applicable code requirements relative to setting closing speeds for closers and maximum pressure for operating interior and exterior doors.

10.	Door closers meeting this specification are as follows:

Sargent

Exterior		281 – CPS

281 – CPSH

Interior			281- 0

281 – P10

2407 Series

281 – OT x spec. TEMP.

2980

2477

E.	MORTISE LEVER HANDLE LOCKSETS:

1. 	Locksets for this project shall be mortise type with solid cast stainless steel lever handle sectional trim.

2. 	The lockset case shall be 12-gauge heavy duty wrought steel with zinc dichromate finish.

3.	Locksets shall have a simple reversibility of the hand by utilizing a screwdriver without disassembly of the lock case.

4. 	Latchbolt shall be a stainless steel 3/4" one-piece, anti-friction and reversible.

5.	Strikes shall be non-handed curved lip stainless steel ANSI Standard A115.1, 4-7/8" x 1¼".

6.	Locks and cylinders shall be manufactured and supplied by the same manufacturers.  All locksets and cylinders for this project shall be manufactured in the United States of America by a recognized and reputable lock manufacturer.

7.	The following is a guide to the manufacturers and designs acceptable for this project.  Sargent 8200 Series LNL Design.

8.	Lock functions as indicated in the hardware schedule shall be as follows:

Function	Sargent

1 (Storeroom)	04

2 (Storeroom)	04

3 (Office)	05

4 (Passage)	15

5 (Vestibule)	16

6 (Classroom)	37

7 (Spec Classroom)	38

8 (Privacy)	65

9 (Dummy)	93

10 (Electric Lock)	71 REX

G.	HEAVY DUTY LEVER HANDLE CYLINDRICAL LOCKS:

1. 	Locksets for this project shall be heavy-duty cylindrical key-in-lever handle type locksets.

2. 	Locksets shall be 2¾” backset with ½” throw latchbolt, with deadlocking latch, and a cylindrical housing of steel with a zinc dichromate finish.

3. 	Locksets shall be fastened by thru-bolts, thru the 3½” diameter inside rose back plate into the threaded studs in the outside rose back plate.  Thru-bolts shall be placed in separate boltholes, thru the door and outside the cylindrical case at 180 degrees from each other.

4. 	The inside and outside rose scalps shall be 3½”diameter wrought brass or bronze.  When assembled, all thru-bolts in the face of the door shall be concealed from view.  The lever handles shall be solid cast in the same finish as the rose.

5.	Cylinders to match existing Sargent key system.

6. 	The ½’ throw latchbolt shall be listed and approved for use by Underwriters Laboratories.

7. 	Strikes shall be curved lip ANSI A115.2 4 7/8” x 1¼” wrought brass or bronze.

8. 	The following locksets shall be considered acceptable for this project:

Sargent		10 Line		LL Design (No exceptions.)

9.	Lock functions as indicated in the hardware schedule shall be as follows:

Function		Sargent

A (Storeroom)		04

B (Storeroom)		04

C (Office)		05

D (Passage)		15

E (Vestibule)		16

F (Classroom)		37

G (Spec Classroom)	38

H (Privacy)		65

I (Dummy)		93

J (Electric Lock)	71 REX

H.	PUSH PLATES, DOOR PULLS, PUSH/PULL BARS:

1.	Shall be as manufactured by Rockwood, Burns, or Ives.

a.	Push Plates shall be 4" x 16" x .050" thickness unless otherwise listed in 					hardware sets.

Rockwood	70 Series

Burns		50 Series

Quality		40 Series

b.	Door Pulls shall be 1" x 10".

Type A

Rockwood	BP111 (A1 BF157)

Burns		BF26C

Quality		BF163-10"

c.	Push/Pull Bars:

Type A (Wide Stile Doors)

Rockwood	BF11147 x T1006 Mounting

Burns		BF26C x 442 x Similar Mounting as above.

Quality		BF482 x Similar Mounting as above.

I.	KICK PLATES, ARMOR PLATES, MOP PLATES:

1.	Kick plates shall be 8-inches high. Armor plates shall be 34-inches high. Mop plates shall be 4-inches high. All plates shall be 2-inches less the width of door. Plates shall be .050-inch thickness, bevel 4 edges, screws shall be oval head counter-sunk.

J.	STOPS

1.	Shall be furnished at all doors. Wherever and opened door or any item of hardware thereon strikes a wall, at 90 degrees. Provide wall bumpers, unless otherwise indicated in hardware sets.

2.	Where wall bumpers cannot be effectively used, a floor stop shall be furnished and installed.

3.	Provide roller bumpers for each door where two doors interfere with each other in swinging.

Manufacturer		Wall Bumpers		Floor Stops		Roller Bumpers

Rockwood		409			440, 442		456

Ives			407 ½ 			436B, 438B		470 Series

Glynn Johnson		WB 50XT		FB13, FB14		RB-3

4.	Where overhead stops are listed they shall be the surface mounted type as follows:

Manufacturer	Series

Glynn Johnson	GJ450

Sargent	1540

ABH	4400

J. 	POWER SUPPLY

1.	Provide Securitron BPS0 Power Supply or Von Duprin PS873.

K. 	ELECTRIC STRIKES

1. 	Provide electric strikes equal to HES 1006 or Von Duprin model #6210.

L.	LOW-ENERGY OPERATOR

1.	Provide Horton 4100LE low energy operator. Push button switches to be wireless type 			radio control unit. Provide MC-25 interface switch for all operators with card access 			control.

M.	ELECTRIC STRIKE

1.	HES Model 1006 KM.

PART 3—EXECUTION

3.01.	INSPECTION

1.	It shall be the general contractor's responsibility to inspect all doors openings and doors to determine that each door and doorframe has been properly prepared for the required hardware. If errors in dimensions or preparation are encountered, they are to be corrected by the responsible parties prior to the installation of hardware.

3.02	PREPARATION

1.	All doors and frames, requiring field preparation for finish hardware, shall be carefully mortised, drilled for pilot holes, or tapped for machine screws for all items of finish hardware in accordance with the manufacturer's templates and instructions.

3.03	INSTALLATION/ADJUSTMENT/LOCATION

1.	All materials shall be installed in a workmanlike manner following the manufacture’s recommended instructions.

2.	Exit Devices shall be carefully installed so as to permit friction free operation of crossbar, touch bar, lever. Latching mechanism shall also operate freely without friction or binding.

3.	Door Closers shall be installed in accordance with the manufacturer’s instructions. Each door closer shall be carefully installed, on each door, at the degree of opening indicated on the hardware schedule. Arm position shall be shown on the instruction sheets and required by the finish hardware schedule.

4.	The adjustments for all door closers shall be the installer’s responsibility and these adjustments shall be made at the time of installation of the door closer. The closing speed and the latching speed valves shall be adjusted individually to provide a smooth, continuous closing action without slamming. The delayed action feature or back check valve shall also be adjusted so as to permit the correct delayed action cycle or hydraulic back check valve shall also be adjusted so as the opening cycle. All valves must be properly adjusted at the time of installation. Each door closer has adjustable spring power capable of being adjusted, in the field from size 2 thru 6. It shall be the installers’ responsibility to adjust the spring power for each door closer in exact accordance with the spring power adjustment chart illustrated in the door closer installation sheet packed with each door closed.

5.	Installation of all other hardware, including locksets, push-pull latches, overhead holders, doorstops, plates and other items, shall be carefully coordinated with the hardware schedule and the manufacturer’s instruction sheets.

6.	Locations for finish hardware shall be in accordance with dimensions listed in the pamphlet “Recommended locations for Builders’ Hardware” published by the Door and Hardware Institute.

3.04	FIELD QUALITY CONTROL

1.	Upon completion of the installation of the finish hardware, it shall be the responsibility of the finish hardware supplier to visit the project and to examine the hardware for each door on which he has provided hardware and to verify that all hardware is in proper working order. Should he find items of hardware not operating problem he should make a report, in writing, to the general contractor, advising him of the problem and the measures required to correct the problem.

3.05	PROTECTION

1.	All exposed portions of finish hardware shall be carefully protected, by use of cloth, adhesive backed paper or other materials, immediately after installation of the hardware item on the door. The finish shall remain protected until completion of the project. Prior to acceptance of the project by the Architect and owner, the general contractor shall remove the protective material exposing the finish hardware.

3.06	CLEANING

1.	It shall be the responsibility of the general contractor to clean all items of finish hardware and to remove any remaining pieces of protective materials and labels.

3.07	INSTRUCTIONS AND TOOLS

1.	It shall be the responsibility of the finish hardware supplier to provide installation and repair manuals and adjusting tools, wrenches, etc… for the following operating products.

a.	Locksets (all types)

b.	Exit Devices (all types)

c.	Door Closers

3.08	HARDWARE SETS

1.	Each Hardware Set listed below represents the complete hardware requirements for one opening. (Single Door or Pair of Doors). Furnish the quantities required for each set for the work.

HW 1

Doors #300, 300A

Each Leaf Shall Have:  Hinges, (1) Electric Hinge, Lockset (Function J), Flush Bolts, Auto Operator, Kick Plates (each side), Electric Strike, Power Supply, Door Stops.

(Card access by Owner)

HW 2

Doors #306, 307, 307A, 308, 309, 310, 335, 334, 334A, 330.

Each Leaf Shall Have:  Hinges, Lockset (Function 4), Door Stop, Kick Plates (each side).

HW 3

Doors #311, 342.

Each Leaf Shall Have:  Hinges, Lockset (Function 4), Door Stop.

HW 4

Doors #313, 314, 315, 316, 319, 322, 333, 323, 343

Each Leaf Shall Have:  Hinges, Lockset (Function 6), Door Stop, Kick Plates (each side).

HW 5

Doors #321

Each Leaf Shall Have:  Hinges, (1) Electric Hinge, Lockset (Function 10), Door Closer, Kick Plate,

Door Stop.

(Card access by Owner)

HW 6

Doors #320

Each Leaf Shall Have:  Hinges, Lockset (Function 9), Roller Latch, Kick Plates, Overhead Stops, chrome Door Pulls.

HW 7

Door #325, 327

Each Leaf Shall Have:  Electric Strike, Auto Operator, chrome Door Pulls, Kick Plates (each side).

Re-use balance of Hardware

(Hardware Finish to be US3)

HW 8

Door #328, 341

Each Leaf Shall Have:  Cylinders

Re-use balance of Hardware

(Hardware Finish to be US3)

(Card reader by Owner)

HW 9

Doors #339, 340, 326

Each Leaf Shall Have:  Cylinders

Re-use balance of Hardware

(Hardware Finish to be US3)

END OF SECTION 08710