Copyright 2002, The American Institute of Architects (AIA)

SECTION 08800

GLAZING

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

SUMMARY

This Section includes glazing for the following products and applications, including those specified in other Sections where glazing requirements are specified by reference to this Section.

DEFINITIONS

Manufacturers of Glass Products:  Firms that produce primary glass, fabricated glass, or both, as defined in referenced glazing publications.

ASTM C 1036 also includes traditional thickness designations in IP units, but all thicknesses in this Section are expressed in millimeters.

Glass Thicknesses:  Indicated by thickness designations in millimeters according to ASTM C 1036.

Delete definitions below if not applicable to products retained for Project.

Interspaces:  Space between lites of an insulating-glass unit that contains dehydrated air or a specified gas.

PERFORMANCE REQUIREMENTS

General:  Provide glazing systems capable of withstanding normal thermal movement and wind and impact loads (where applicable) without failure, including loss or glass breakage attributable to the following:  defective manufacture, fabrication, and installation; failure of sealants or gaskets to remain watertight and airtight; deterioration of glazing materials; or other defects in construction.

First paragraph and subparagraphs below assume glass thicknesses are indicated on Drawings or in Part 2 where glass units are specified.  If not, revise accordingly.

Glass Design:  Glass thickness designations indicated are minimums and are for detailing only.  Confirm glass thicknesses by analyzing Project loads and in-service conditions.  Provide glass lites in the thickness designations indicated for various size openings, but not less than thicknesses and in strengths (annealed or heat treated) required to meet or exceed the following criteria:

Minimum glass thickness, nominally, of lites in exterior walls is 6.0 mm (0.23 inch).

SUBMITTALS

General:  Submit in accordance with Section 01330.

Product Data:  For each glass product and glazing material indicated.

Warranties:  Special warranties specified in this Section.

QUALITY ASSURANCE

Source Limitations for Glazing Accessories:  Obtain glazing accessories through one source from a single manufacturer for each product and installation method indicated.

In Part 2 articles where glass units are specified, retain applicable requirements for monolithic-, laminated-, and insulating-glass units that are consistent with requirements specified below for safety glass.

Lites more than 9 sq. ft. (0.84 sq. m) in area and lites of any area in cetain hazardous locations such as sliding glass doors, doors and enclosures for bathtubs, showees, hot tubs, whirlpools, saunas, and steam rooms are required to be Category II materials.

Glazing Publications:  Comply with published recommendations of glass product manufacturers and organizations below, unless more stringent requirements are indicated.  Refer to these publications for glazing terms not otherwise defined in this Section or in referenced standards.

Delete option in subparagraph below if no laminated glass is specified for Project.

GANA Publications: GANA's "Glazing Manual."

Delete subparagraph below if no insulating glass.

IGMA Publication for Insulating Glass:  SIGMA TM-3000, "Glazing Guidelines for Sealed Insulating Glass Units."

Delete paragraph and subparagraphs below if no insulating glass.  Not all manufacturers participate in program; refer to directories of certifying organizations for participants.

DELIVERY, STORAGE, AND HANDLING

Protect glazing materials according to manufacturer's written instructions and as needed to prevent damage to glass and glazing materials from condensation, temperature changes, direct exposure to sun, or other causes.

PROJECT CONDITIONS

Environmental Limitations:  Do not proceed with glazing when ambient and substrate temperature conditions are outside limits permitted by glazing material manufacturers and when glazing channel substrates are wet from rain, frost, condensation, or other causes.

Delete subparagraph below if no liquid sealants are required or if requirements listed above are adequate.  Revise if another temperature range is required.

Do not install liquid glazing sealants when ambient and substrate temperature conditions are outside limits permitted by glazing sealant manufacturer or below 40 deg F.

WARRANTY

General:  Special warranties specified in this Article shall not deprive Owner of other rights Owner may have under other provisions of Contract Documents and will be in addition to, and run concurrent with, other warranties made by Contractor under requirements of Contract Documents.

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

Paragraphs and subparagraphs in this Article are examples only.  Verify available warranties and length of warranty period with manufacturers selected.  See Evaluations.

PRODUCTS

MONOLITHIC GLASS PRODUCTS

See Editing Instruction No. 3 in the Evaluations about editing this Article with other Part 2 articles in which glass units are specified.

Uncoated Annealed Float Glass:  ASTM C 1036, Type I (transparent flat glass), Class 1 (clear), Quality q3 (glazing select); 1/4-inch (6-mm) thick minimum.

Uncoated Annealed Float Glass ASTMC 1036, Type I (frosted glass), Class 1, ¼-inch (6-mm) minimum.

GLAZING SEALANTS

General:  Provide products of type indicated, complying with the following requirements:

Compatibility:  Select glazing sealants that are compatible with one another and with other materials they will contact, including glass products, seals of insulating-glass units, and glazing channel substrates, under conditions of service and application, as demonstrated by sealant manufacturer based on testing and field experience.

Suitability:  Comply with sealant and glass manufacturers' written instructions for selecting glazing sealants suitable for applications indicated and for conditions existing at time of installation.

Colors of Exposed Glazing Sealants:  As selected by Architect from manufacturer's full range.

Elastomeric Glazing Sealants:  Comply with ASTM C 920 and other requirements indicated for each liquid-applied chemically curing sealant specified, including those referencing ASTM C 920 classifications for type, grade, class, and uses related to exposure and joint substrates.

Products listed in subparagraph and associated subparagraphs below are Class 50 neutral-curing sealants.  Their respective manufacturers characterize them as medium-modulus sealants.

Neutral-Curing Silicone Glazing Sealants:

Coordinate first subparagraph and list of manufacturers below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

Products:

Dow Corning Corporation; 791.

Dow Corning Corporation; 795.

GE Silicones; SilPruf NB SCS9000.

GE Silicones; UltraPruf II SCS2900.

Pecora Corporation; 865.

Pecora Corporation; 895.

Pecora Corporation; 898.

Type and Grade:  S (single component) and NS (non sag).

Class:  50.

Use Related to Exposure:  NT (non traffic).

GLAZING TAPES

Back-Bedding Mastic Glazing Tapes:  Preformed, butyl-based Elastomeric tape with a solids content of 100 percent; nonstaining and nonmigrating in contact with nonporous surfaces; with or without spacer rod as recommended in writing by tape and glass manufacturers for application indicated; packaged on rolls with a release paper backing; and complying with ASTM C 1281 and AAMA 800 for products indicated below:

Select one or more back-bedding tapes from subparagraphs below.  AAMA 804.3 tape is for less-severe back-bedding and drop-in residential and light-commercial glazing applications.  AAMA 806.3 tape is for high-performance commercial glazing applications involving continuous pressure from gaskets or pressure-generating stop designs.  AAMA 807.3 tape is for commercial glazing applications not involving continuous pressure from gaskets and stop designs.

AAMA 806.3 tape, for glazing applications in which tape is subject to continuous pressure.

AAMA 807.3 tape, for glazing applications in which tape is not subject to continuous pressure.

Expanded Cellular Glazing Tapes:  Closed-cell, PVC foam tapes; factory coated with adhesive on both surfaces; packaged on rolls with release liner protecting adhesive; and complying with AAMA 800 for the Type 2, for glazing applications in which tape is used in combination with a full bead of liquid sealant.

MISCELLANEOUS GLAZING MATERIALS

General:  Provide products of material, size, and shape complying with referenced glazing standard, requirements of manufacturers of glass and other glazing materials for application indicated, and with a proven record of compatibility with surfaces contacted in installation.

Cleaners, Primers, and Sealers:  Types recommended by sealant or gasket manufacturer.

Setting Blocks:  Elastomeric material with a Shore, Type A durometer hardness of 85, plus or minus 5.

Spacers:  Elastomeric blocks or continuous extrusions with a Shore, Type A durometer hardness required by glass manufacturer to maintain glass lites in place for installation indicated.

Edge Blocks:  Elastomeric material of hardness needed to limit glass lateral movement (side walking).

FABRICATION OF GLAZING UNITS

Fabricate glazing units in sizes required to glaze openings indicated for Project, with edge and face clearances, edge and surface conditions, and bite complying with written instructions of product manufacturer and referenced glazing publications, to comply with system performance requirements.

Delete paragraph below if no exposed edges and corners.

Grind smooth and polish exposed glass edges and corners.

EXECUTION

EXAMINATION

Examine framing glazing, with Installer present, for compliance with the following:

Manufacturing and installation tolerances, including those for size, squareness, and offsets at corners.

Presence and functioning of weep system.

Minimum required face or edge clearances.

Effective sealing between joints of glass-framing members.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Clean glazing channels and other framing members receiving glass immediately before glazing.  Remove coatings not firmly bonded to substrates.

GLAZING - GENERAL

Comply with combined written instructions of manufacturers of glass, sealants, gaskets, and other glazing materials, unless more stringent requirements are indicated, including those in referenced glazing publications.

Glazing channel dimensions, as indicated on Drawings, provide necessary bite on glass, minimum edge and face clearances, and adequate sealant thicknesses, with reasonable tolerances.  Adjust as required by Project conditions during installation.

Protect glass edges from damage during handling and installation.  Remove damaged glass from Project site and legally dispose of off Project site.  Damaged glass is glass with edge damage or other imperfections that, when installed, could weaken glass and impair performance and appearance.  Protect glass edges as follows:

Use a rolling block in rotating glass units to prevent damage to glass corners.

Do not impact glass with metal framing.

Use suction cups to shift glass units within openings.  Do not raise or drift glass with a pry bar.

Rotate glass lites with flares or bevels on bottom horizontal edges so edges are located at top of opening, unless otherwise indicated by manufacturer's label.

Apply primers to joint surfaces where required for adhesion of sealants, as determined by preconstruction sealant-substrate testing.

Install setting blocks in sill rabbets, sized and located to comply with referenced glazing publications and standards, unless otherwise required by glass manufacturer.  Set blocks in thin course of compatible sealant suitable for heel bead.

Do not exceed edge pressures stipulated by glass manufacturers for installing glass lites.

Provide spacers for glass lites where length plus width is larger than 50 inches as follows:

Locate spacers directly opposite each other on both inside and outside faces of glass.  Install correct size and spacing to preserve required face clearances, unless gaskets and glazing tapes are used that have demonstrated ability to maintain required face clearances and to comply with system performance requirements.

Provide 1/8-inch minimum bite of spacers on glass and use thickness equal to sealant width.  With glazing tape, use thickness slightly less than final compressed thickness of tape.

Provide edge blocking where indicated or needed to prevent glass lites from moving sideways in glazing channel, as recommended in writing by glass manufacturer and according to requirements in referenced glazing publications and standards.

Set glass lites in each series with uniform pattern, draw, bow, and similar characteristics.

TAPE GLAZING

Position tapes on fixed stops so that, when compressed by glass, their exposed edges are flush with or protrude slightly above sightline of stops.

Install tapes continuously, but not necessarily in one continuous length.  Do not stretch tapes to make them fit opening.

Cover vertical framing joints by applying tapes to heads and sills first and then to jambs.  Cover horizontal framing joints by applying tapes to jambs and then to heads and sills.

Place joints in tapes at corners of opening with adjoining lengths butted together, not lapped.  Seal joints in tapes with compatible sealant approved by tape manufacturer.

Do not remove release paper from tape until just before each glazing unit is installed.

Delete first paragraph below if not required, or qualify by adding "where indicated" and show locations on Drawings.

Apply heel bead of elastomeric sealant.

Center glass lites in openings on setting blocks and press firmly against tape by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops.  Start gasket applications at corners and work toward centers of openings.

CLEANING AND PROTECTION

Protect exterior glass from damage immediately after installation by attaching crossed streamers to framing held away from glass.  Do not apply markers to glass surface.  Remove nonpermanent labels, and clean surfaces.

Protect glass from contact with contaminating substances resulting from construction operations, including weld splatter.  If, despite such protection, contaminating substances do come into contact with glass, remove substances immediately as recommended by glass manufacturer.

Remove and replace glass that is broken, chipped, cracked, or abraded or that is damaged from natural causes, accidents, and vandalism, during construction period.

Retain paragraph below to suit Project.  Delete if covered in Division 1 Section "Closeout Procedures."

Wash glass on both exposed surfaces in each area of Project not more than four days before date scheduled for inspections that establish date of Substantial Completion.  Wash glass as recommended in writing by glass manufacturer.

END OF SECTION 08800