SECTION 122416

CELLUAR WINDOW SHADES

PART 1 - GENERAL

1.01	SUMMARY

A.	Work of this Section includes manually operated cellular window shades including mounting 			hardware, side-tracks, and other accessories.

1.02	SUBMITTALS

A.	Submit per DIVISION 01, unless otherwise noted.

B.	Shop drawings: Submit indicating window rough openings, sill, jamb, and head-frame section, 			details, shade type, location, dimensions, clearance requirements, attachment method, blocking 			requirements, motor system housing, and wiring diagrams. Submit window shade schedule.

C.	Samples: Submit fabric and metal finish samples for each system component exposed to view for 			initial and final selections by Architect.

D.	Quality Assurance Submittals per DIVISION 01: Submit Performance and Rating Certificates, 			and Qualification Statements.

1.03	CLOSEOUT SUBMITTALS

A.	Closeout Submittals:  Operation and Maintenance Data, Executed Warranty Documentation, and 			Record Documents.

B.	Maintenance Material Submittals:

1.	Spare Parts: Submit no less than 1%t additional clutches, brackets, motors, 						remotes, controls, and other furnished items, plus 2% additional for each 						cellular fabric type, with each item wrapped and labeled.

1.04	QUALITY ASSURANCE

A.	Qualifications: Manufacturer and installer firms with minimum of 10 years of successful 				experience. Installer workmen with a minimum of 3 years successful experience. Fabricator a 			subsidiary or licensed agent of the component manufacturers.

B.	Field Samples: Provide large field samples of each different cellular shade fabric selected by the 			Architect to demonstrate aesthetic effects of materials in situ, assisting in making final selections 			prior to fabrication.

1.05	DELIVERY, STORAGE, AND HANDLING

A.	Delivery, storage and handling per manufacturer's instructions and recommendations, and per 			DIVISION 01 requirements.

1.06	WARRANTY

A.	Manufacturer's Material Warranty:

1.	Cellular Shade Fabric and Components: Manufacturer's limited lifetime warranty against 				defects in materials and workmanship.

2.	Shade Fabrication: Provide fabricator's standard supplemental 5-year limited "fit for use" 				warranty covering all failures, including cord breakage, excepting willful misuse.

PART 2 - PRODUCTS

2.01	MANUFACTURER

A.	Fabricator/Supplier List: ¾-inch Single Cell Blackout Cellular Shades.

1.	Prestige blinds or equal.

2.02	DESCRIPTION

A.	General System Description:

1.	Room Blackout, single honeycomb cellular construction, made from aluminum 					materialized polyester fabric, with two-tone color with (neutral) uniform gray color to the 				outside.

2.	Operating Hardware mechanisms:

a.	Prestige Premium Lift System.

1)	Continuous Cord Loop.

B.	Regulatory Requirements:

1.	Flame Retardant:

a.	Passes NFPA 701, Small Scale vertical burn.

b.	California Administrative Code Title 19, Section 1237.

c.	Passes US Dept of Transportation Motor Vehicle Safety Standard Part 571-302.

2.	Shadecloth Total Lead Content per 16 CFR 1303: Below limits.

2.03	MATERIALS

A.	Design Criteria:  Shading

1.	Cellular Shade Applications for each exterior window of rooms and spaces shown on the 				drawings with related mounting systems and accessories.

a.	Shade Type 2: Manual cord-up-operation with blackout single cellular fabric.

B.	Manual Window Shade Operating Systems

1.	Universal Shade Hardware: Provide for all manually operated under 72-inches in width or 				height.

2.	Continuous Cord Loop Heavy Duty Operating System:  Provide all manually operated 				shades over 72-inches in width or length or where cord control is important.

PART 3 - EXECUTION

3.01	FIELD CONDITIONS

A.	Conditions and Measurements: Visit jobsite to verify installation conditions and window 				measurements.

3.02	EXAMINATION, PREPARATION, AND INSTALLATION

A.	Examination, preparation, and installation per manufacturer's current written instructions, 			approved submittals, and DIVISION 01 requirements.

1.	Proceed with installation only after unsatisfactory conditions have been corrected.

2.	Coordinate requirements for wood blocking structural support to ensure proper shade 				system installation.

3.	Coordination interface and installation of window shades with provisions of HVAC system,

lighting system, motorized projection screens, motorized projector lift, or video projector.

4.	Verify and coordinate requirements for power supply, conduit, and wiring required for 				window shade motors and controls.

5.	GC shall provide job elevator, lift, and scaffold access during construction up to Final 				Completion.

3.03	PROTECTION

A.	Protect shade assemblies from soiling and damage during construction operations.

3.04	CLOSEOUT ACTIVITES

A.	Substantial Completion Requirements per DIVISION 01.

3.05	LOCATION:

A.	Conference #1 307

B.	Conference #2 310

C.	Conference #3 317

D.	Conference #4 335

END OF SECTION 122416