July 14, 2011

7-9 Pleasant St.

Addressable Fire Alarm Install

Scope of Work:

Contractor will install an addressable fire alarm system in 7 apartments as well as all common areas.  This includes the store in the front of the building, Designs by CC.

Conventional heat detectors will be installed in each room within the apartments (excluding bathrooms).  There will be an addressable monitor module located above the door of each unit.

Norris Inc. will provide the equipment, final connections and testing per City of Portland requirements.  Upon completion we will coordinate a walk through with the FD for final approval.