Copyright 1998, The American Institute of Architects (AIA)

SECTION 03410

PLANT-PRECAST STRUCTURAL CONCRETE

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

SUMMARY

This Section includes plant-precast structural concrete units, including the following:

Adjust list below to suit Project.

Hollow-core slab units.

Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

Division 7 Section "Through-Penetration Firestop Systems" for joint filler materials for fire-resistance-rated construction.

Division 7 Section "Joint Sealants" for elastomeric joint sealants and sealant backings.

PERFORMANCE REQUIREMENTS

Retain this Article if delegating design responsibility for precast structural concrete units to fabricator.  AIA Document A201 requires Owner or Architect to specify performance and design criteria.

Retain paragraph above if placing design loads on Drawings; retain paragraph and applicable subparagraphs below if including design loads here.  Revise requirements below to suit Project, and add other performance and design criteria if applicable.

Structural Performance:  Provide precast structural concrete units and connections capable of withstanding the design loads indicated on Drawings within limits and under conditions indicated:

SUBMITTALS

Product Data:  For each type of product indicated.

Design Mixes:  For each concrete mix.

Shop Drawings:  Detail fabrication and installation of precast structural concrete units.  Indicate member locations, plans, elevations, dimensions, shapes, cross sections, openings, and types of reinforcement, including special reinforcement.

Indicate welded connections by AWS standard symbols.  Detail loose and cast-in hardware, inserts, connections, and joints, including accessories.

Indicate locations and details of anchorage devices to be embedded in other construction.

Retain subparagraph below if "Performance Requirements" Article is retained.  Delete or modify if Architect assumes or is required by law to assume design responsibility.

Comprehensive engineering analysis signed and sealed by the qualified professional engineer responsible for its preparation.

Delete paragraph below if samples are not required.

Delete paragraph below if not required.

Samples of bearing pads.

Retain first paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

Welding Certificates:  Copies of certificates for welding procedures and personnel.

Qualification Data:  For firms and persons specified in "Quality Assurance" Article to demonstrate their capabilities and experience.  Include lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

Delete test reports below if not required.

Material Test Reports:  From a qualified testing agency indicating and interpreting test results of the following for compliance with requirements indicated:

Material Certificates:  Signed by manufacturers certifying that each of the following items complies with requirements:

Retain list below with either paragraph above.  Edit to suit Project.

Concrete materials.

Reinforcing materials and prestressing tendons.

Admixtures.

Bearing pads.

QUALITY ASSURANCE

Installer Qualifications:  An experienced installer who has completed precast structural concrete work similar in material, design, and extent to that indicated for this Project and whose work has resulted in construction with a record of successful in-service performance.

Fabricator Qualifications:  A firm that complies with the following requirements and is experienced in manufacturing precast structural concrete units similar to those indicated for this Project and with a record of successful in-service performance.

Assumes responsibility for engineering precast structural concrete units to comply with performance requirements.  This responsibility includes preparation of Shop Drawings and comprehensive engineering analysis by a qualified professional engineer.

Delete subparagraph above and below if Contractor is not required to engage the services of a qualified professional engineer and if submission of a comprehensive engineering analysis is not retained in "Submittals" Article.

Professional Engineer Qualifications:  A professional engineer who is legally qualified to practice in jurisdiction where Project is located and who is experienced in providing engineering services of the kind indicated.  Engineering services are defined as those performed for installations of precast structural concrete that are similar to those indicated for this Project in material, design, and extent.

Usually retain first subparagraph below and select category to qualify a fabricator.  A precast concrete plant certified to produce products in Category C3 is automatically certified for Categories C1 and C2 but not Category C4.  Revise below if certification program by an association other than PCI is required.

Participates in PCI's Plant Certification program and is designated a PCI-certified plant for Group C, Category C3.

Has sufficient production capacity to produce required units without delaying the Work.

Retain first paragraph below if Contractor or manufacturer selects testing agency.

Testing Agency Qualifications:  An independent testing agency, qualified according to ASTM C 1077 and ASTM E 329 to conduct the testing indicated, as documented according to ASTM E 548.

Design Standards:  Comply with ACI 318 and the design recommendations of PCI MNL 120, "PCI Design Handbook--Precast and Prestressed Concrete."

Quality-Control Standard:  For manufacturing procedures and testing requirements, quality-control recommendations, and camber and dimensional tolerances for types of units required, comply with PCI MNL 116, "Manual for Quality Control for Plants and Production of Precast and Prestressed Concrete Products."

Retain paragraph below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Revise below to identify specific proprietary system or indicate on Drawings.  Correlate with Division 1 requirements.

Product Options:  Drawings indicate size, profiles, and dimensional requirements of precast concrete units and are based on the specific types of units indicated.  Other fabricators' precast concrete units complying with requirements may be considered.  Refer to Division 1 Section "Substitutions."

Delete paragraph below if no welding.  Retain "Welding Certificates" Paragraph in "Submittals" Article if below is retained.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

Welding:  Qualify procedures and personnel according to AWS D1.1, "Structural Welding Code--Steel"; and AWS D1.4, "Structural Welding Code--Reinforcing Steel."

Retain paragraph below if fire-rated units or assemblies are required.  Select either PCI MNL 124 or ACI 216.1/TMS 0216.1 or retain both if acceptable to authorities having jurisdiction.

Delete below if work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Meetings."

DELIVERY, STORAGE, AND HANDLING

Deliver precast structural concrete units to Project site in such quantities and at such times to ensure continuity of installation.  Store units at Project site to prevent cracking, distorting, warping, staining, or other physical damage, and so markings are visible.

Lift and support units only at designated lifting and supporting points as shown on Shop Drawings.

SEQUENCING

Furnish anchorage items to be embedded in other construction without delaying the Work.  Provide setting diagrams, templates, instructions, and directions, as required, for installation.

PRODUCTS

MOLD MATERIALS

Molds:  Provide molds and, where required, form-facing materials of metal, plastic, wood, or another material that is nonreactive with concrete and dimensionally stable to produce continuous and true precast concrete surfaces within fabrication tolerances and suitable for required finishes.

REINFORCING MATERIALS

Revise or delete paragraphs and subparagraphs below to suit steel reinforcement requirements.  If retaining "Performance Requirements" Article, consider reviewing selections with fabricators.

Reinforcing Bars:  ASTM A 615/A 615M, Grade 60 , deformed.

Retain paragraph below for reinforcement that is welded or if added ductility is sought.

Low-Alloy-Steel Reinforcing Bars:  ASTM A 706, deformed.

Galvanized Reinforcing Bars:  ASTM A 767, Class II zinc coated, hot-dip galvanized after fabrication and bending, as follows:

Select type of reinforcement to be galvanized from subparagraph below.

Steel Reinforcement:  ASTM A 615 , Grade 60.

Plain-Steel Wire:  ASTM A 82, [as drawn] [galvanized].

Deformed-Steel Wire:  ASTM A 496.

Epoxy-Coated-Steel Wire:  ASTM A 884, Class A coated, plain.

Plain-Steel Welded Wire Fabric:  ASTM A 185, fabricated from galvanized steel wire into flat sheets.

Deformed-Steel Welded Wire Fabric:  ASTM A 497, flat sheet.

Epoxy-Coated-Steel Welded Wire Fabric:  ASTM A 884/A 884M, Class A coated, [plain] [deformed].

Supports:  Manufacturer's bolsters, chairs, spacers, and other devices for spacing, supporting, and fastening reinforcing bars and welded wire fabric in place according to CRSI's "Manual of Standard Practice," PCI MNL 116, and as follows:

Revise or delete subparagraphs below to suit Project.

For uncoated reinforcement, use CRSI Class 1 plastic-protected bar supports.

For epoxy-coated reinforcement, use all-plastic bar supports.

For zinc-coated reinforcement, use all-plastic bar supports.

PRESTRESSING TENDONS

Retain this Article if precast concrete units will be prestressed, either pretensioned or posttensioned.  ASTM A 416/A 416M establishes low-relaxation strand as the standard.  Revise to stress-relieved strand if required.

Prestressing Strand:  ASTM A 416/A 416M, Grade 250 or 270, uncoated, 7-wire, low-relaxation strand.

CONCRETE MATERIALS

Delete materials below not required.  Revise to suit Project.

Portland Cement:  ASTM C 150, Type I or Type III, of same type, brand, and source.

Revise class of aggregate in paragraph below to suit Project.  ASTM C 33 limits deleterious substances in coarse aggregate depending on climate severity and in-service location of concrete.  Severe (S) weathering classifications range from Class 1S for protected substructure, beam, and column elements, and floor slabs to be given coverings, to Class 5S for exposed architectural concrete.  Moderate (M) weathering classifications similarly range from Classes 1M to 5M.  There are two negligible (N) weathering classifications.  Class 1N is for slabs subject to abrasion, bridge decks, floors, sidewalks, and pavements; Class 2N is for other concrete.  PCI MNL 116 also establishes strict limits on deleterious substances for fine and coarse aggregates.

Normal-Weight Aggregates:  Except as modified by PCI MNL 116, ASTM C 33, with coarse aggregates complying with Class  5S.

Lightweight Aggregates:  ASTM C 330.

Water:  Potable; free from deleterious material that may affect color stability, setting, or strength of concrete and complying with chemical limits of PCI MNL 116.

Air-Entraining Admixture:  ASTM C 260, certified by manufacturer to be compatible with other required admixtures.

Select types of chemical admixtures from six paragraphs below.

Water-Reducing Admixture:  ASTM C 494, Type A.

Retarding Admixture:  ASTM C 494, Type B.

Water-Reducing and Retarding Admixture:  ASTM C 494, Type D.

High-Range, Water-Reducing Admixture:  ASTM C 494, Type F.

High-Range, Water-Reducing and Retarding Admixture:  ASTM C 494, Type G.

Plasticizing Admixture:  ASTM C 1017.

Select mineral or cementitious admixtures from three paragraphs below.

Fly Ash Admixture:  ASTM C 618, Class C or F.

Metakaolin Admixture:  ASTM C 618, Class N.

Silica Fume Admixture:  ASTM C 1240.

STEEL CONNECTION MATERIALS

Edit this Article to suit Project.  Add other materials as required.

Carbon-Steel Shapes and Plates:  ASTM A 36/A 36M.

Carbon-Steel Headed Studs:  ASTM A 108, AISI 1018 through AISI 1020, cold finished; AWS D1.1, Type A or B, with arc shields.

Malleable Steel Castings:  ASTM A 47.

Deformed-Steel Wire or Bar Anchors:  ASTM A 496 or ASTM A 706/A 706M.

ASTM A 307 defines the term "studs" to include stud stock and threaded rods.

Carbon-Steel Bolts and Studs:  ASTM A 307, Grade A; carbon-steel, hex-head bolts and studs; carbon-steel nuts; and flat, unhardened steel washers.

PCI reports high-strength bolts are seldom used since concrete creep and crushing of concrete during bolt tightening reduce effectiveness.

High-Strength Bolts and Nuts:  ASTM A 325, Type 1, heavy hex steel structural bolts, heavy hex carbon-steel nuts, and hardened carbon-steel washers.

Retain paragraph and subparagraph below if galvanized finish is required.  Revise locations of galvanized items if required.  PCI notes that "field welding should generally not be permitted on galvanized elements, unless the galvanizing is removed."  Hot-dip galvanized finish provides greater corrosion resistance than electrodeposited zinc coating.  Electrodeposition is usually limited to threaded fasteners.

Finish:  For exterior steel items, steel in exterior walls, and items indicated for galvanizing, apply zinc coating by hot-dip process according to ASTM A 123/A 123M, after fabrication, and ASTM A 153/A 153M, as applicable.

Galvanizing Repair Paint:  High-zinc-dust-content paint with dry film containing not less than 94 percent zinc dust by weight, and complying with DOD-P-21035A or SSPC-Paint 20.

Retain paragraph below if paint finish is required.  Revise locations of priming if required.  FS TT-P-664 in first option below provides some corrosion protection while SSPC-Paint 25, without topcoating, provides minimal corrosion protection.

Welding Electrodes:  Comply with AWS standards.

Accessories:  Provide clips, hangers, plastic shims, and other accessories required to install precast structural concrete units.

STAINLESS-STEEL CONNECTION MATERIALS

Delete this Article if not required.

Stainless-Steel Plate:  ASTM A 666, Type 304, of grade suitable for application.

Stainless-Steel Bolts and Studs:  ASTM F 593, alloy 304 or 316, hex-head bolts and studs; stainless-steel nuts; and flat, stainless-steel washers.

Stainless-Steel Headed Studs:  ASTM A 276.

BEARING PADS

Delete this Article if not applicable.  Coordinate with structural engineer for bearing loads and rotation requirements.

Provide bearing pads for precast structural concrete units as follows:

Elastomeric Pads:  AASHTO M 251, plain, vulcanized, 100 percent polychloroprene (neoprene) elastomer, molded to size or cut from a molded sheet, 50 to 70 Shore A durometer, minimum tensile strength 2250 psi  per ASTM D 412.

Random-Oriented, Fiber-Reinforced Elastomeric Pads:  Preformed, randomly oriented synthetic fibers set in elastomer.  Surface hardness of 70 to 90 Shore A durometer.

Cotton-Duck-Fabric-Reinforced Elastomeric Pads:  Preformed, horizontally layered cotton-duck fabric bonded to an elastomer.  Surface hardness of 80 to 100 Shore A durometer.

Frictionless Pads:  Tetrafluoroethylene, glass-fiber reinforced, bonded to mild-steel plate, of type required for in-service stress.

Limit use of tempered hardboard pads to dry, low-stress applications, such as interior hollow-core slabs.  High-density plastic pads can also be used.

Hardboard:  AHA A135.4, Class 1, tempered hardboard strips, smooth on both sides.

High-Density Plastic:  Multimonomer, nonleaching, plastic strip.

GROUT MATERIALS

Add other proprietary grout systems to suit Project.  Show locations of each grout here or on Drawings if more than one type is retained.  Sand-cement grout in paragraph below is commonly used in keyed joints between hollow-core precast floor, roof, and wall units.

Sand-Cement Grout:  Portland cement, ASTM C 150, Type I, and clean, natural sand, ASTM C 144.  Mix at ratio of 1 part cement to 2-1/2 parts sand, by volume, with minimum water required for placement and hydration.

Retain first paragraph below if nonshrink grout is required or if cement-grout shrinkage could cause structural deficiency.  For critical installations, require manufacturer to provide field supervision.

Nonmetallic, Nonshrink Grout:  Premixed, nonmetallic, noncorrosive, nonstaining grout containing selected silica sands, portland cement, shrinkage-compensating agents, plasticizing and water-reducing agents, complying with ASTM C 1107, of consistency suitable for application.

Epoxy Grout:  ASTM C 881, 2-component epoxy resin, of type, grade, and class to suit requirements.

CONCRETE MIXES

Prepare design mixes for each type of concrete required.

Delete subparagraph below if fly ash or silica fume is not permitted.  Revise percentage below to suit Project.

Limit use of fly ash and silica fume to not exceed, in aggregate, 25 percent of portland cement by weight.

Design mixes may be prepared by a qualified independent testing agency or by qualified precast plant personnel at precast structural concrete fabricator's option.

Limit water-soluble chloride ions to the maximum percentage by weight of cement permitted by ACI 318 .

Normal-Weight Concrete:  Proportion mixes by either laboratory trial batch or field test data methods according to ACI 211.1, with materials to be used on Project, to provide normal-weight concrete with the following properties:

Select strength from subparagraph below or revise to suit Project.  Higher-strength mixes may be available; verify with fabricators.

Compressive Strength (28 Days):  5000 psi

A maximum water-cementitious materials ratio of 0.40 is usual for precast, prestressed concrete.  Lower ratios may be possible with use of high-range water reducers.  Revise ratio as required.

Maximum Water-Cementitious Materials Ratio:  0.40.

Add air-entraining admixture at manufacturer's prescribed rate to result in normal-weight concrete at point of placement having an air content as follows, with a tolerance of plus or minus 1-1/2 percent:

Retain applicable air-entraining percentages from one of three subparagraphs below.  Percentages are based on severe-exposure service conditions as defined in ACI 211.1.

Air Content:  6 percent for 1-inch nominal maximum aggregate size.

Air Content:  6 percent for 3/4-inch nominal maximum aggregate size.

Air Content:  7 percent for 1/2 nominal maximum aggregate size.

Retain subparagraph below and delete all three subparagraphs above if structural normal-weight concrete is not exposed to freezing.  Percentages are based on mild-exposure service conditions as defined in ACI 211.1.

Retain subparagraph below and delete both subparagraphs above if structural lightweight concrete is not exposed to severe conditions.  Percentage is based on ACI 211.2.

Air Content:  4 percent, minimum.

Other Admixtures:  Use water-reducing, high-range water-reducing, water-reducing and accelerating, or water-reducing and retarding admixtures according to manufacturer's written instructions.

Concrete Mix Adjustments:  Concrete mix design adjustments may be proposed if characteristics of materials, Project conditions, weather, test results, or other circumstances warrant.

FABRICATION

Check PCI tolerances to verify suitability for Project.

Formwork:  Accurately construct forms, mortar tight, of sufficient strength to withstand pressures due to concrete-placement operations and temperature changes and for pretensioning and detensioning operations.  Maintain formwork to provide completed precast concrete units of shapes, lines, and dimensions indicated, within fabrication tolerances.

Coat surfaces of forms with bond-breaking compound before reinforcement is placed.  Provide commercial-formula, form-coating compounds that will not bond with, stain, or adversely affect concrete surfaces and that will not impair subsequent treatments of concrete surfaces requiring bond or adhesion.  Apply in compliance with manufacturer's written instructions.

Unless forms for precast, prestressed concrete units are stripped before detensioning, design forms so stresses are not induced in precast concrete units because of deformation or movement of concrete during detensioning.

Coordinate paragraph below with Division 5 Sections for furnishing and installing loose steel items not cast in.

Built-in Anchorages:  Accurately position built-in anchorage devices and secure to formwork.  Locate anchorages where they do not affect position of main reinforcement or concrete placement.  Do not relocate bearing plates in units unless approved by Architect.

Delete first paragraph below if not applicable or if all openings are clearly detailed.  Coordinate with other Specification Sections.

Cast-in openings larger than 10 inches in diameter or 10 inches square according to Shop Drawings.  Smaller holes may be field cut by trades requiring them, as approved by Architect.

Reinforcement:  Comply with recommendations in CRSI's "Manual of Standard Practice" for fabricating, placing, and supporting reinforcement.

Clean reinforcement of loose rust and mill scale, earth, and other materials that reduce or destroy the bond with concrete.

Accurately position, support, and secure reinforcement against displacement by formwork, construction, or concrete-placement operations.  Locate and support reinforcement by metal chairs, runners, bolsters, spacers, and hangers, as required.

Place reinforcement to obtain at least the minimum coverage for concrete protection.  Arrange, space, and securely tie bars and bar supports to hold reinforcement in position while placing concrete.  Set wire ties so ends are directed into concrete, not toward exposed concrete surfaces.

Install welded wire fabric in lengths as long as practicable.  Lap adjoining pieces at least one full mesh and lace splices with wire.  Offset laps of adjoining widths to prevent continuous laps in either direction.

Delete paragraph and subparagraphs below if no precast, prestressed structural concrete units are required.

Prestress tendons for precast structural concrete units by either pretensioning or posttensioning methods.  Comply with PCI MNL 116.

Revise release strength in first subparagraph below to another percentage or an actual compressive strength if required.  PCI permits a release strength as low as 2500 psi (17.2 MPa) for normal-weight concrete and 3000 psi (20.7 MPa) for lightweight concrete.

Delay detensioning until concrete has reached at least 70 percent of its compressive strength as established by test cylinders cured under the same conditions as concrete.

If concrete has been heat cured, detension while concrete is still warm and moist to avoid dimensional changes that may cause cracking or undesirable stresses.

Detension pretensioned tendons either by gradually releasing tensioning jacks or by heat-cutting tendons, using a sequence and pattern to prevent shock or unbalanced loading.

Mix concrete according to PCI MNL 116 and requirements in this Section.  After concrete batching, no additional water may be added.

Place concrete in a continuous operation to prevent seams or planes of weakness from forming in precast concrete units.  Comply with requirements in PCI MNL 116 for measuring, mixing, transporting, and placing concrete.

Thoroughly consolidate placed concrete by internal and external vibration without dislocating or damaging reinforcement and built-in items.  Use equipment and procedures complying with PCI MNL 116.

Comply with ACI 306.1 procedures for cold-weather concrete placement.

Comply with ACI 305R recommendations for hot-weather concrete placement.

Identify pickup points of precast concrete units and orientation in structure with permanent markings, complying with markings indicated on Shop Drawings.  Imprint casting date on each precast concrete unit on a surface that will not show in finished structure.

Cure concrete, according to requirements in PCI MNL 116, by moisture retention without heat or by accelerated heat curing using low-pressure live steam or radiant heat and moisture.

Product Tolerances:  Fabricate precast structural concrete units straight and true to size and shape with exposed edges and corners precise and true so each finished unit complies with PCI MNL 116 product tolerances.

Finish formed surfaces of precast structural concrete as indicated for each type of unit, and as follows:

Select finish from one of four subparagraphs below.  If more than one finish is required, create a finish schedule or describe locations in each precast concrete unit article.  Finishes below are in ascending order of finish quality and cost.  Insert other specific finish requirements to suit Project.

Standard Finish:  Normal plant-run finish produced in forms that impart a smooth finish to concrete.  Small surface holes caused by air bubbles, normal color variations, form joint marks, and minor chips and spalls will be tolerated.  Major or unsightly imperfections, honeycombs, or structural defects are not permitted.

Commercial Finish:  Remove fins and large protrusions and fill large holes.  Rub or grind ragged edges.  Faces are to be true, well-defined surfaces.

Grade B Finish:  Fill air pockets and holes larger than 1/4 inch in diameter with sand-cement paste matching color of adjacent surfaces.  Grind smooth form offsets or fins larger than 1/8 inch.

Grade A Finish:  Fill air pockets and holes larger than 1/4 inch in diameter with sand-cement paste matching color of precast concrete.  Grind smooth form offsets or fins larger than 1/8 inch.  Float-apply a neat cement-paste coating to exposed surfaces.  Rub dried paste coat with burlap to remove loose particles.

Screed finish unformed surfaces.  Strike off and consolidate concrete with vibrating screeds to a uniform finish.  Hand screed at projections.

Retain paragraph above or below.  Screed finish above is standard with PCI; smooth steel trowel finish below may also be achieved.

Smooth steel trowel finish unformed surfaces.  Consolidate concrete, bring to proper level with straightedge, float, and trowel to a smooth, uniform finish.

Retain subparagraph below with either paragraph above, if applicable.

Apply scratch finish to precast concrete units that will receive concrete topping after installation.  After initial strikeoff, transversely scarify surface to provide ridges approximately 1/4 inch deep.

Retain below if in-service conditions could lead to corrosion of exposed tendons.

Recess prestressing tendons a minimum of 1/2 inch (13 mm), fill recesses with grout, and apply a sack finish to vertical ends of precast concrete units.

HOLLOW-CORE SLAB UNITS

Revise description of precast concrete units in paragraph below to suit Project.

Type:  Precast, prestressed concrete units with open, hollow cores running the full length of the slab units.

Furnish units free of voids and honeycombs.

Revise first paragraph below if other finishes are required.  Coordinate precast concrete finishes with required floor, ceiling, roof, and deck finishes or toppings.

Provide standard finish to precast concrete units.

Reinforce units to resist transportation and erection stresses.

Delete first paragraph below if not applicable.  Cast-in weld plates are not standard and will increase unit cost.

Include cast-in weld plates where required.

Coordinate with other trades for installation of cast-in items.

Delete first paragraph below if no solid slab units are required.  Revise description if solid slab units are also prestressed.

Provide solid, monolithic, precast concrete slab units forming an integral part of hollow-core slab unit system.  Design and fabricate solid units to dimensions and details indicated for hollow-core slab units.

Provide headers of cast-in-place concrete or structural-steel shapes for openings larger than one slab width according to hollow-core slab unit fabricator's written recommendations.

STRUCTURAL FRAMING UNITS

Revise description of precast concrete units in paragraph below to suit Project.

Type:  Precast, prestressed structural concrete framing units.

Furnish units free of voids and honeycombs.

Revise first paragraph below if other finishes are required.

Provide standard finish to precast concrete units.

Reinforce units to resist transportation and erection stresses.

Delete first paragraph below if not applicable.

Include cast-in weld plates where required.

Coordinate with other trades for installation of cast-in items.

SOURCE QUALITY CONTROL

Delete paragraph and subparagraph below if not required.  PCI certification may be acceptable to authorities having jurisdiction without further monitoring of plant quality-control and testing program by Owner.

Owner will employ an independent testing agency to evaluate precast structural concrete fabricator's quality-control and testing methods.

Allow Owner's testing agency access to material storage areas, concrete production equipment, concrete placement, and curing facilities.  Cooperate with Owner's testing agency and provide samples of materials and concrete mixes as may be requested for additional testing and evaluation.

Always retain paragraph below because it establishes the minimum standard of plant testing and inspecting.

Quality-Control Testing:  Test and inspect precast concrete according to PCI MNL 116 requirements.

Strength of precast concrete units will be considered deficient if units fail to comply with PCI MNL 116 requirements, including the following:

Units fail to comply with compressive-strength test requirements.

Reinforcement and prestressed tendons of units do not comply with fabrication requirements.

Concrete curing and protection of units against extremes in temperature fail to comply with requirements.

Units are damaged during handling and erecting.

Review testing and acceptance criteria with structural engineer.  Add criteria for load tests if required.

Testing:  If there is evidence that the strength of precast concrete units may be deficient or may not comply with PCI MNL 116 requirements, Owner will employ an independent testing agency to obtain, prepare, and test cores drilled from hardened concrete to determine compressive strength according to ASTM C 42.

A minimum of three representative cores will be taken from units of suspect strength, from locations directed by Architect.

Cores will be tested, after immersion in water, in a wet condition per ACI 301 if units will be wet under service conditions.

Retain subparagraph above or below depending on in-service conditions.

Cores will be tested in an air-dry condition per ACI 301 if units will be dry under service conditions.

PCI's recommendations below are more stringent than ACI's.

Strength of concrete for each series of 3 cores will be considered satisfactory if the average compressive strength is equal to at least 85 percent of the 28-day design compressive strength and no single core is less than 75 percent of the 28-day design compressive strength.

Test results will be made in writing on the same day that tests are performed, with copies to Architect, Contractor, and precast concrete fabricator.  Test reports will include the following:

Project identification name and number.

Date when tests were performed.

Name of precast concrete fabricator.

Name of concrete testing agency.

Identification letter, name, and type of precast concrete unit or units represented by core tests; design compressive strength; type of break; compressive strength at break, corrected for length-diameter ratio; and direction of applied load to core in relation to horizontal plane of concrete as placed.

Patching:  If core test results are satisfactory and precast concrete units comply with requirements, clean and dampen core holes and solidly fill with precast concrete mix that has no coarse aggregate, and finish to match adjacent precast concrete surfaces.

Dimensional Tolerances:  Units with dimensions smaller or larger than required and not complying with tolerance limits may be subject to additional testing.

Precast concrete units with dimensions larger than required will be rejected if the appearance or function of the structure is adversely affected or if larger dimensions interfere with other construction.  Repair or remove and replace rejected units, as required, to comply with construction conditions.

Defective Work:  Precast concrete units that do not comply with requirements, including strength, manufacturing tolerances, and finishes, are unacceptable.  Replace with precast concrete units that comply with requirements.

EXECUTION

EXAMINATION

Examine substrates and conditions for compliance with requirements for installation tolerances, true and level bearing surfaces, and other conditions affecting performance.  Proceed with installation only after unsatisfactory conditions have been corrected.

INSTALLATION

Delete first paragraph below if bearing pads are not required.

Bearing Pads:  Install bearing pads as precast concrete units are being erected.  Set pads on true, level, and uniform bearing surfaces and maintain in correct position until precast concrete units are placed.

Install precast structural concrete.  Shore and brace precast concrete units to maintain location, stability, and alignment until permanent connections are installed.

Welding:  Perform welding in compliance with AWS D1.1 and AWS D1.4, with qualified welders.

Protect precast concrete units and bearing pads from damage by field welding or cutting operations and provide noncombustible shields as required.

Repair damaged metal surfaces by cleaning and applying a coat of galvanized repair paint to galvanized surfaces.

Retain subparagraph above or below.

Repair damaged metal surfaces by cleaning and repriming damaged painted surfaces.

Paragraph below refers to fastening under the control of precast concrete erector.  Coordinate with and repeat warning in other Sections if additional construction will be fastened to precast, prestressed concrete units.

Fasteners:  Do not use drilled or powder-actuated fasteners for attaching accessory items to precast, prestressed concrete units unless approved by Architect.

Review tolerances in PCI MNL 127.  Consult structural engineer and precast concrete fabricators and erectors and revise paragraph below if other tolerances are needed.

Erection Tolerances:  Install precast concrete units level, plumb, square, and true, without exceeding the recommended erection tolerances in PCI MNL 127, "Recommended Practice for Erection of Precast Concrete."

Revise locations and extent of grouting in paragraph and subparagraph below if required.

Grouting Connections and Joints:  After precast concrete units have been placed and secured, grout open spaces at keyways, connections, and joints as follows:

Provide forms or other approved method to retain grout in place until hard enough to support itself.  Pack spaces with stiff grout material, tamping until voids are completely filled.  Place grout to finish smooth, level, and plumb with adjacent concrete surfaces.  Keep grouted joints damp for not less than 24 hours after initial set.  Promptly remove grout material from exposed surfaces before it hardens.

FIELD QUALITY CONTROL

Retain this Article if field testing and inspecting are required.  Revise paragraph below if Contractor engages agency.

Testing:  Owner will engage a qualified independent testing and inspecting agency to perform field tests and inspections.

Field welds and connections using high-strength bolts will be subject to tests and inspections.

Testing agency will report test results promptly and in writing to Contractor and Architect.

Remove and replace work that does not comply with specified requirements.

Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of corrected work with specified requirements.

CLEANING

Clean exposed surfaces of precast concrete units after erection to remove weld marks, other markings, dirt, and stains.

Wash and rinse according to precast concrete fabricator's written recommendations.  Protect other work from staining or damage due to cleaning operations.

Do not use cleaning materials or processes that could change the appearance of exposed concrete finishes.

END OF SECTION 03410