Section 05120

Structural Steel

PART 1 - GENERAL

1.01	GENERAL REQUIREMENTS:

A.	RELATED DOCUMENTS: Drawings and general provisions of the contract, including General and Supplementary Conditions and Division 1 Specification sections apply to work of this section.

B.	Examine all other sections of the Specifications for requirements which affect work of this Section whether or not such work is specifically mentioned in this Section.

C.	Coordinate work with that of all trades affecting or affected by work of this Section.  Cooperate with such trades to assure the steady progress of all work under the Contract.

1.02	DESCRIPTION OF WORK:

A.	Extent of structural steel work is shown on drawings, including schedules, notes and details to show size and location of members, typical connections, and type of steel required.

B.	Structural steel is that work defined in AISC "Code of Standard Practice" and as otherwise shown on drawings.

1.03 RELATED WORK

A.	Cast-In-Place Concrete: Section 03300

1.04	QUALITY ASSURANCE:

A.	Codes and Standards:  Comply with provisions of the following, except as otherwise indicated:

1.	AISC "Code of Standard Practice for Steel Buildings and Bridges".

Paragraph 4.2.1 of the above code is hereby modified by deletion of the following sentence:  "This approval constitutes the Owner's acceptance of all responsibility for the design adequacy of any detail configuration of connections developed by the Fabricator as part of his preparation of these shop drawings."

2.	AISC "Specifications for Structural Steel Buildings - Allowable Stress Design and Plastic Design", including "Commentary" and Supplements thereto as issued.

3.	AISC "Specifications for Structural Joints using ASTM A325 or A490 Bolts" approved by the Research Council on Structural Connections of the Engineering Foundation.

4.	AWS D1.1 "Structural Welding Code".

5.	ASTM A6 "General Requirements for Rolled Steel Plates, Shapes, Sheet Piling and Bars for Structural Use".

B.	Qualifications for Welding Work:  Qualify welding processes and welding operators in accordance with AWS "Standard Qualification Procedure".

1.	Provide certification that welders to be employed in work have satisfactorily passed AWS Qualification tests.

2.	If recertification of welders is required, retesting will be Contractor's responsibility.

C.	Fabricator Qualifications: Fabricator must be a member of the American Institute of Steel Construction (AISC), be certified in Category I of the AISC quality Certification Program, or be a member of the Structural Steel Fabricators of New England (SSFNE). Provide certification of at least one of the above.

1.05	SUBMITTALS

A.	The Engineer shall receive all submittals a minimum of two weeks prior to the start of fabrication.  The Contractor shall have reviewed and approved all submittals prior to review by the Engineer.  All review of submittals by the Contractor, Architect and Engineer shall be completed prior to fabrication and installation of any material or product.

B.	Product Data:  Submit producer's or manufacturer's specifications and installation instructions for following products.  Include laboratory test reports and other data to show compliance with specifications (including specified standards).

1.	Structural steel (each type), including certified copies of mill reports covering chemical and physical properties.

2.	High-strength bolts (each type), including nuts and washers.

3.	Structural steel primer paint(s).

C.	Shop Drawings:

1.	Submit shop drawings, including complete details and schedules for fabrication and assembly of structural steel members, procedures and diagrams. Use of Structural Contract Documents as erection or detail drawings will not be permitted.  Include details of cuts, connections, camber, holes and other pertinent data.  Indicate welds by standard AWS symbols, and show size, length and type of each weld.

2.	Provide setting drawings, templates and directions for installation of anchor rods and other anchorages to be installed by others.

3.	Review of shop drawings will be made for size and arrangement of principal and auxiliary members, and strength of connections.  Any errors in shop drawing and field dimensions shall be the responsibility of the General Contractor.

4.	Submit 2 blue line prints and one reproducible transparency (Sepia) of each shop drawing.

D.	Connection Design: Submit design calculations prepared and stamped by a Professional Engineer registered in the State of Maine for those connections not tabulated in the AISC "Manual of Steel Construction" (ASD or LRFD).

1.06	DELIVERY, STORAGE AND HANDLING:

A.	Deliver materials to site at such intervals to insure uninterrupted progress of work.

B.	Deliver anchor rods and anchorage devices, which are to be embedded in cast-in-place concrete or masonry, in ample time to not delay work.

C.	Store materials to permit easy access for inspection and identification.  Keep steel members off ground, using pallets, platforms, or other supports.  Protect steel members and packaged materials from corrosion and deterioration.

D.	Do not store materials on structure in a manner that might cause distortion or damage to members or supporting structures.  Repair or replace damaged materials or structures as directed.

PART 2 - PRODUCTS

2.01	MATERIALS:

A.	Structural Steel Wide Flange Shapes: ASTM A992, Grade 50

B.	Structural Steel Shapes, Plates and Bars:  ASTM A36

C.	Cold-Formed Steel Tubing:  ASTM A500, Grade B, Fy = 46 ksi

D.	Steel Pipe:  ASTM A53, Grade B

E.	Anchor Rods:  ASTM F1554, Grade 36 nonheaded unless otherwise indicated

F.	Unfinished Threaded Fasteners:  ASTM A307, Grade A, regular low-carbon steel bolts and nuts

1.	Provide hexagonal heads and nuts for all connections.

G.	High-Strength Threaded Fasteners:  Heavy hexagon structural bolts, heavy hexagon nuts, and hardened washers, as follows:

1.	Quenched and tempered medium-carbon steel bolts, nuts and washers, complying with ASTM A325

2.	Direct tension indicator washers or bolts may be used at Contractor's option.

H.	Electrodes for Welding:  E70XX complying with AWS Code.

J.	Structural Steel Primer Paint:

1.	Interior Structural Steel: None

2.	Exterior Structural Steel (all structural steel exposed to weather): TNEMEC Series 90-97, Tneme-Zinc, 3.0 mils dry film thickness

K.	Structural Steel Top Coats:

1.	Interior Structural Steel: None

2.	Exterior Structural Steel (all structural steel exposed to weather):

First Coat: TNEMEC Series 161, Hi-Build Epoxoline, 3.0 mils dry film thickness

Second Coat: TNEMEC Series 73, Endurashield III, 2.0 mils dry film thickness

L.	Non Shrink Cement-Based Grout:  See section 03300

M.	Galvanizing:  ASTM A525, Hot-dipped, G-60 coating

2.02	FABRICATION:

A.	Shop Fabrication and Assembly:  Fabricate and assemble structural assemblies in shop to greatest extent possible.  Fabricate items of structural steel in accordance with AISC Specifications and as indicated on final shop drawings.  Provide camber in structural members where indicated.

1.	Properly mark and match-mark materials for field assembly.  Fabricate for delivery sequence which will expedite erection and minimize field handling of materials.

2.	Where finishing is required, complete assembly, including welding of units, before start of finishing operations.  Provide finish surfaces of members exposed in final structure free of markings, burrs and other defects.

3.	Clean steel of oils, grease, etc. that would affect fireproofing adhesion.

B.	Connections:  Weld or bolt shop connections, as indicated.

1.	Bolt field connections, except where welded connections or other connections are indicated.

2.	Provide high-strength threaded fasteners for principal bolted connections, except where unfinished bolts are indicated.

C.	High-Strength Bolted Connection:  Install high-strength threaded fasteners in accordance with AISC "Specifications for Structural Joints using ASTM A325 or A490 Bolts". Unless otherwise indicated, all bolted connections are to be tightened to the snug tight condition as defined by AISC.

D.	Welded Construction:  Comply with AWS Code for procedures, appearance and quality of welds, and methods used in correcting welding work.

E.	Holes for Other Work:  Provide holes required for securing other work to structural steel framing, and for passage of other work through steel framing members, as shown on final shop drawings.  Cut, drill, or punch holes perpendicular to metal surfaces.  Do not flame cut holes or enlarge holes by burning.  Drill holes in bearing plates.

2.03	SHOP PAINTING

A.	General:

1.	Shop prime paint structural steel where indicated.

2.	Do not paint surfaces which are to be welded.

B.	Surface Preparation: After inspection and before shipping, clean steel work to be painted. Remove loose mill scale, splatter, slag or flux deposits. Clean steel in accordance with the following:

1.	Exterior Steel: (all structural steel exposed to weather): Steel Structures Painting Council (SSPC) SP-6.

C.	Painting:

1.	Immediately after surface preparation, apply structural steel primer paint in accordance with manufacturer's instructions. Apply primer at a rate to provide dry film thickness given in this specification. Use painting methods which result in full coverage of joints, corners, edges and exposed surfaces.

PART 3 - EXECUTION

3.01	ERECTION:

A.	Surveys:  Check elevations of concrete and masonry bearing surfaces, and locations of anchor rods and similar devices, before erection work proceeds, and report discrepancies to Architect.  Do not proceed with erection until corrections have been made, or until compensating adjustments to structural steel work have been agreed upon with Architect.

B.	Temporary Shoring and Bracing:  Provide temporary shoring and bracing members with connections of sufficient strength to bear imposed loads.  Remove temporary members and connections when permanent members are in place and final connections are made.  Provide temporary guy lines to achieve proper alignment of structures as erection proceeds.

C.	Anchor Rods:  Furnish anchor rods and other connectors required for securing structural steel to foundations and other in-place work.

1.	Furnish templates and other devices as necessary for presetting bolts and other anchors to accurate locations. Refer to division 3 of these specifications for anchor bolt installation requirements in concrete.

D.	Setting Bases and Bearing Plates:  Clean concrete and masonry bearing surfaces of bond-reducing materials and roughen to improve bond to surfaces.  Clean bottom surface of base and bearing plates.

1.	Set loose and attached base plates and bearing plates for structural members on wedges or other adjusting devices.

E.	Tighten anchor rods after supported members have been positioned and plumbed.  Do not remove wedges or shims, but if protruding, cut off flush with edge of base or bearing plate prior to packing with grout.

F.	Pack grout solidly between bearing surfaces and bases or plates to ensure that no voids remain.  Finish exposed surfaces, protect installed materials, and allow to cure.  For proprietary grout materials, comply with manufacturer's instructions.

G.	Field Assembly:  Set structural frames accurately to lines and elevations indicated.  Align and adjust various members forming part of complete frame or structure before permanently fastening.  Clean bearing surfaces and other surfaces which will be in permanent contact before assembly.  Perform necessary adjustments to compensate for discrepancies in elevations and alignment.  Level and plumb individual members of structure within specified AISC tolerance.  Splice members only where indicated and accepted on shop drawings.

H.	Erection bolts:  On exposed welded construction, remove erection bolts, fill holes with plug welds and grind smooth at exposed surface.

I.	Comply with AISC Specifications for bearing, adequacy of temporary connections, alignment, and removal of paint on surfaces adjacent to field welds.  Do not enlarge unfair holes in members by burning or by use of drift pins, except in secondary bracing members.  Ream holes that must be enlarged to admit bolts.

J.	Gas Cutting:  Do not use gas cutting torches in field for correcting fabrication errors in primary structural framing.  Cutting will be permitted only on secondary members which are not under stress, as acceptable to Architect.  Finish gas-cut sections equal to a sheared appearance when permitted.

3.02	QUALITY CONTROL:

A.	General:

1.	The Contractor is responsible for maintaining quality control and for providing a structure that is in strict compliance with the Contract Documents.

2.	Inspection and testing services provided by the Owner do not relieve the Contractor of any responsibility for compliance, nor are they intended to limit the quality control responsibilities of the Contractor.

B.	The Owner shall engage an independent testing and inspection agency to inspect high-strength bolted connections and welded connections and to perform tests and prepare test reports. All connections must pass these inspections prior to the installation of subsequent work which they support.

C.	The testing agency may inspect structural steel at the fabrication plant before shipment; however, the Engineer reserves the right, at any time before final acceptance, to reject material not complying with specified requirements.

D.	The testing agency shall conduct tests and state in each report which specific connections were examined or tested, whether the connections comply with requirements, and specifically state any deviations therefrom.

E.	Welding:  The testing agency shall inspect and test during fabrication of structural steel assemblies, and during erection of structural steel all welded connections in accordance with procedures outlined in AWSD1.1 as follows:

1.	Certify welders and conduct inspections and tests as required.  Record types and locations of defects found in work. Record work required and performed to correct deficiencies.

2.	Perform visual inspection of all welds.  Welds deemed questionable by visual inspection, all partial and full penetration welds, and any other welds indicated on the drawings shall be tested by one of the following:

a.	Liquid penetrant inspection:  ASTM E165.

b.	Magnetic particle inspection:  ASTM E109; performed on root pass and on finished weld.  Cracks or zones of incomplete fusion or penetration not acceptable.

c.	Radiographic Inspection:  ASTM E94 and ASTM E142; minimum quality level "2-2T".

d.	Ultrasonic Inspection:  ASTM E164.

4.	All welds deemed unacceptable shall be repaired and retested at the Contractor's expense.

F.	Bolted Connections: The testing agency shall inspect all bolted connections in accordance with procedures outlined in the AISC "Specification for Structural Joints using ASTM A325 or A490 Bolts".

1.	Snug Tight Connections:

a.	The inspector shall monitor the installation of bolts to determine that all plies of connected material have been drawn together and that the selected procedure is used to tighten all bolts.

b.	If the inspector does not monitor the installation of bolts, the inspector shall visually inspect the connection to determine that all plies of connected material have been drawn together and conduct tests on a sampling connection bolts to determine if they have been tightened to the snug tight condition. The test sample shall consist of 10% of the bolts in the connection, but not less than two bolts, selected at random. If more than 105 of the tested bolts fail the initial inspection, the Engineer reserves the right to increase the number of bolts tested.

2.	Slip Critical Connections:

a.	The inspector shall monitor the calibration of torquing equipment and the installation of bolts to determine that all plies of connected material have been drawn together and that the selected procedure is used to tighten the bolts.

3.	If the inspector does not monitor the calibration or installation procedures for any connection, all bolts in the affected connection shall be tested using a manual torque wrench to assure that the required pretension has been reached.

G.	TheContractor shall provide access for testing agency to places where structural steel work is being fabricated, produced or erected so that required inspection and testing can be accomplished.

H.	The Contractor shall correct deficiencies in structural steel work where test reports indicate noncompliance with requirements.  The testing agency shall perform additional tests, at the Contractor's expense, as may be necessary to show compliance of corrected work.  Costs associated with Engineer's review and disposition of faulty works shall be borne by Contractor.

3.03.	ENGINEERS REVIEW

A.	The Engineer of Record will conduct periodic reviews of the construction for compliance with the Contract Documents during construction.

B.	The Contractor shall employ a Professional Engineer to analyze and design modifications and repairs for construction not in conformance with the provisions of the Contract Documents. These modifications and repair details shall be stamped by a Professional Engineer registered in the State of Maine and submitted with calculations for review by the Engineer of Record. Modifications shall not be made without express written approval.

END OF SECTION