SECTION 07200

INSULATION AND VAPOR BARRIERS

1.	GENERAL:

1.1 GENERAL PROVISIONS:  Drawings and general provisions of Contract, including General Conditions and Division 1 specifications, apply to work in this section.

1.2 DESCRIPTION OF WORK:  The extent of work shall be as shown on Drawings and called for in these Specifications.  Performance shall meet the requirements of the Specifications.  The work covered by this section of Specifications consists of the following:

1.  	Installation of rigid insulation, sound insulation in exterior walls, interior walls, ceilings and floors where shown on Drawings.

2. 	Vapor barriers to be installed as shown.

2.	PRODUCTS:

  - EXTERIOR WALLS: Insulated with spray in Cellulose equal to “NU.Wool”.

2.2	RIGID INSULATION: 2” Blue Board, see Drawings for locations.

2.3	ROOF INSULATION:  See Section 07500

3.  	EXECUTION:

3.1 	CELLULOUS INSULATION

- Install per “NU.Wool” installation methods and techniques.

END OF SECTION