# SECTION 08413

# GLAZED ALUMINUM CURTAIN WALLS

# PART 1 – GENERAL

1.01	Summary

A.	Section Includes: Kawneer Architectural Aluminum Curtain Wall Systems, including perimeter trims, stools, accessories, shims and anchors, and perimeter sealing of curtain wall framing.

1.	Types of Kawneer Aluminum Curtain Wall include:

a.	1600 Wall System 2–1/2" x 7–1/2" outside, glazed structural silicone glazed (SSG) format.

1.02	References (Industry Standards)

1.03	System Description

A.	Curtain Wall System Performance Requirements:

1.	Wind loads:  Provide Curtain Wall system; include anchorage, capable of withstanding wind load design pressures of 30 lbs./sq. ft., inward and 30 lbs./sq. ft., outward.  The design pressures are based on the IBC Building Code; 2003 Edition

2.	Air Infiltration: The test specimen shall be tested in accordance with ASTM E 283. Air infiltration rate shall not exceed 0.06 cfm/ft2 (0.3 l/s · m2) at a static air pressure differential of 6.24 psf (300 Pa).

3.	Water Resistance, (static): The test specimen shall be tested in accordance with ASTM E 331. There shall be no leakage at a static air pressure differential of 12 psf (575 Pa) as defined in AAMA 501.

4.	Water Resistance, (dynamic): The test specimen shall be tested in accordance with AAMA 501.1. There shall be no leakage at an air pressure differential of 12 psf (575 Pa) as defined in AAMA 501.

5.	Uniform Load: A static air design load of 40 psf (1915 Pa) shall be applied in the positive and negative direction in accordance with ASTM E 330. There shall be no deflection in excess of L/175 of the span of any framing member at design load. At structural test load equal to 1.5 times the specified design load, no glass breakage or permanent set in the framing members in excess of 0.2% of their clear spans shall occur.

6.	Seismic: When tested to AAMA 501.4, system must meet design displacement of 0.010 x the story height and ultimate displacement of 1.5 x the design displacement.

7.	Thermal Transmittance (U-factor): When tested to AAMA Specification 1503, the thermal transmittance (U-factor) shall not be more than: 0.57 (clear)  per AAMA 507.

8.	Condensation Resistance (CRF): When tested to AAMA Specification 1503, the condensation resistance factor shall not be less than 68frame and 59glass (clear),

or
Condensation Index (I): when tested to CSA-A440-00, the Condensation Index shall not be less than 65frame and 50glass (clear).

9.	Sound Transmission Loss: When tested to ASTM E90, the Sound Transmission Class (STC) shall not be less than 36 based upon 1” laminated glass (1/4" laminated, 1/2" AS, 1/4" laminated).

1.04	Submittals

A.	General: Prepare, review, approve, and submit specified submittals in accordance with “Conditions of the Contract” and Submittals Sections. Product data, shop drawings, samples, and similar submittals are defined in “Conditions of the Contract.”

B.	Quality Assurance/Control Submittals:

1.	Test Reports: Submit certified test reports showing compliance with specified performance characteristics.

1.05	Warranty

A.	Project Warranty: Refer to “Conditions of the Contract” for project warranty provisions.

B.	Manufacturer’s Product Warranty: Submit, for Owner’s acceptance, manufacturer’s warranty for curtain wall system as follows:

1.	Warranty Period: Two (2) years from Date of Substantial Completion of the project provided however that the Limited Warranty shall begin in no event later than six months from date of shipment by Kawneer.

1.06	Quality Assurance

A.	Qualifications:

1.	Installer Qualifications: Installer experienced (as determined by contractor) to perform work of this section who has specialized in the installation of work similar to that required for this project and who is acceptable to product manufacturer.

2.	Manufacturer Qualifications: Manufacturer capable of providing structural calculations, applicable independent product test reports, installation instructions, a review of the application method, customer approval and periodic field service representation during construction.

B.	Pre-Installation Meetings: Conduct pre-installation meeting to verify project requirements, substrate conditions, manufacturer’s installation instructions, and manufacturer’s warranty requirements.

1.07	Delivery, Storage, and Handling

A.	Ordering: Comply with manufacturer's ordering instructions and lead time requirements to avoid construction delays.

B.	Packing, Shipping, Handling, and Unloading: Deliver materials in manufacturer's original, unopened, undamaged containers with identification labels intact.

C.	Storage and Protection: Store materials protected from exposure to harmful weather conditions. Handle material and components to avoid damage. Protect curtain wall material against damage from elements, construction activities, and other hazards before, during and after curtain wall installation.

# PART 2 – PRODUCTS

2.01	Manufacturers (Acceptable Manufacturers/Products)

A.	Acceptable Manufacturers:

1.	Address:		Kawneer Company, Inc.

555 Guthridge Court,

Technology Park/Atlanta,

Norcross, GA 30092

Telephone:	770 449 5555

Fax:			770 734 1560

2.	Proprietary Product(s)/System(s): Kawneer Aluminum Curtain Wall

a.	Series: 1600 Wall System®2

b.	Finish/Color: (See 2.06 Finishes)

B.	Substitutions:

1.	General: Refer to Substitutions Section for procedures and submission requirements.

a.	Pre-Contract (Bidding Period) Substitutions: Submit written requests ten (10) days prior to bid date.

b.	Post-Contract (Construction Period) Substitutions: Submit written request in order to avoid curtain wall installation and construction delays.

2.	Substitution Documentation:

a.	Product Literature and Drawings: Submit product literature and drawings modified to suit specific project requirements and job conditions.

b.	Certificates: Submit certificate(s) certifying substitute manufacturer (1) attesting to adherence to specification requirements for curtain wall system performance criteria, and (2) has been engaged in the design, manufacturer and fabrication of aluminum curtain wall for a period of not less than ten (10) years. (Company Name)

c.	Test Reports: Submit test reports verifying compliance with each test requirement for curtain wall required by the project.

d.	Product Sample and Finish: Submit product sample, representative of curtain wall for the project, with specified finish and color.

3.	Substitution Acceptance: Acceptance will be in written form, either as an addendum or modification, and documented by a formal change order signed by the Owner and Contractor.

2.02	Materials

A.	Aluminum (Curtain Wall and Components):

1.	Material Standard: Extruded Aluminum, ASTM B 221, 6063-T6 alloy and temper.

2.	Member Wall Thickness: Each framing member shall have a wall thickness sufficient to meet the specified structural requirements.

3.	Tolerances: Reference to tolerances for wall thickness and other cross-sectional dimensions of curtain wall members are nominal and in compliance with AA Aluminum Standards and Data.

2.03	Accessories

A.	Fasteners: Where exposed, shall be Stainless Steel.

B.	Gaskets: Glazing gaskets shall comply with ASTM C 864 and be extruded of a silicone compatible EPDM rubber that provides for silicone adhesion.

C.	Perimeter Anchors: Aluminum. When steel anchors are used, provide insulation between steel material and aluminum material to prevent galvanic action.

D.	Thermal Barrier: Thermal separator shall be extruded of a silicone compatible elastomer that provides for silicone adhesion.

E.	InLighten™ (light shelf): aluminum light shelf system consisting of anchor channels, support beams, fascia trims and Aluminum Composite Material (ACM) panels that is anchored directly to the Curtain Wall intermediate horizontal members.

1.	Light shelf location shall be as detailed on the architectural drawings.

Specifier to choose light shelf end treatment as described below:

a.	“Wall to Wall” light shelf end treatment; recommended for wall to wall applications (with open-end assembly) or

b.	“End Caps” light shelf end treatment; recommended for punched opening applications (with closed-end assembly).

Specifier to choose light shelf model as described below:

2.	Standard designs shall be “Fascia Cap” or “Continuous Panel” models.

a.	Fascia Cap model: Consists of top and bottom ACM panel surfaces with separate interior extruded aluminum fascia trim as selected from standard profiles, (custom profiles are available on request).

b.	Continuous Panel model: Consists of a single ACM panel formed to create the overall shelf profile.

3.	Light shelf assembly dimensions shall be as follows:

a.	Overall light shelf assembly nominal thickness shall be 2-1/2” (63.5)

b.	Overall projection depth shall be as detailed on the architectural drawings, maximum depth is 30" (762).

c.	ACM panels shall be 3mm or 4mm thick.

4.	Anchor channels and fascia trims shall be painted or anodized.

a.	Select from Kawneer standard paint colors or anodized finishes.

b.	Custom paint colors are available on request.

5.	Aluminum Composite Material (ACM) panels shall be painted.

a.	Top panel of Fascia Cap model and Continuous Panel model shall be painted white.

b.	Bottom panel of Fascia Cap model shall be painted as specified.

6.	Panel Joint Trim for Fascia Cap model.

7.	Select color for top and bottom trim: Black, Gray or White.

2.04	Related Materials

A.	Sealants: Refer to Joint Treatment (Sealants) Section.

B.	Glass: Refer to Glass and Glazing Section.

2.05	Fabrication

A.	General:

1.	Fabricate components per manufacturer's installation instructions and with minimum clearances and shim spacing around perimeter of assembly, yet enabling installation and dynamic movement of perimeter seal.

2.	Accurately fit and secure joints and corners. Make joints flush, hairline and weatherproof.

3.	Prepare components to receive anchor devices. Fabricate anchors.

4.	Arrange fasteners and attachments to conceal from view.

2.06	Finishes

A.	Shop Finishing:

3.	Kawneer Permanodic® AA-M12C22A31, AAMA 611, Architectural Class II Clear Anodic Coating	(Color #17 Clear) (Standard).

2.07	Source Quality Control

A.	Source Quality: Provide aluminum curtain walls specified herein from a single source.

1.	Building Enclosure System: When aluminum curtain wall are part of a building enclosure system, including entrances, entrance hardware, windows, storefront framing and related products, provide building enclosure system products from a single source manufacturer.

# PART 3 – EXECUTION

3.01	Examination

A.	Site Verification of Conditions: Verify substrate conditions (which have been previously installed under other sections) are acceptable for product installation in accordance with manufacturer’s instructions. Verify openings are sized to receive curtain wall system and sill plate is level in accordance with manufacturer’s acceptable tolerances.

1.	Field Measurements: Verify actual measurements/openings by field measurements before fabrication; show recorded measurements on shop drawings. Coordinate field measurements, fabrication schedule with construction progress to avoid construction delays.

3.02	Installation

A.	General: Install curtain wall systems plumb, level, and true to line, without warp or rack of frames with manufacturer’s prescribed tolerances and installation instructions. Provide support and anchor in place.

1.	Dissimilar Materials: Provide separation of aluminum materials from sources of corrosion or electrolytic action contact points.

2.	Weathertight Construction: Install sill members and other members in a bed of sealant or with joint filler or gaskets, to provide weathertight construction. Coordinate installation with wall flashings and other components of construction.

a.	Refer to Joint Treatments (Sealants) Section for installation requirements.

B.	Related Products Installation Requirements:

1.	Sealants (Perimeter): Refer to Joint Treatment (Sealants) Section.

2.	Glass: Refer to Glass and Glazing Section.

a.	Reference: ANSI Z97.1, CPSC 16 CFR 1201 and GANA Glazing Manual.

3.03	Field Quality Control

A.	Field Tests: Architect shall select curtain wall units to be tested as soon as a representative portion of the project has been installed, glazed, perimeter caulked and cured. Conduct tests for air infiltration and water penetration with manufacturer’s representative present. Tests not meeting specified performance requirements and units having deficiencies shall be corrected as part of the contract amount.

1.	Testing: Testing shall be performed per AAMA 503 by a qualified independent testing agency. Refer to Testing Section for payment.

a.	Air Infiltration Tests: Conduct tests in accordance with ASTM E 783. Allowable air infiltration shall not exceed 1.5 times the amount indicated in the performance requirements or 0.09 cfm/ft2, which ever is greater.

b.	Water Infiltration Tests: Conduct tests in accordance with ASTM E 1105. No uncontrolled water leakage is permitted when tested at a static test pressure of two-thirds the specified water penetration pressure but not less than 10 psf (479 Pa).

B.	Manufacturer’s Field Services: Upon Owner’s written request, provide periodic site visit by manufacturer’s field service representative.

3.04	Protection and Cleaning

A.	Protection: Protect installed product’s finish surfaces from damage during construction. Protect aluminum curtain wall system from damage from grinding and polishing compounds, plaster, lime, acid, cement, or other harmful contaminants.

B.	Cleaning: Repair or replace damaged installed products. Clean installed products in accordance with manufacturer’s instructions prior to owner’s acceptance. Remove construction debris from project site and legally dispose of debris.

# DISCLAIMER STATEMENT

This guide specification is intended to be used by a qualified construction specifier. The guide specification is not intended to be verbatim as a project specification without appropriate modifications for the specific use intended. The guide specification must be used and coordinated with the procedures of each design firm, and the particular requirements of a specific construction project.

# END OF SECTION 08413