From: 	"Sage, Eric" <ESage@pcconstruction.com>
To:	"dmcpherson@portlandmaine.gov" <dmcpherson@portlandmaine.gov>
CC:	"Burrell, John" <jburrell@pcconstruction.com>
Date: 	6/13/2012 2:50 PM
Subject: 	30 Danforth St
Attachments:	36 Danforth Street 304 compliance.doc; 36 Danforth Street 304 compliance.doc; 36 Danforth.pdf

Don

I would like to start by apologizing about any confusion today at Danforth St.  We have tenants moving in and just wanted you to check a few items to make sure we were being compliant.    This wasn't suppose to be a final walkthrough, I do have a copy of the sprinkler and fire alarm compliance letters, and understand that you would like to see more fire caulking at the drain pipe in the sink.  We can achieve this starting Monday when we start the cabinet installation.   They are starting to move furniture in on Thursday, but we will be working in the space on the kitchen starting Monday, when complete we will ask you to walk for a final C of O inspection.  The panel to access any plumbing will be removable at which time we can revisit any under drain issues that you may want to see.

I believe that Brian was asking for a disconnect for the water heater?  I believe that once we install the cabinet, this will plug in like the other suites that we remodeled.  Should we provide something else?

At this point, can we move furniture into the space and complete the cabinet installation working on a temp C of O?

Please feel free to contact me with any questions that you may have,  and again, sorry for any confusion this afternoon

Eric Sage
PC Construction
Special Projects Group
207.615.4974
esage@pcconstruction.com

Please update my contact information as my email address has changed.