## Memorandum

Department of Planning and Development

Planning Division

TO:		Inspections Department

FROM:	Philip DiPierro, Development Review Coordinator

DATE:	July 13, 2012

RE:		C. of O. for # 468 Commercial Street, International Marine Terminal

(Id#2011-168) (CBL 043 D 005001 & 043 G 001001)

After visiting the site, I have the following comments:

Site work incomplete:

- Landscaping, finish grading, loaming, seeding, and mulching of all disturbed areas.

- Installation of Casco Traps.

- Clean and flush all structures.

- Installation of lighting around the maintenance building.

- Striping and marking., and miscellaneous way-finding signs.

- Installation of miscellaneous security cameras.

- Submission of as-built drawings.

- Miscellaneous other minor site work.

I anticipate this work can be completed by August 15, 2012.

At this time, I recommend issuing a temporary Certificate of Occupancy.

Cc:	Tammy Munson, Inspection Services Manager

Barbara Barhydt, Development Review Services Manager

File:  1 Solution