Staff Presentation:  127 (121-129) York Street-  HARBORVIEW TOWNHOUSES

Reconsideration of Site Plan

(Old business) PB HEARING 7.12.2011

- The applicant has requested reconsideration of the Harborview Townhomes Site Plan, which was approved on June 28, 2011;  the draft Approval letter is included at Attachment 3. This request is amplified in a letter in Attachment 4, where the applicant argues that meeting Site Plan condition ii of the approval is not viable and, in summary, asks for it to be removed as a condition of approval because the applicant’s proposal, as revised and detailed in the letter, meets the Site Plan standard.

- Staff have prepared an cover memorandum that sets out the legal context for any reconsideration and the scope of the Board’s reconsideration.  If the Board votes to reconsider the Site Plan, then the attached Addendum to the Hearing Report is before the Board and provides additional information including the applicant’s detailed proposals.

- Tom Errico, the Traffic Engineering reviewer and Keith Gautreau of the Fire Department are unable to attend tonight’s meeting but have provided updated review comments which should be read together with the Addendum report in Attachment 2.

- The applicant refers to the requirement for a continuous internal walkway between the public sidewalk and the entrance to the new building as a “technical standard” but is a Site Plan Ordinance standard with no waiver criteria nor any detailed requirements in the Technical Manual.  The Ordinance standard does not clarify whether the walkway must be segregated from cars nor whether it needs to meet ADA standards. Barbara Barhydt will clarify regarding the Board’s options in this case.

- If the Board consents to Reconsideration of the Site Plan, I would like to make some further introductory comments on technical issues as discussed in the Addendum to the Hearing Report in Attachment 2 of the Memo.

TECHICAL COMMENTS re Addendum Report #13A-11  (Attachment 2)

- The Fire Department comments regarding maintenance of a 24 foot wide drive aisle reflect the fact that the site is enclosed on 3 sides by existing development, so that the access from York Street is the only emergency access. This constraint also lead to the previous Fire Dept condition for a stringent Snow Removal Plan for the parking lot and will necessitate a number of requirements over and above the code at the Building Permit stage.

- The Traffic Engineer Review comments acknowledge that the provision of a wholly segregated walkway appears to be impossible due to Life Safety concerns and leaves it to the Board to determine whether the proposed walkway meets the ordinance standard.  If the Board determine to remove Site Plan condition ii, Mr Errico has suggested a condition which is reflected in the “new” Site Plan condition ii in the suggested Motion.

- The applicant has provided detailed information which assists in understanding how the Site Plan standards are being addressed within the constraints of this infill site.  On balance staff considers that the applicant’s proposed walkway is a reasonable compromise given:

  - The Fire Department concerns;

  - That the segregated walkway would not be ADA compliant as it has steps up and down to get pedestrians to the entrance of the existing apartment building; and

  - That the applicant’s proposal is level and segregated over a large proportion of the route.

The suggested Motions for the Board to consider are drafted as would be necessary to support the applicant’s request.