Staff Presentation:  127 (121-129) York Street-  HARBORVIEW TOWNHOUSES

Site Plan and  Subdivision

PB HEARING 6.28.2011

- This is an infill development on the edge of the West End residential area.  The lot is almost a half an acre and L-shaped, with an existing 3 story building along part of the York Street frontage.  It is proposed to construct a new 7-unit 3 story residential building with a footprint of 105 ft by 40 ft  on the rear part of the open area next to the existing building, which extends back 240 feet into the block.

- The site is in the R6 zone and abuts the West End Historic district.

- Correction:  page 4 under proposed development;  new building floor area is 12,087 sq ft.

- The project is being reviewed under site plan and subdivision standards.

- Planning staff have not received any public comments.

- Most of the review issues that came up at the Preliminary Stage have now been addressed:

- Zoning:  Through an appeal to the ZBA and other discussions with the Zoning Administrator, questions over density, height and setbacks have been resolved and the proposal meets zoning requirements.

- Fire and Emergency Access:  Captain Gautreau has confirmed that the concerns ha had raised at the Preliminary Stage have been discussed further and all Site Plan issues have been addressed [HAND OUT]. Captain Gautreau particularly requested an adequate Snow Removal Plan and has approved the submitted Plan subject to a condition to revise the wording so that snow storage can only take place in the identified locations.  This condition has been included under the motion relating to subdivision so that it would be shown or referenced on the recording Plat.

- Building placement on the site: The Planning Board Workshop considered the location of the new building and generally supported its proposed location some 110 feet back from York Street.

- Frontage treatment:   In lieu of the building being near the street, there was the question of needing a frontage solution that would create a street edge while also maintaining sight lines and accessible parking.  The Final Plan reflects the discussions that took place in May between staff and the applicant’s design team.

- Crime Prevention through Environmental Design:  Natural surveillance has been improved by proposed low level lighting within the pedestrian and vehicle access areas.  In addition the metal slatted fence along the front of the site has been lowered to 4 feet and is stated to be “transparent”.  This fence design is subject of a suggested condition from the Traffic Engineer to see the fence and ensure that the fence can be seen though.

- Staff have recommended approval subject to the suggested conditions of approval and resolution of the following:

- Vehicle and pedestrian access:  the Traffic Engineer does not consider that the proposals for pedestrian walkways to the new building meet the ordinance standards which require “continuous internal walkways provided between existing or planned public sidewalks adjacent to the site, transit stops and street crossings and primary building entrances on the site”.

The proposed walkway to the new building is mostly within the parking lot drive aisle, and he suggests that by introducing compact spaces (15 ft by 8 ft wide*) a continuous segregated walkway is possible. He also recommends retaining the proposed level access between the proposed walkway and the parking lot drive aisle and leaving the parking drive aisle un-striped.

- Integration with surrounding lots:

Both the landscape and engineering reviewers have noted the lack of detail for the proposals along the boundaries at the rear of the site.  There are considerable grade changes and existing trees along this boundary and the proposals do not clarify contour connections or the provision of any necessary easements or protection of existing trees. Suggested conditions are included requesting that the comments of these reviewers be addressed.

- Street Trees, Parking Lot Landscape:

Staff suggests that 11 or 12 new trees in the vicinity of the parking lot/along the frontage would be appropriate and the proposals show 8 new trees here, 1 new tree at the corner of the existing building nearest the parking lot, and 3 existing trees retained.

The calculation of the 12 new trees is a compromise between a maximum calculation of 24 new trees (based on 1 street tree for each of the 19 units plus 2 trees for each 5 spaces of the parking lot because no shrubs are shown, less the 2 existing street trees and one existing tree)  and the minimum calculation of  8 new trees (based on 1 street tree per each unit in the new 7 unit building and 1 tree per 5 spaces in the parking lot assuming some shrubs added less the 3 existing trees).

As outlined by the City Arborist, trees could be added in a number of ways, including additional trees in the planted areas behind the fence along York Street.

Clarification is requested on the details, for example on the Site Plans and Subdivision Plat there is a reference to an “8 foot landscape buffer” on what is proposed as a walkway.

Screening of the parking lot from residential properties to the side is proposed to be achieved by a 6 foot high cedar wood fence.

- Details and consistency of final plans including Subdivision Plat:

Reviewers have identified a number of details that need to be included or resolved on all of the plans and the draft Subdivision Plat and staff suggest conditions requiring these be revised to clarify or include additional information as requested by reviewers.

*Parking lots with greater than 10 spaces may be comprised of up to 20% compact parking spaces eg in this case 4.