From: 	David Margolis-Pineo
To:	Barbara Barhydt;  Jean Fraser
CC:	DEVELOPMENT REVIEW GROUP 
Date: 	4/22/2011 11:40 AM
Subject: 	121 York Street

April 22, 2011
 
TO:                  Jean Fraser
                        Barbara Barhydt          
FROM:            David Margolis-Pineo/ William Clark
                        On behalf of the Department of Public Services
RE:                  Review Comments for 121 York Street

1.               Proposed drainage system from site if 8” or larger with require a manhole for connection to the sewer system.
2.               The sidewalk and curbing are in great shape, no improvement necessary.
3.               There is a 3’ sewer easement across the site.  Please state owner of the easement.
4.               Property pins are required to be set at each property corner or radius.  Pins shall be set before the issuance of a building permit.
5.               Contour lines are inaccurate and need correcting in and around the applicant’s, TPO Properties and McCormick Place Condominium properties
6.               Contours lines do not extend across the applicant’s property in all areas.  In general, the contour lines on Boundary and Drainage plans need clearer definition.
7.               Source of shown elevations needs to be stated.
8.               All abutting properties require proper identification such as but not limited to:  N/F, DEED Book/ Page, etc.