CITY OF PORTLAND

DEPARTMENT OF PLANNING & URBAN DEVELOPMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

|  |  |  |
| --- | --- | --- |
| **Owner/Manager**STRAND JEROME J | **Inspector**Chuck Fagone | **Inspection Date**2/3/2015 |
| **Location**198 HIGH ST | **CBL**046 B007004 | **Status**Re-Inspect 14 Days | **Inspection Type**Complaint-Inspection |

**Code Int/Ext Floor**

**Unit No.**

**Area**

**Compliance Date**

1) 6-116. (e) Interior Smoke Alarms

**Violation: Notes:**

**FIRE PROTECTION**

Every dwelling, dwelling unit, rooming house and rooming unit shall comply with the applicable provisions of the most current edition of the National Fire Protection Association Life Safety Code, and with all other applicable state statutes and regulations.

Fire Protection

*A combination smoke and carbon monoxide photo electric detector will need to be reinstalled*