773 Congress Street

* All units will need a hard wired photo electric/battery back-up smoke detector installed in each bedroom.
* All units will need a hard wired photo electric/ battery back-up combination smoke/carbon monoxide detector installed in the common area (living room or foyer) of each unit
* Missing and/or dated smoke detectors in the hallways will need to be replaced.
* Basement will need to be cleaned of debris and trash
* A sprinkler head will need to be installed over the boiler system.
* All units should be clearly numbered