From: 	"Justin Ferry" <jferry@pdr-usa.net>
To:	<dmcpherson@portlandmaine.gov>
CC:	"Lynn Plourde" <lplourde@pdr-usa.net>, <mark.higgins@pdr-usa.net>
Date: 	8/27/2013 10:44 AM
Subject: 	FW: Floor repairs for 115-117 Grant St
Attachments:	115-117 Grant St.pdf

 

From: Magnus Linden [mailto:mlinden@groomenergy.com] 
Sent: Friday, July 19, 2013 12:48 PM
To: jferry@pdr‑USA.net
Cc: Bob Kirby
Subject: Floor repairs for 115‑117 Grant St

Jason,

 As we discussed earlier this morning I have attached a sketch showing the
proposed structural repairs for the floor joists on in the 2nd and 3rd floor
framing (5 ea floor) at 115‑117 Grant St.

The repairs shown are to bridge the 2‑2‑1/2" diameter holes cut in the
bottom of the floor joists equally.

In addition I recommend sistering 1 existing floor joists in the 3rd floor
framing  with notches on the top section. A section of 2x6 ‑48" long should
be added to each below the existing notches

 

Magnus Linden, PE

Groom Energy Solutions |  <http://www.groomenergy.com/> www.groomenergy.com

781 589‑7332 (Mobile)

mlinden@groomenergy.com
<https://mail.groomenergy.com/owa/UrlBlockedError.aspx> 

twitter:  <https://twitter.com/#!/groomenergy> groomenergy |
<http://blog.groomenergy.com/> http://blog.groomenergy.com

<applewebdata://2EFED4D6‑F102‑4C46‑916C‑60DBC3F4E5E8/www.enterprisesmartgrid
.org> www.enterprisesmartgrid.org

Commercial and Industrial Energy Solutions

News:   

 <http://www.groomenergy.com/PR_6_12_2012.html> Lineage Logistics Reduces
Lighting Energy Use by 

 <http://www.groomenergy.com/PR_6_12_2012.html> 85 Percent Utilizing
LED‑Based Intelligent Lighting 

 <http://www.groomenergy.com/PR_6_12_2012.html> System