

Jeff Levine, AICP, Director Ann Machado

Planning & Urban Development Department Zoning Administrator

NFPA LIFE SAFETY CODE – FIRE PREVENTION CODE DWELLING UNIT COMPLIANCE

Section 14-391 of the Land Use Ordinance allows illegal non-conforming dwelling units to become legalized through a given process. Part of this process is that the dwelling units that are requested to be legalized MUST comply, or be able to comply, with the NFPA Life Safety Code – Fire Prevention Code, PRIOR to issuing the requested permit.

Please return this form to the Zoning Administrator as to compliance or the ability to comply with these codes.

Location: 60 Exeter Street \_

Owner: Vincent Connolly

Address of owner: 26 Olde Blackwood Way, Falmouth, ME 04105 \_ (If different)

Applicant Information: (If different):

Current number of legal units: 2

Number of units to be legalized: 1, for a total of 3 units in the building

Comments of approval or disapproval (List any and all conditions):

Fire doors required, boiler protection, smoke and CO alarms shall meet hardwired & interconnective and photoelectric

technology

APPROVED when above conditions are met

Signature: Capt. D. Petruccelli

Date: 8/3/2016

***389 Congress Street \* Portl and Maine 04101-3509 \* Phone: (207) 874-8703 \* Fax: (207) 874-8716***

[http://www.portlandmaine. gov/planning/buildi nsp.asp](http://www.portlandmaine.gov/planning/buildinsp.asp) \* E-Mail: [buildinginspection s@portla ndmaine.gov](mailto:buildinginspections@portlandmaine.gov)