Inspection Violations

| Owner/Manager JIT TEJINDER | Inspector Chuck Fagone | Inspection Date 4/15/2014 |
| --- | --- | --- |
| Location 15 WEYMOUTH ST | CBL 053 B013001 | Status Violations Exist | Inspection Type Complaint-Inspection |

Code	Int/Ext	Floor

Unit No.

Area

Compliance Date

1)   6-113. (e)	Interior	Kitchen

Violation: Notes:

MAINTENANCE OF LIGHTING FIXTURES

Maintenance of

Maintenance of

All fixtures required by this article and all fixtures installed in addition thereto shall be maintained in good and safe working conditions and shall be installed in accordance with the electrical code of the city..

2)   6-116. (b)	Interior	Through Out

Violation: Notes:

EGRESS

Egress

Egress

Every dwelling unit and every rooming unit shall have safe, unobstructed means of egress leading to safe and open spaces at ground level in accordance with applicable statutes, regulations and ordinances.

3)   6-116. (c)	Exterior	Rear Deck

Violation: Notes:

EGRESS OBSTRUCTIONS

Egress Obstruct

Egress Obstruct

Every hallway, stairway, corridor, exit, fire escape door or other means of egress shall be kept clear of obstructions at all times.

4)   6-116. (e)	Interior	Smoke Alarms

Violation: Notes:

FIRE PROTECTION

Fire Protection

Fire Protection

Every dwelling, dwelling unit, rooming house and rooming unit shall comply with the applicable provisions of the most current edition of the National Fire Protection Association Life Safety Code, and with all other applicable state statutes and regulations.

5)   6-109. (a)	Interior	Through Out

Violation: Notes:

MAINTENANCE OF ASSIGNED AREAS

Maintenance of

Maintenance of

Every occupant of a dwelling, dwelling unit, or rooming unit shall maintain in a clean and sanitary manner that part of the dwelling, dwelling unit or rooming unit, and dwelling premises which he or she occupies and control.

6)   6-109. (b)	Exterior	Yard

Violation: Notes:

MAINTENANCE OF SHARED AREAS.

Maintenance of

Maintenance of

Every owner or operator of a multiple dwelling or rooming house shall maintain in a clean and sanitary condition the shared or public areas of the dwelling and the dwelling premises.

Inspection Violations

| Owner/Manager JIT TEJINDER | Inspector Chuck Fagone | Inspection Date 4/15/2014 |
| --- | --- | --- |
| Location 15 WEYMOUTH ST | CBL 053 B013001 | Status Violations Exist | Inspection Type Complaint-Inspection |

7)   6-109.5. (d)	Exterior	Rear Deck

Violation: Notes:

Comments:

STAIRWAYS, STAIRS, & PORCHES.

Stairways, stair

Stairways, stair

Stairways, stairs, porches. Every outside stairway, stairwell, stairs and porch and any appurtenances thereto shall be structurally sound, in good repair and safe to use. Every outside stairway, stairwell, stairs and porch and any appurtenances thereto shall be structurally sound, in good repair and safe to use.

Smoke detectors need to be photo electric, hard wired, battery back- up and should be placed in each bedroom. A combination smoke/carbon monoxide detector should be placed in the common area (living room). All broken, soiled and stained ceiling tiles should be replaced and the grid should be structurally sound. A licensed pest control company will need to inspect and treat for roaches and bed bugs.