Honeywell Inc.

Honeywell Inc.

501 County Road

Westbrook, Me. 04092

July 30, 2026

E.S. Boulos Co.

45 Bradley Dr.

Westbrook, Maine 04092

Att’n: Mr. Jesse Klimaytis

Re: Maine Medical Center OR 6 Renovation

Dear: Mr. Klimaytis,

This letter is to confirm that the two (2) new Strobes in OR6 have been tested and operated correctly.

The two smoke detectors that were removed for the project have been reinstalled and put back in service.

Sincerely,

Gary Wood

Gary Wood

System Specialist