October 25, 2001

Mr. Will Conway

Sebago Technics

One Chabot Street

P.O. Box 1339

Westbrook, ME 04098-1339

RE:	993 Congress Street, Maine Medical Parking Lot

Job #2001-0264, CBL #65-H-1

Dear Mr. Conway:

After review of the plans submitted on October 23, 2001, regarding the proposed Maine Medical Parking lot located at 993 Congress Street, the following information is requested for review.

1.	The Plant Schedule on the Landscaping Plan should be revised to reflect the following:

a.	That the ‘Bradford’ tree be substituted with the ‘Cleveland’ variety.

b.	Species PN is not listed in the plant schedule.  PN shall be an Austrian Pine, 6 – 8 ft. in height.

2.	The light levels along the westerly edge of the property, which abuts several residential buildings, are still too high.  Light levels shall be no more than 0.1 foot candles at the property line.

3.	A purchase and sales agreement between Maine Medical Center and George Hutchins much be submitted to verify that Maine Medical Center has right, title and interest to go forward with the project.

4.	A letter of financial capability must be submitted to staff.

The Development Review Engineer is currently reviewing the most recent submittal and as soon as comments are available, I will forward them to you.  If you have any questions, please do not hesitate to contact me at 874-8901.

Sincerely,

Kandice Talbot

Planner

CC:	Sarah Hopkins, Development Review Services Manager