# CITY OF PORTLAND, MAINE

# PLANNING BOARD

# Carol Morrissette, Chair

Stuart G. O’Brien, Vice Chair

Elizabeth Boepple

Timothy Dean

Sean Dundon

Bill Hall

Jack Soley

July XXth , 2013

| Penelope E. St. Louis Corporate Counsel MaineHealth 110 Free Street Portland, ME 04101 | Jeffrey D. Sanders Executive Vice President and Chief Operating Officer Maine Medical Center/MaineHealth 22 Bramhall Street Portland, ME 04102-3175 |
| --- | --- |

Project Name:		MMC Surgical Facility Addition

Project ID:		2013-130

CBL:  			53-D-1,2,7;  53-E-1,2,10,13;  54-H-1;  64-C-1,2

Address:		22 Bramhall Street, Portland

Joint  Applicants:	MaineHealth/Maine Medical Center

Planner: 		Jean Fraser

Dear Ms Louis and Mr Sanders:

On July 9th, 2013, the Planning Board considered the Level III Site Plan, Conditional Use and Amended Site Location of Development Act application for the roof addition at 22 Bramhall Street that comprises a 40,000 sq ft  of new floorspace within a 40 foot high building addition on the “Bean 2” (lower) roof.

The Planning Board reviewed the proposal for conformance with the 2005 Conditional Rezoning Agreement and the standards of the Conditional Use Review, Site Plan Ordinance, and Site Location of Development Act.

On the basis of the application, plans, reports and other information submitted by the applicant, findings and recommendations contained in Planning Board Report # 30 -13 (attached), and the testimony presented at the Planning Board hearing, the Planning Board voted 5-0 (Dundon and O’Brien  absent) to approve the application with the following conditions as presented below:

- Conditional Use

The Planning Board voted 5-0 (Dundon and O’Brien  absent) that the proposed plans are in conformance with the conditional use standards of the Land Use Code subject to the following condition:

  - That the applicant shall submit evidence to the Planning 	Authority of approval by the FAA, prior to the issuance of a Building Permit.

- Development Review

The Planning Board voted 5-0 (Dundon and O’Brien  absent) that the proposed plans are in conformance with Site Plan, including Amended Site Location of Development Act under delegated review by Portland, subject to the following conditions of approval:

    - That the applicant shall implement the mitigation strategies for two minor safety issues in the project area (Congress Street between Weymouth and Ellsworth Street; Intersection of Congress Street and Valley Street) as recommended in the May 29, 2013 letter from Gorrill Palmer, as supported by Tom Errico, Consultant Traffic Engineering Reviewer in e-mail dated July 3, 2013; such implementation shall be coordinated with the Department of Public Services prior to proceeding and be implemented prior to the issuance of a Certificate of Occupancy; and

    - That the applicant shall implement the TDM Plan enhancements as proposed in Attachment M to this report prior to the issuance of a Certificate of Occupancy. These comprise a car share parking space that shall be for the car share company utilized on public streets by the City (currently U-Car), in an off-street location to be agreed with the City; and two bike racks (36 bicycle parking spaces) at the corner of Bramhall and Chadwick Streets. If the City changes carshare vendors in the future, MMC will change the company utilizing this space to match the City's new vendor.  MMC will provide information on bike rack usage across their campus as part of MMC's ongoing annual reporting on TDM performance; and

    - That the applicant shall address the particular technical Fire Prevention standards, as outlined in the e-mail from Captain Chris Pirone of the Fire Department dated June 6, 2013, to the satisfaction of the Fire Department prior to the issuance of a building permit; and

    - That any signage shall be subject to separate review and approvals/permits.

# Standard Conditions of Approval

Please note the following standard conditions of approval and requirements for all approved site plans:

- Develop Site According to Plan  The site shall be developed and maintained as depicted on the site plan and in the written submission of the applicant. Modification of any approved site plan or alteration of a parcel which was the subject of site plan approval after May 20, 1974, shall require the prior approval of a revised site plan by the Planning Board or Planning Authority pursuant to the terms of Chapter 14, Land Use, of the Portland City Code.

- Separate Building Permits Are Required  This approval does not constitute approval of building plans, which must be reviewed and approved by the City of Portland’s Inspection Division.

- Site Plan Expiration The site plan approval will be deemed to have expired unless work has commenced within one (1) year of the approval or within a time period up to three (3) years from the approval date as agreed upon in writing by the City and the applicant.  Requests to extend approvals must be received before the one (1) year expiration date.

- Performance Guarantee and Inspection Fees  A performance guarantee covering the site improvements, inspection fee payment of 2.0% of the guarantee amount and seven (7) final sets of plans must be submitted to and approved by the Planning Division and Public Services Department prior to the release of a building permit, street opening permit or certificate of occupancy for site plans.  If you need to make any modifications to the approved plans, you must submit a revised site plan application for staff review and approval.

- Defect Guarantee  A defect guarantee, consisting of 10% of the performance guarantee, must be posted before the performance guarantee will be released.

- Preconstruction Meeting  Prior to the release of a building permit or site construction, a pre-construction meeting shall be held at the project site.  This meeting will be held with the contractor, Development Review Coordinator, Public Service's representative and owner to review the construction schedule and critical aspects of the site work.  At that time, the Development Review Coordinator will confirm that the contractor is working from the approved site plan.  The site/building contractor shall provide three (3) copies of a detailed construction schedule to the attending City representatives.  It shall be the contractor's responsibility to arrange a mutually agreeable time for the pre-construction meeting.

- Department of Public Services Permits  If work will occur within the public right-of-way such as utilities, curb, sidewalk and driveway construction, a street opening permit(s) is required for your site.  Please contact Carol Merritt at 874-8300, ext. 8828.  (Only excavators licensed by the City of Portland are eligible.)

- As-Built Final Plans  Final sets of as-built plans shall be submitted digitally to the Planning Division, on a CD or DVD, in AutoCAD format (*,dwg), release AutoCAD 2005 or greater.

The Development Review Coordinator must be notified five (5) working days prior to the date required for final site inspection.  The Development Review Coordinator can be reached at the Planning Division at 874-8632.  All site plan requirements must be completed and approved by the Development Review Coordinator prior to issuance of a Certificate of Occupancy.  Please schedule any property closing with these requirements in mind.

If there are any questions, please contact Jean Fraser at 874-8728.

Sincerely,

Carol Morrissette, Chair

Portland Planning Board

Attachments:

- Letter from Gorrill Palmer, May 29, 2013

- E-mail from Tom Errico, Consultant Traffic Engineering Reviewer, July 3, 2013

- E-mail from Captain Chris Pirone of the Fire Department,  June 6, 2013

- Planning Board Report #30-13

- Performance Guarantee Packet

Electronic Distribution:

# cc:  	Jeff Levine, AICP, Director of Planning and Urban Development

# Alexander Jaegerman, FAICP, Planning Division Director

# Barbara Barhydt, Development Review Services Manager

# Jean Fraser, Planner

# Philip DiPierro, Development Review Coordinator, Planning

# Marge Schmuckal, Zoning Administrator, Inspections Division

# Tammy Munson, Inspection Division Director

# Lannie Dobson, Administration, Inspections Division

# Gayle Guertin, Administration, Inspections Division

# Michael Bobinsky, Public Services Director

# Katherine Earley, Engineering Services Manager, Public Services

# Bill Clark, Project Engineer, Public Services

# David Margolis-Pineo, Deputy City Engineer, Public Services

# Doug Roncarati, Stormwater Coordinator, Public Services

# Greg Vining, Associate Engineer, Public Services

# Michelle Sweeney, Associate Engineer

# John Low, Associate Engineer, Public Services

# Rhonda Zazzara, Field Inspection Coordinator, Public Services

# Mike Farmer, Project Engineer, Public Services

# Jane Ward, Administration, Public Services

# Jeff Tarling, City Arborist, Public Services

# Jeremiah Bartlett, Public Services

# Captain Chris Pirone, Fire Department

# Danielle West-Chuhta, Corporation Counsel

# Thomas Errico, P.E., TY Lin Associates

# David Senus, P.E., Woodard and Curran

# Rick Blackburn, Assessor’s Department

# Approval Letter File

# William T. Conway, Sebago Technics Inc, 75 John Roberts Road, Suite 1A, South Portland, ME 04106

# Susana Baker, Perkins&Will, 55 Court Street, Boston, MA 02108

Attachment 1

Attachment 2

From: 	Tom Errico <thomas.errico@tylin.com>

To:	Jean Fraser <JF@portlandmaine.gov>

CC:	David Margolis-Pineo <DMP@portlandmaine.gov>, Katherine Earley <KAS@portlandmaine.gov>, Jeremiah Bartlett <JBartlett@portlandmaine.gov>, Jeff Tarling <JST@portlandmaine.gov>

Date: 	7/3/2013 2:18 PM

Subject: 	MMC Building Addition Project - Final Traffic Comments

Jean - The following represents my final comments and a status update from my June 5th comments.

*        A Traffic Movement Permit was not issued during the 2005 expansion project.  In 2005 the applicant provided traffic analyses that indicated new traffic generation did not trigger a Traffic Movement Permit.  The applicant should provide a historical summary of traffic changes over the last ten years, combined with traffic from this addition, in an effort to assess whether a Traffic Movement Permit is required.

Status: The applicant has provided a summary of traffic permits for the project and I concur that the site and this project is in compliance.

*        I have reviewed the parking demand analysis and how additional vehicles will be accommodated in MMC parking facilities.  Based upon information provided, I find parking conditions to be acceptable.

Status: No comment necessary.

*        The applicant indicates that the project will be expanding elements of the TDM plan by providing a car share vehicle and adding bicycle parking.  Details of these added elements should be provided.

Status: The applicant has provided supporting information on enhancing their site TDM Plan. I concur with Jeff Levine's Memorandum dated July 3, 2013 that suggests the applicant consider the noted suggestions as alternative measures.

*        I have reviewed the traffic study prepared by Gorrill-Palmer Consulting Engineers, Inc. and generally find the methods used to be acceptable.  I continue to review the safety analysis and the conclusions provided.

Status: I have reviewed the traffic study and in my professional opinion the project will not have a significant impact on traffic conditions in the vicinity of MMC. The traffic study did identify safety problems in the project area and accordingly the applicant shall be responsible for implementation of mitigation strategies recommended in the study.  The applicant shall coordinate with DPS prior to proceeding on the noted recommendations.

If you have any questions, please contact me.

Best regards,

Thomas A. Errico, PE

Senior Associate

Traffic Engineering Director

[T.Y. Lin International]T.Y. Lin International

12 Northbrook Drive

Falmouth, ME 04105

207.781.4721 main

207.347.4354 direct

207.400.0719 mobile

207.781.4753 fax

Attachment 3

From: 	Chris Pirone

To:	Jean Fraser

CC:	Benjamin Wallace;  Tammy Munson

Date: 	6/6/2013 4:22 PM

Subject: 	Re: MMC Addition (22 Bramhall)

Jean,

Here are Fire Comments which are technical and you may not need for your report. As for site plan there are no comments for fire as there are sufficient hydrants and existing/approved access.

Fire Comments:

1.The Fire Protection Engineer will be responsible for the design of the fire protection systems.

2.The Fire Protection Engineer shall be present when the installing contractors perform the final commissioning (testing) of the fire protection systems and issue a second stamped letter that they observed the final commissioning of the systems and the systems are installed and function as required by the pertinent codes, standards, and regulations.  Fire protection systems include, but are not limited to: fire alarm, sprinkler, standpipe systems and other suppression system equipment.

3.The In-Building Radio Enhancement System will have to be commissioned by the designer of that system with documentation of its compliance and performance in accordance with NFPA 1 Annex O. This system shall be monitored by the fire alarm system and the design must be coordinated with the Fire Protection Engineer designing the fire alarm system.

*NFPA 3 Recommended Practice For Commissioning and Integrated Testing of Fire Protection and Life Safety Systems is a new(2012) NFPA document and its intent is to make life easier for building owners, contractors, designers, and AHJ's.

Captain Chris Pirone

Portland Fire Department

Fire Prevention Bureau

380 Congress Street

Portland, ME 04101

(t) 207.874.8405

(f) 207.874.8410