PLANNING BOARD HEARING  7.9.2013    MMC Roof Addition – Surgical Facitlities Planners Presentation

- Proposal:

- 40,000 sf  floorspace over 3 stories, located on roof within the building complex;

- To upgrade surgical facilities by creating 5 new operating rooms & combining others to result in a net increase of 4 new operating rooms, plus space for associated uses;

- Two of the walls are abutting or almost abutting existing external walls with windows;

- Two of the elevations (facing east and north) are proposed to be glass curtain walls, with an average of 80% of the wall not transparent.

- Reviews:

- The MDEP consider the proposals a minor amendment to the 2005 Site Location of Development Act approval and have confirmed that the City has delegated review authority;    {have letter}

- Conditional use under R6 zone:  due to the fact its an expansion of an institution in the R6 zone

- Site Plan;  building over 10,000 sq ft;

- 2005 Conditional Zoning Agreement allows the proposed height (69 ft total of existing & new -new is 40 ft

- Historic Preservation Review is not required

- Traffic Movement Permit:  the equivalent of a TMP was issued in 1998; it has been determined that the1998 permit has been complied with and does not need modification as a result of the current proposal.

- Public Comment:   No public comment has been received.  The Neighborhood meeting was held on June 18, 2013 and the notes are included at Attachment Q.

- Update on information: The Board may recall that the unique architectural treatment of the addition raised a number of detailed questions in addition to the site plan technical issues.  The applicant has addressed all of the staff and Board questions in detail in letters at Attachments M and N, which included supporting  information on materials (Att  S), night lighting analysis and photometrics (Att T) and Reflectivity analysis (Att U).  The slide presentation to the June workshop is also attached at L and assists in understanding the proposals.

- The Wastewater Capacity letter has been received{have letter}.

- Key Issues:

- Traffic:  The 1998  MDEP permit for Traffic is enclosed at Att O.3 along with evidence of compliance.  This permit documentation and the traffic changes since then have been evaluated by Tom Errico, who has confirmed that a modification of the previous permits is not required. He has requested a condition requiring minor safety improvements at 2 locations on the surrounding street network [included as site plan cond i.]

- Conditional Use Standards:

    - The applicant’s further information indicates that potential health and safety issues associated with the proximity of the new building to existing buildings  have been addressed by the design.

    - Staff had raised concerns regarding the potential light emissions through the curtain walls, but this does not appear to be an issue due to the relatively small amount to vision glass on the exposed walls.  The applicant’s photometric information for the emergency room entrance area confirms that the light intensity is within the city standards.

    - The Board had questioned the reflectivity of the materials;  a further analysis submitted by the applicant suggests that the parking garages will largely block any glare.

    - Possible light distraction and safety issue for aviation: A letter from Lifeflight that operate the helicopters has been circulated {have letter};  the one Conditional use condition regarding FAA approval has been included in the motions as the FAA have not made a final determination.

- Transportation Demand Management:  MMC has an established TDM program that has grown over the last few years and leads the city in terms of its scale and range of incentives. The applicant has proposed TDM enhancements of a parking space for a car share vehicle, and additional bike parking on the corner of Bramhall and Chadwick Streets. The possibility of contributing to a City wide bikeshare program was mentioned in the Workshop Memo as another way MMC could enhance their TDM and the Director of Planning and Urban Development followed up with an explanatory Memo in the Report (Att 10).  There have been further discussions as summarized in the Addendum Memo circulated on yellow paper;  a revised condition of approval ii is suggested that leaves the question of a contribution outside the review of this application and confirms the MMC TDM proposals with minor qualifications.   {see yellow Addendum}