PLANNING BOARD WORKSHOP       2.27.20183        Planners Presentation

MMC Vertical Additions – East Tower incl Helipad;  Visotr Garage

- Proposal:

- 60,000 sf  floorspace added in two stories on top of the East Tower for patient rooms, plus double helipad

- 3 levels added to the visitor garage to add 225 parking spaces

- Relocation of the helipad and the addition of a second helipad on the top of the East Tower

- The Central Utility Plant upgrades are not part of this review.

- Reviews:

- Site Plan

- IOZ Regulatory Framework as backed up by the Institutional Development Plan

- Public Comment:   One written public comment received just before the January Workshop;  it was circulated at that time and is also available today as it did not get included in the current packet.  A Neighborhood Meeting was held Jan 10th.

- Status of the Review:  The Memo seeks to give a running status update through the use of 2 tables: the first table in the Memo outlines the PB comments from the first workshop and provides an update in the second column.  The second table starting on page 4 lists the Regulatory Frameworks requirements in the first column, MMC submissions as updated in the second column, and the staff comments for this workshop in the righthand column.

  - Construction Management Plan and the associated traffic management and detours;  are the main subject of todays meeting. Because of the complexity of the issues staff have held weekly “check in” meetings and included other City staff and reviewers as appropriate to meet with MMC to facilitate understanding and exchange of relevant information. The MMC submitted CMP and proposed detours generally take account of the staff input, and DPW, Fire and Police have provided comments that accept that this needs to move forward largely as proposed but identify concerns that need to be addressed as part of the CMP and detour implementation and management.

The Board may wish to consider what conditions of approval might be appropriate in respect of the CMP and associated detours.

- Design:  This was the main subject of the January Workshop and the Board had raised questions that are summarized on page 9/10 of the Memo.  The submitted Design Narrative dated February 23 goes some way to addressing the Boards questions and it is anticipated that additional information will be included in today’s presentation.  The Board is requested to confirm what additional information they would like to see at the Hearing in order to be able to complete the review of the design in the context of the IDP and Regulatory Framework standards.

- Stormwater/Sewer Issues:  The Peer Engineer review comments and DPW staff have requested that MMC take steps to remove stormwater discharges from the combined system along Congress Street in order to reduce the existing overburden on these systems and to offset the increased wastewater burden associated with the expansion project.  An opportunity exists to increase separation of the visitors garage stormater and it is unlikely that a similar opportunity will be available for the new hospital building lower on Congress Street. MMC are therefore being requested to mitigate their impacts on the City’s infrastructure. The City Engineer Keith Gray is here and able to answer any questions on this issue.

IN ADDITON TO THESE KEY ISSUES, THE MEMO INCLUDES OTHER ITEMS THAT ARE STILL UNDER REVIEW AND DISCUSSION:

- Site Plan Standards:   Such as:

  - CPTED -  The site plan standards seek to ensure that proposals enhance the safety of public and private spaces and this is an overarching issue that also ties in with the future use of the pedestrian link between Crescent and Congress (required in 2005 and intended to serve the retail spaces and encourage activation of Congress), exterior lighting, and integration with the surrounding pedestrian network.

  - Design Details -  all site plans need to address the Technical Standards -   street lighting, sidewalk    ADA details and the bike parking facilities need to be assessed and upgraded as necessary

  - Recording Plats – just to note that two recording documents were included in the submission that relate to approvals and agreements made in 2005; discussions with the Citys Associate Corporation Counsel are ongoing.

- Helipad Update:  MMC has provided additional information, the most recent a comparison of the predicted sound levels of the current helipad as determined in 2003 with the predicted sound levels for the new helipad.  Staff have some questions on this and will be discussing it further with MMC.

- Transportation Demand Management:  The latest submission is in the packet and we anticipate there will be further discussions with MMC. This review could extend beyond the review of the East Tower and visitors garage.

CPTED:  The development shall incorporate the following public safety principles for Crime Prevention through Environmental Design (CPTED) into site design to enhance the security of public and private spaces and to reduce the potential for crime:

(i)	Natural surveillance that promotes visibility of public spaces and areas.

(ii)	Access control that promotes authorized and/or appropriate access to the site.

(iii)      Territorial reinforcement that promotes a sense of ownership and responsibility through environmental design.