That the site plan is in conformance with the site plan standards of the land use code, subject to the following conditions:

i. 	The applicant shall comply with the recommended conditions of approval pertaining to traffic and the traffic signal upgrade at Bramhall and Congress Street as set forth in the development review memos by Tom Errico dated May 11, 2005 and May 25, 2005.

ii.  	MMC shall comply with the four conditions related to parking recommended by John Peverada in his review memo of May 19, 2005.

iii.	MMC shall carry out each of the recommended actions related to stormwater management and infrastructure contained in the review memo by Stephen Bushey, dated May 26, 2005, with the proviso that MMC will endeavor as possible to locate all stormwater quality units on MMC property rather than in the City right–of-way, and shall have Public Works Authority review and approval of final stormwater and utility locations within the public right-of-way.

iv.  	MMC shall follow the recommended landscape plan improvements recommended by the City Arborist in his review memo dated May 27, 2005, but shall not be required to place a sidewalk along the edge of the Gilman Street curve, as described therein.

v.	MMC shall carry out the Fire Department’s recommended conditions of approval, as set forth in Deputy Chief Michael Shutts’ email of May 27, 2005.

vi. 	MMC shall submit a revised Alternative Transportation/Travel Demand Management Plan for Planning Board review and approval, prior to issuance of a certificate of occupancy for the parking garage, which shall provide additional incentives for employees to use transit.

vii.	MMC shall obtain all required license agreements and permits for way-finding and directional signs from the City, and shall modify sign designs as requested by the City when needed to protect traffic sight lines.

viii.	MMC shall submit to the Planning Board, for its review and approval, revised architectural design details of the façade of the Congress Street parking garage that are consistent with the Downtown Urban Design Guidelines, provided that MMC may proceed, at its own risk, with foundation, utility and excavation work pending such design review.

ix.	MMC shall provide a crosswalk from the south side of Crescent Street to the Crescent Street entrance to the new parking garage, so that those person wish to reach the east end of the garage on any level or wishing to use the stair tower need not cross egress traffic and ingress traffic to do so.  MMC shall use some form of internal barrier within the top level of the garage on the east end to separate pedestrians from turning car traffic.  Such revisions shall be submitted for Planning Authority review and approval.

x. 	That as a condition of site plan approval (a condition separate and distinct from other regulations) MMC shall be subject to all terms and conditions contained within the Conditional Rezoning of this site (relating to the Helipad/Helicopter Landing Pad, including the provisions on flight routes, the fly neighborly program, the helipad operating guidelines, equipment and mitigation) and any changes to any of these provisions shall require a review of the site plan by the Planning Board.

xi. 	MMC shall properly engineer the design of the sidewalk along Congress Street in front of its property so that it adequately joins the existing City sidewalk, which engineering may include a pattern of ramping and leveling off.  Such design shall be subject to the review and approval of the Public Works Department.

xii. 	MMC shall return the Munson property to residential use prior to the issuance of a certificate of occupancy for the parking garage, it being agreed that the property will never be used in any other capacity for so long as MMC owns said property.

xiii.  	that MMC deed to the City, for public use, access to all pocket parks shown on the plan, and the access way between Congress Street and Crescent Street.

xiv.  	MMC shall work with Public Works and staff to prepare an inventory of needed public improvements northerly of the site in the Parkside neighborhood for inclusion on the list of potential public improvements to be installed by the City.

5.	That the plan [is or is not] in conformance with the Site Location of Development standards of the land use code, under the City’s delegated authority to administer the Site Location of Development Law, subject to the following conditions:

i. MMC shall comply with the conditions of site plan approval established above.

6.  	That the Planning Board recommends to the City Council the street discontinuances and the proposed street lay out for the realigned streets shown on the Sebago Technics Plan, titled "Street Vacation (sic)/Acceptance and Land Transfer Plan" dated December 10, 2004.