PLANNING BOARD REPORT # 35-05

MAINE MEDICAL CENTER’S

CHARLES STREET ADDITION

VICINITY

OF

BRAMHALL, CONGRESS AND GILMAN STREETS

CONDITIONAL USE REVIEW FOR EXPANSION OF A HOSPITAL

CONDITIONAL USE REVIEW FOR A USE REPLACING HOUSING

HOUSING REPLACEMENT PLAN REVIEW

SITE PLAN REVIEW

SITE LOCATION OF DEVELOPMENT REVIEW

RECOMMENDATION(S) TO CITY COUNCIL RE: STREET VACATION, ACCEPTANCE AND LAND TRANSFER PLAN

MAINE MEDICAL CENTER, APPLICANT

Submitted to:

Portland Planning Board

Portland, Maine

May 31, 2005 Public Hearing

Prepared by: Rick Seeley, Senior Planner, GPCOG,

Consultant to the City Planning Division

May 27, 2005

I.	INTRODUCTION

Maine Medical Center is proposing a major expansion of their Bramhall Campus. In order to proceed with the development proposal, the applicant has requested and received a conditional rezoning.  The development parcels are currently zoned R-6 Residential and B-2 Business.  A conditional zone agreement for the site has been adopted by the City Council. The conditional zoning agreement provides specific minimum setback relief and height limitation relief for some of the proposed structures as described in Section IV below, and applies several conditions furthering the consistency of the proposal with the City’s comprehensive plan and related public purposes and infrastructure.

A public hearing is scheduled on the proposed development, which consists of four principal elements that expand the present Bramhall campus, including a proposed new 482-space parking garage, a four-story obstetrical-gynecological wing (Charles Street Addition), a new central utility plant and a helipad for emergency medical services only.

II.	Conditional Zone AGREEMENT

The City Council unanimously adopted the conditional zone agreement for the Maine Medical Center project on April 25, 2005.  A copy of the agreement, including exhibits is found in Attachment 1, Tabs A-G.

III. 	MAINE MEDICAL CENTER CHARLES sTREET ADDITION Findings

Site:	The site is bounded by portions of Bramhall Street, Brackett Street, Wescott Street, Crescent Street, Gilman Street and Congress Street.

Tax Maps:	Tax Map 53, Block D, Lots 1, 2, 7, Block E, Lots 1, 2, 10, 13, Block G, Lots 1, 13.

Tax Map 54, Block C, Lots, 6, 10, Block D, Lots 6, 7, Block H, Lot 1.

Tax Map 64, Block C, Lot 1, 2.

Lot Size:	12.84 acres

Zoning:	Conditional Zone Agreement applied to R-6 zone and allowing B-2 zone uses in the retail space within the proposed new parking garage, with the addition of a Helistop Overlay Zone on top of the existing parking garage.

Proposal:	Charles Street Addition, 192,000 square feet, four stories; Congress Street Parking Garage, 482 spaces, six levels, with elevator tower and approximately 1,400 square feet of retail space on the ground level; Helipad, approximately 3,600 square feet on top of the existing parking garage, connected to new elevator tower and bridge to hospital; Central Utility Plant, approximately 4,000 square feet.

Building Heights:   Charles Street Addition: 95 ft.; Congress Street Parking Garage 70 ft.; elevator tower: approximately 140 ft.; helipad:  approximately 120 ft.; Central Utility Plant: 45 ft.

Footprint:	Charles Street Addition:  approximately 30,000 S.F.; Congress Street Parking Garage 27,300 S.F.; Central Utility Plant: 7,000 S.F.

Total Area:	Approximately 201,000 S.F.

Parking:	482 additional parking spaces proposed in new garage.

Land Uses:	The Bramhall Campus of the Maine Medical Center is located adjacent to the Western Promenade Park on the West End, and is otherwise surrounded by mixed residential uses, and to a lesser extent medical office uses in the West End neighborhood. On its western edge, the campus is adjacent to mixed residential uses on the opposite side of upper Gilman Street, and medical offices and the former Eagles Club, now vacant on lower Gilman Street south of Congress Street. Along its northern side on Congress Street, the existing hospital garage faces MMC’s own Medical Office Building and its own associated parking garage as well as some surrounding residential use, and very limited commercial uses, including the vacant Sportsmen’s Grill.  There are three neighborhoods that abut the campus: the West End, Parkside and A Street/ Valley Street neighborhoods.   All are high-density, older, primarily residential neighborhoods.

IV.	PROPOSED DEVELOPMENT

Charles Street Addition. The four-story Charles Street addition is proposed to occupy the site that is now occupied by the vacant former New England Rehabilitation Hospital, located across Charles Street from the Richards wing of the existing hospital. In conjunction with this element of the project, Maine Medical Center is asking the City to discontinue Charles Street and realign portions of Brackett, Ellsworth and Wescott Streets, to allow the addition to become part of and joined to the existing hospital.  The conditional rezoning needs for this element of the project consisted of relaxation of existing height limitations and minimum setbacks in the R-6 Residential zone.

New Parking Garage. The proposed 482-car parking garage consists of six levels.  It would be located on Congress Street, adjacent to the east end of the existing MMC parking garage.  Linking the two garages is a proposed elevator tower.  The elevator tower would serve the new garage and the proposed helipad on top of the existing garage.  The proposed garage would have a Congress Street entrance at the lowest level and a Crescent Street entrance at the fifth level.  Maine Medical Center’s (MMC’s) intent is that this garage will help redirect much of the vehicular traffic that presently accesses the hospital from Bramhall Street down to Congress Street.  The existing visitors’ parking lot, referred to herein as the Vaughan Street parking lot, will remain open and its landscaping and fencing improved.  MMC’s conditional rezoning needs for this element of the project consisted of relaxation of existing height limitations and minimum setbacks in the R-6 Residential zone.  Both the Planning Board and the City Council previously identified, and MMC has responded to, a need to allow uses permitted in the B-2 Business Zone on the street level of the proposed new garage, which is proposed in the R-6 Residential Zone.  The proposed new garage will require the demolition of two residential structures adjacent to the existing parking garage that now front on Crescent Street.  This will necessitate compliance with the housing replacement ordinance through a housing replacement plan.

Helipad. MMC proposes a helipad, to be located on top of the existing parking garage, to serve its trauma center with improved emergency air transport of patients by helicopter.  Emergency medical helicopter transport currently uses the Portland Jetport, from which patients are transferred into an ambulance and driven to MMC. The proposed helipad would allow for emergency medical helicopter transport directly to Maine Medical Center.  From the helipad, the proposed elevator tower would allow patients to be brought down to an enclosed corridor bridge over the loop road within the campus to the operating rooms or the emergency room.  The helipad is proposed within a Helistop Overlay Zone (HOZ) approved by the City Council as part of the conditional rezoning agreement. The HOZ is centered on the helipad.  It includes the adjacent elevator tower, and is located almost entirely within the proposed conditional zone, as shown on the map of the conditional zone and in Exhibit A within the proposed conditional zone agreement. The helipad proposal did not need to seek relief from existing zoning district standards. However, because the helipad is proposed to be located on top of an existing structure, relief from the setback and fencing requirements of the HOZ were also included in the conditional rezoning.  In addition, the conditional zone agreement explicitly supercedes section 14-409 of the City’s Land Use Code, which contains outdated requirements for heliports that were adopted in the 1960s and were based on FAA standards that were current at that time. The conditional zone agreement requires MMC to comply with current FAA standards instead.

Central Utility Plant. MMC proposes to consolidate existing heating, cooling and gas management systems now dispersed among the several individual buildings of the campus into one building.  The proposed central utility plant would be located on Gilman Street, directly opposite the intersection of A Street with Gilman Street.  The limited space available and the internal space requirements for this function led the applicant to seek conditional zoning relief from height limitations for the proposed central utility plant building. In addition, in responding to neighborhood and City staff concerns about the visual impact from the proposed structure’s original façade design, the applicant is proposing to apply a brick façade that will necessitate up to 5 feet of relief from the minimum setback requirement in the R-6 Residential Zone.

Reconstruction of Hospital Entrances.  The existing entrances to Pavilion C and Pavilion A, presently off of Brackett Street’s end and Charles Street, will be reconstructed to include a small handicapped parking area and, in front of Pavilion A, a circular drive opening onto the relocated Ellsworth Street. Additional landscaping and seating and a new entrance canopy are also included.

Pocket Park at Ellsworth and Wescott Streets.  The proposed realignment of Ellsworth Street between Brackett Street and the new location of Wescott Street will cut diagonally across two now vacant lots at the corner of Ellsworth and Brackett/Charles Streets.  The resulting triangle is proposed to serve as a pocket park with proposed seating and landscaping.  It will be located directly opposite the proposed reconstructed hospital entrance.

Vaughan Street Lot Landscaping and Sidewalks Plan.   The addition of landscaping to the edges of the Vaughan Street parking lot is proposed along with replacement of the deteriorating fence with a new more attractive fence.  In addition, MMC proposes to replace the existing rutted brick sidewalks along Vaughan, Brackett, Bramhall Streets adjacent to the lot, and to create new brick sidewalk adjacent to the Chadwick side of the lot.

Vacation of Charles Street, Relocation of Portions of Brackett, Wescott and Ellsworth Streets.  In addition to the demolition of the former New England Rehabilitation Hospital building, the Charles Street Addition will  require the land presently dedicated to Charles Street to be vacated, and the relocation and rebuilding of portions of Brackett, Wescott and Ellsworth Streets and related sidewalks as shown on the site plans, and as detailed on the Street Vacation, Acceptance and Land Transfers Plan.

Gilman Street Cul-de-sac Reconstruction for Improved Emergency Vehicle Access.  In response to a request from the Fire Department during staff level review of this project, Maine Medical Center will make improvements to the existing intersection of its interior access road and Gilman Street.  This intersection is adjacent to the Western Promenade in the rear of the hospital campus.  The improvement has been requested in order to allow for emergency vehicles to enter or exit the Maine Medical Center campus from the rear.  This would provide improved and alternate means of access to more parts of the campus.  And it is important to note that it would address what the Fire Department considers present deficiencies in emergency access options needed to adequately serve the existing campus as well as the proposed improvements.

The applicant has provided a proposed plan for revisions to the street grading and ROW width for the intersection of Gilman Street and the loop road through the campus. This plan includes new landscaping on a 1-to-1 slope on the new curve embankment, and a relocated existing footpath at the top of the new curve embankment.  The new plan for the top of Gilman Street is designed to meet specific measurements of the fire apparatus that would be dispatched to MMC in the event of emergency.

The Gilman Street cul-de-sac presently includes some MMC land that was apparently conveyed to the hospital with the discontinuation of Arsenal Street but never subsequently made part of the Gilman St ROW.  The reworking of the curve will necessitate cutting back into the edge of the Western Promenade Park, involving a land transfer of City land between the park and the street ROW.  Both land transfers are depicted on the Street Vacation, Acceptance and Land Transfers Plan.

Pedestrian Access between Crescent and Congress Streets. To fulfill a condition of the conditional rezoning agreement, MMC proposes to provide a dedicated public pedestrian access way between Congress Street and Crescent Street, so as to provide improved pedestrian linkage between the two neighborhoods. This design is slightly modified from that presented at the May 10th Planning Board workshop.  The glass stair tower remains relatively unchanged, but to comply with the Americans with Disabilities Act (ADA), the enclosed exterior horizontal walkway proposed earlier on the exterior of the garage is to be eliminated and replaced by pedestrian access through the Crescent Street entrance/exit to the garage and along the interior of its east end.

Congress Street Sidewalk Reconstruction.  Maine Medical Center proposes to reconstruct the existing sidewalk from their eastern property boundary along Congress Street to the intersection of Gilman Street with Congress.  This will encompass proposed replacement brick sidewalk east of and directly in front of the new parking garage, and replacement of existing concrete sidewalk with brick sidewalk in front of the existing parking garage.  Near the intersection of Gilman the proposed sidewalk is widened into a small pedestrian plaza that will be cut into the existing grass knoll and include seating that will serve a proposed bus stop agreed to by METRO.  The existing bus stop just east of the east end of the proposed garage will remain at its present location and this whole section of Congress Street will be served by two bus stops.

Concrete Sidewalks. In replacing sidewalks where the City’s brick sidewalk replacement policy is in effect, MMC sought and received limited exemption from the requirement for brick sidewalks, in locations to be determined at the time of site plan review, and which are now shown on the proposed site plan. MMC remains concerned that the requirement for brick sidewalks presents the unusually high proportion of people with infirmities that limit their pedestrian mobility in the population that uses and visits the hospital with an unwarranted degree of safety hazard when compared with concrete sidewalks.

Former Eagles’ Club Building Demolition.  As a condition of the conditional zone agreement, MMC will demolish the now vacant former Eagles Club building at the corner of A Street and Gilman Street, and loam and seed the site.

V. 	OVERVIEW OF REMAINING PROJECT REVIEWS

Maine Medical Center is now returning to the Planning Board for site plan review and related reviews that their project needs to undergo. These include, in an order recommended by staff, the following:

- Conditional Use for Hospital Expansion in the R-6 Residential Zone

- Conditional Use for the Parking Garage as a Use Replacing Housing

- Plan for Preservation and Replacement of Housing Units

- Site Plan

- Site Location of Development

- Street Vacation, Acceptance and Land Transfers: Recommendations to the City Council

The remainder of this staff memo will describe the most recent submissions and staff review findings and recommendations, and suggest motions for each type of review for the Planning Board’s consideration.

VI.	MOST RECENT SUBMISSIONS

In your packet you will find an 11 x 17 set of revised site plans, which should include Existing Conditions, Site Plans, Grading Plans, Utility Plans, Landscape Plans and Lighting Plans.  These are together as Attachment 2.  It should be noted that an earlier version of the site plan was submitted as Exhibits B1-22 in the conditional zone agreement proposed by the Planning Board to the City Council in February 2005 and is part of the April 25, 2005 conditional zone agreement as approved. The language of the agreement anticipates that some elements of the site plan may be subject to further revision at the time of site plan review by the Planning Board. These include, but are not necessarily limited to, the final design of the parking garage façade and the specific delineation on the site plan of concrete sidewalk locations in the public right-of-way immediately adjacent to the Maine Medical Center property.

You will also find a memo from Paul Gray detailing submissions and activities since the May 10th Planning Board workshop, as Attachment 3.  Mr. Gray may have additional elevation drawings to present at the May 31, 2005 public hearing.  As of this writing final design details for the parking garage are being worked out in dialogue with City staff, the applicant, and the applicant’s architect.

Notices for the required neighborhood meeting prior to the site plan review public hearing were sent to 480 addresses and a legal ad appeared in the newspaper.  The meeting was held at the Dana Center at Maine Medical Center on the evening of May 23, 2005.  Four people attended.  The invitation letter, the sign in sheet, and the minutes of the meeting are together as  Attachment 4.

An email from Penny Stevens, a resident of the area is included as Attachment 5.

A revised Alternative Transportation/Travel Demand Management Plan was also submitted that offers responses to the possibility that the hospital might inadvertently be discouraging sharing of rides. The revised plan is contained in Attachment 6.

VII.	STAFF REVIEW

The proposed development has been reviewed by staff for conformance with the relevant review standards of the subdivision and site plan ordinances.  Staff comments and recommendations are highlighted in the next several sections of this report that also include suggested motions relative to each of the reviews remaining.

VIII. 	CONDITIONAL USE FOR HOSPITAL EXPANSION IN THE R-6 RESIDENTIAL ZONE

The applicable standards for conditional use review are contained in Section 14-474 of the Land Use Code. In addition, this particular conditional use – expansion of a hospital in an R-6 Residential Zone – must also meet the standards of Section 14-137(c) that contained in the unnumbered paragraph and three sub-paragraphs, a., b., and c., immediately following Section 14-137 (c) 8.

IX.	CONDITIONAL USE FOR THE PARKING GARAGE AS A USE REPLACING HOUSING

The applicable standards for conditional use review are contained in Section 14-474 of the Land Use Code.  In addition, Section 14-483 (e), the same section of the Preservation and Replacement of Housing Units ordinances that invokes the requirement for both conditional use review and site plan review of the replacement use on the original site of housing being replaced, contains additional standards for mitigation of impacts of the replacement use.

X.	PLAN FOR PRESERVATION AND REPLACEMENT OF HOUSING UNITS

The applicable standards for this review are contained in Section 14-483 (a) – (o) of the Land Use Code.  In July 2004 As part of the conditional zone agreement negotiation review, the Planning Board received a staff memo from Wendy Cherubini, of Housing & Neighborhood Services that reviewed and made recommendations concerning Maine Medical Center’s proposed housing replacement plan.  For another copy of the same review memo, see Attachment 7, containing Ms. Cherubini’s review comments and recommended conditions of approval of the housing replacement plan.

XI.	SITE PLAN REVIEW

Neighborhood Meeting As documented above, this meeting was held on May 23, 2005.

Helistops with More Than Five Landings Per Month Are Subject to Site Plan Review   MMC’s proposed helistop is also subject to the standards in Sections 14-327 (a) (1), (2), and (5).  The conditional zone agreement exempted this helistop from Sections 14-327 (a) (3) and (4).

Site Plan Review Standards The procedures and standards for site plan review that apply to this project are contained in Article V, Section 14-521 through 14-526.  More specifically, the review standards of 14-526 (a), as applicable, and the authorization of conditions of approval in Section14-526 (b) are the standards the Board is authorized to apply under site plan review.

1.	Traffic

Traffic Study:  Gorrill-Palmer Consulting Engineers, Inc. (GPCEI) has prepared a traffic study which has been for the Planning Board since early last year. Gorrill Palmer and the City’s Traffic Engineer, Tom Errico, have corresponded at length concerning the findings of the Traffic Study.  Attachment 8a. – d. contains the latest correspondence, including recommended conditions of approval from Tom Errico. Attachments 8c and 8d include recommended conditions of site plan approval for the Board’s consideration.  These include a traffic monitoring study at the garage entrance, MMC’s agreed upon contribution to the signal upgrade at Bramhall and Congress Street, splitting the cost with the City, and including future emergency pre-emption technology in the upgrade, for when the technology becomes available.  The Alternative Transportation/Travel Demand Management Plan should also help to keep additional traffic impacts smaller than they might be otherwise.

2.b.	Off-Street Parking

Parking Study:  Gorrill-Palmer produced a parking study for MMC which has been reviewed by both Tom Errico, the City’s consulting traffic engineer and by John Peverada, the City’s Parking Manager.

Tom Errico has found the parking study to be acceptable.  The Alternative Transportation/Travel Demand Management Plan was developed subsequently to the Parking Study, and may help to reduce projected parking demand by reducing the number of cars on the road in and around the Bramhall campus.

John Peverada’s concerns were largely addressed by the conditional zone agreement’s requirements that the new garage accommodate contractors and vendors and be available for snow ban parking.  For additional recommended conditions of approval, see Attachment 9, John Peverada’s email of May 19, 2005. .

3.	Bulk, Location, Health, Safety Air

Because the proposed parking garage generates automobile exhaust and is cut into the side of a steep hill, there is about 1 foot of clearance around the whole garage between it and the hill in order to allow for ventilation.

MMC has planned the Central Utility Plant to save over $400,000 in annual operating costs through greater efficiency due to centralization.  MMC has recently received an update of its air emissions license from the Maine Department of Environmental Protection in anticipation of these greater efficiencies and reduced overall air pollution.  See Attachment 10 for license cover sheet.

The applicant’s shadow study showed that there is mostly little or no increase in shadows from the bulk of the new development, examining comparative shadow generation at the solstices.  See Tab 24 of the Site Location of Development application.

4.	Bulk, Location, Height of Proposed Buildings

Building heights are detailed in Section III, above.  The Central Utility Plant has proposed heavy screening by spruce trees to limit its visual – possibly also limit its noise impacts.

The applicant’s architects, in consultation with the city and the neighborhood have worked the bulk of the new parking garage on repeatedly, and a design concept has been approved by the City Council as part of the conditional zone agreement.

However, the conditional zone agreement does not preclude conformity with the City’s Urban Design Guidelines within the framework of the concept established by the City Council, particularly with respect to those guidelines that apply to the first level of retail uses in the B-2 zone.  The City’s urban designer is preparing a memo, pursuant to the Board’s request that examines the degree of conformity with the Urban Design Guidelines.

The proposed Charles Street Addition has its mass broken up somewhat by white lines and ample and cantilevered panels of fenestration that extend outward from the surfaces.

Landscaping plans also contribute to softening building masses in some locations.

5.	Sewers, Stormdrains, Water

The site plan application materials include letters from the Portland Water District, Attachment 11, and the Department of Public Works, Attachment 12, respectively that indicate there is adequate public water supply and sewer capacity to serve the proposed development.  There is also a statement, Attachment 17, on how MMC plans to handle solid waste disposal.  The City Engineer has been working with the applicant to locate and evaluate Stormdrains.  Steve Bushey, the City’s consulting stormwater management engineer has produced a review memo, Attachment 13, which includes recommended conditions of approval.

6.	Landscaping and Existing Vegetation

The landscaping plan includes extensive plantings as shown on the landscape plans in the revised site plans.  The City Arborist, who has provided a memo with recommended improvements, in Attachment 14, has evaluated the plans. The landscape plan serves to beautify as well as buffer, with the buffering function strongest in front of the Central Utility Plant, and with substantial additional plantings in front of the existing parking garage.

7.	Disturbance of Vegetation.

For the most part the plans include replacement of disturbed vegetation with landscaping or construction. The landscaping behind the saved trees areas delineated on the Gilman Street landscaping plan is somewhat indefinite though, and the City Arborist recommends better definition of the plan in this steeply sloped area, and consultation with City Arborist to best determine how to replace what is shown on the plan as to be removed.

The Plan does not address protection of vegetation from further erosion along existing desire lines worn into the grass near the top of Gilman Street.

8.	Soils and Drainage

See Attachment 13.

9.	Exterior Lighting

Lighting fixtures selections and lighting plan sheets have been been prepared, and will be reviewed prior to the May  31st Planning Board meeting.

10.	Fire

The site plan will improve access to MMC in a way that is needed and has been for needed for years.  By improving Gilman Street, fire apparatus will be able to reach MMC from two directions, not just from the Crescent street side.  Deputy Chief Shutts describes other fire protection aspects of the proposed development in Attachment 15, along with proposed conditions of approval.

11.	Integration with City Infrastructure and Utilities

MMC has agreed to contribute $65,000 to signal replacement at Bramhall and Congress in a manner that will be compatible with future signal pre-emption technology should it become available.  The Verizon facility at the location of the east end of the new garage is in the process of being integrated into the garage design.  The proposed sidewalks along Congress Street replace concrete with brick for about half their length and will join to the new sidewalk recently installed by the City.  Two Metro bus stops will serve but not interfere with access to the new parking garage.

17.	Information Required Submitted; Compliance with Applicable Code

The City still has not received the final designs for the new parking garage façade, retail space, pedestrian plaza, pedestrian access way and stair tower. Currently the plans we have received remain conceptual and sometimes contradictory.  Final designs showing colored elevation views have been requested but not yet received.

- Historic Landmarks, Districts, and Landscape Districts

This project is within 100 feet of a Historic Landscape District where the Gilman Street cul-de-sac is adjacent to the Western Promenade Park.  Early on in the development review process, staff evaluated the impact of the revised road alignment, grading and landscaping on this District and determined it to be very limited and not visible at all from the Western Promenade itself.

The Vaughan Street lot is also adjacent to Historic Landmark, McGeachey Hall which is also part of a Historic District across the street.  Staff note that the present plan for the retaining wall within the lot includes use of cultured stone material, and see this as incongruous to the character of the area, including the portions of the existing retaining wall which do not need to be rebuilt.  Staff recommends requiring the use of natural stone for material, rather than cultured stone.  Staff also recommends that the Board require that both the selection of material and the technique used for its installation be carefully evaluated beforehand so as to match existing construction techniques and completed appearance in the District.

20.	No adverse impact on natural or water resources; stormwater quality.

- See Steve Bushey’s memo, Attachment 13.

22. 	Signs.

The only signs proposed are way-finding signs.  Among these is a large rectangular sign that is proposed to stand on end at the Bramhall Congress Street intersection, directing people to the hospital.  It is being examined to determine whether it poses a traffic hazard by interfering with sight lines.  Many other signs, shown on the site plans are much smaller directional signs, and they are sometimes in the public ROW where license agreements with the City will be needed.

27. 	Development located in B-2 and B-2b zones.

See Carrie Marsh’s memo, Attachment 18, which provides description, comments, evaluation of the parking garage and its retail space in view of the Downtown Urban Design Guidelines and proposed conditions of approval for

XII.	SITE LOCATION OF DEVELOPMENT

See Volume 2 of MMC’s January 2004 application for zoning amendment (Site Location application)

XIII.	STREET VACATION, ACCEPTANCE AND LAND TRANSFER PLAN: RECOMMENDATIONS TO THE CITY COUNCIL

See Attachment 16. This plan must be approved by the City Council to authorize the changes shown on it, which are in turn crucial to the proposed improvements.  The Planning Board is charged with making recommendations to the Council, before the Council can take action.

XIV.	MOTIONS FOR THE BOARD TO CONSIDER

On the basis of plans and materials submitted by the applicant, public comment received at the public hearing and the information contained in Planning Report # 35-05 relevant to standards for subdivision and site plan regulations, and the Portland Planning Board finds:

1.  	That the proposed expansion of a hospital in the R-6 Residential Zone [is or is not] in conformance with the conditional use standards of the land use code, subject to the following conditions:

2.  	That the proposed replacement of housing with a new parking garage [is or is not] in conformance with the conditional use standards of the land use code, subject to the following conditions:

3.  	That the proposed plan for preservation and replacement of housing [is or is not] in conformance with the requirements Preservation and Replacement of Housing Ordinance of the land use code, subject to the following conditions:

i. Prior to a building permit being issued for the new development MMC shall comply with recommended conditions in the Housing Replacement Plan review memo of Wendy Cherubini, dated July 5, 2004.

4.	That the site plan [is or is not] in conformance with the site plan standards of the land use code, subject to the following conditions:

i. 	The applicant shall comply with the recommended conditions of approval pertaining to traffic and the traffic signal upgrade at Bramhall and Congress Street as set forth in the development review memos by Tom Errico dated May 11, 2005 and May 25, 2005.

ii.  	MMC shall comply with the four conditions related to parking recommended by John Peverada in his review memo of May 19, 2005.

iii.	MMC shall carry out each of the recommended actions related to stormwater management and infrastructure contained in the review memo by Stephen Bushey, dated May 26, 2005

iv.  	MMC shall follow the recommended landscape plan improvements recommended by the City Arborist in his review memo dated May 27, 2005, but shall not be required to place a sidewalk along the edge of the Gilman Street curve, as described therein.

v.	The Vaughan Street lot retaining walls shall be constructed with natural stone and not with cultured stone, as proposed.  The natural stone shall be carefully selected and installed so as to match the existing natural stone in remaining sections of the retaining wall and so as to be not incongruous with existing historic structures and objects nearby.

vii.	MMC shall carry out the Fire Department’s recommended conditions of approval, as set forth in Deputy Chief Michael Shutts’ email of May 27, 2005.

viii. 	MMC shall carry out its proposed Alternative Transportation/Travel Demand Management Plan as presented in Attachment 6 of this staff memo.

ix.	MMC shall obtain all required license agreements and permits for way-finding and directional signs from the City, and shall modify sign designs as requested by the City when needed to protect traffic sight lines.

x.	MMC shall submit final design details of the Congress Street garage/retail façade for review for consistency with the City’s downtown urban design guidelines, for review and approval by the Planning Authority [or by the Planning Board] prior to issuance of a building permit for the new parking garage.

xi.	MMC provides a crosswalk from the south side of Crescent Street to the Crescent Street entrance to the new parking garage, so that those person wish to reach the east end of the garage on any level or wishing to use the stair tower need not cross egress traffic and ingress traffic to do so.  MMC shall use some form of internal barrier within the top level of the garage on the east end to separate pedestrians from turning car traffic.  City planning staff shall determine if these conditions are met.

5.	That the plan [is or is not] in conformance with the Site Location of Development standards of the land use code, under the City’s delegated authority to administer the Site Location of Development Law, subject to the following conditions:

i. MMC shall comply with the conditions of site plan approval established above.

6.  	That the Planning Board recommends to the City Council the street discontinuances and the proposed street lay out for the realigned streets shown on the Sebago Technics Plan, titled "Street Vacation (sic)/Acceptance and Land Transfer Plan" dated December 10, 2004.

Attachments:

1.  	Conditional Zone Agreement approved April 25, 2005, with Exhibits A – G. in May 2005 Notebook.

2.   	Revised Site Plans, May 25, 2005

3.  	Memo from Paul Gray to the Planning Board, dated May 27, 2005

4.    	Letter, sign-in sheet, and minutes of the May 23, 2005 Neighborhood Meeting

5.    	Email from Penny Stevens, dated May 10, 2005.

6.    	Revised Alternative Transportation/Travel Demand Management Plan.

7.    	Housing Replacement Plan review memo from Wendy Cherubini, dated July 5, 2004.

8a.  	Tom Errico’s email of May 6, 2005

8b.  	Tom Gorrill has sent a letter responding, dated May 17, 2005

8c.  	Tom Errico’s email from May 26, 2005

8d.  	Tom Errico’s email from May 27, 2005

8e.	Tom Errico’s e-mail from May 11, 2005

9.	Memo from John Peverada dated May 19, 2005

10.

11.	Portland Water District letter dated November 20, 2003

12.	Sewer Capacity Letter dated May 17, 2004

13.	Memo from Steven Bushey dated May 26, 2005

14.	Memo from Jeff Tarling dated May 27, 2005

15.	Memo from Deputy Chief Shutts dated May 26, 2005

16.	Street Vacation/Acceptance and Land Transfer Plan

17.	Solid Waste Plan

18.	Memo from Urban Designer dated May 27, 2005