October 11, 2012

165 Neal St

Dear Sirs,

49829-0-0 165 Neal st

1.-electrical panel unblocked

2.-Fire doors to be installed week of 10/18/2012

3.-sprinkler over water will be installed the same week

Peter Adams

Owner