Inspection Services                                       		Department of Urban Development

Michael J. Nugent			                                                  Joseph E. Gray, Jr.

Manager                                                                                                                                Director

CITY OF PORTLAND

July 1, 1999

Linda Walls

P.O. Box 7514

Portland ME  04112

RE:	7 Houlton St

CBL:	055-B-017

Dear Ms. Walls:

Certified Mail Receipt #  Z 397 901 709

An evaluation of your property at 7 Houlton St on June 23, 1999 revealed that the structure fails to comply with Section   of the Housing Code of the City of Portland.

The violations are as follows:

116.20		Basement	Posting basement apartment for lack of exiting head room,

emergency egress is not met.  Use must be discontinued and kitchen must be removed.

120.20		3rd Fl		Due to conditions of unit open wiring, missing wall board.  A

building permit will be required to restore this floor

Based on that list, and pursuant to Section 6-120.(1)(2)(3), this office declares the dwelling unit is unfit for human habitation.  A reinspection of the premises will occur on   at which time the dwelling unit must be totally vacated and secured from vandalism.  Failure to comply will result in this office referring the matter to the City of Portland Corporation Counsel for legal action and possible civil penalties, as provided for in Section 1-15 of the Code and in Title 30-A.M.R.S.A.ss4452.

This constitutes an appealable decision pursuant to Section 6-127 of the Code.  Please feel free to contact me at 874-8709, if you wish to discuss the matter or have any questions.

Sincerely,

Tom Reinsborough

Code Enforcement Officer

/sap

cc:	New Neighbors Program

Joe Gray

Central File