SECTION 01631

PRODUCTS AND SUBSTITUTIONS

1. 	GENERAL

1.1	PROCEDURAL REQUIREMENTS

A.  	Source Limitations:

1.  	To the fullest extent possible, provide products of the same generic kind, from a 				single source, for each unit of work.  Where it is not possible to do so, match 				separate procurements as closely as possible.

2.  	To the extent that the product selection process is under the Contractor's control, 			provide products that are compatible with previously selected products.

3.  	Where standard products are available that comply with specified requirements, 				provide those standard products that have been used successfully before in similar 			applications, and that are recommended by the manufacturers for the applications 			indicated.

1.2	PRODUCT SELECTION LIMITATIONS

A.  	Product Selections:  Comply with the following requirements in the selection of 				products, materials and equipment:

1. 	Single Product Name:  Where only a single product or manufacturer is named, 				provide the product, unless it is not available, is incompatible with existing work, 			or does not comply with specified requirements or governing regulations.

2.  	Two or More Products Named:  Where two or more products or manufacturers are 			named, the selection is at the Contractor's option, provided the product selected 				complies with specified requirements.

3.  	"Or Approved Equal" Provisions":  Where products or manufacturers are specified 			by name accompanied by the term "or approved equal", provide either the product 			named, or comply with the requirements for gaining approval of "substitutions" for 			the use of an unnamed product.

4.  	Compliance with Standards:  Where the specifications require only compliance 				with an imposed standard, code or regulation, the Contractor has the option of 				selecting any product that complies with specified requirements provided no 					product names are indicated.

5.  	Performance Requirements:  Where the specifications require compliance with 				indicated performance requirements, the Contractor has the option of selecting any 			product that complies with the specific performance requirements, provided no 				product names are indicated.

6.  	Visual Requirements:  Where the specifications indicate that a product is to be 				selected from the manufacturer's standard options, without naming the 						manufacturer, the Architect/Engineer has the option of making the selection, after 			the Contractor has determined or selected the manufacturer.

B.  	Nameplates:  Except as otherwise indicated for required labels and operating data, do 			not permanently attach or imprint manufacturer's or producer's nameplates or 				trademarks on exposed surfaces of products which will be exposed to view either in 			occupied spaces or on the exterior of the completed project.

1.3 	 SUBSTITUTIONS

A.  	Conditions:  The Contractor's requests for substitutions will be considered when they 			are reasonable, timely, fully documented, and when they qualify under one or more of 		the following circumstances.

1.  	The proposed substitution is related to an "or approved equal" or similar provision 			in the contract documents.

2.  	The required product cannot be supplied in time for compliance with Contract Time 			requirements.

3.  	The required product is not acceptable to governing authorities.

4.  	The required product cannot be properly coordinated with other materials in the 				work, or cannot be warranted or insured as specified.

5.  	The proposed substitution will offer a substantial advantage to the Owner after 				deducting offsetting disadvantages including delays, additional compensation to the 			Architect/Engineer for redesign, evaluation and other necessary services, and 				similar considerations.

B.  	Submittals:  Include the following information, as appropriate, in each request for 			substitution:

1.  	Provide complete product documentation, including product data and samples, 				where appropriate.

2.  	Provide detailed performance comparisons and evaluation, including testing 					aboratory reports where applicable.

3.  	Provide coordination information indicating the effect of the substitution on other 			work and the time schedule.

4.  	Provide cost information for the proposed change order.

5.  	Provide the Contractor's general certification of the recommended substitution.

1.4 	DELIVERY, STORAGE, AND HANDLING

A.  	Receive, store and handle products, materials and equipment in a manner which will 			prevent loss, deterioration and damage.

B.  	Schedule deliveries so as to minimize long-term storage at the project site.

END OF SECTION