SECTION 02315

EXCAVATION, EMBANKMENT AND COMPACTION

PART 1  GENERAL

1.01	SECTION INCLUDES

A.	Common excavation, stockpile subsoil for later reuse.  Remove excess from site.

B.	Construct embankments with excavated subsoil and borrow.

C.	Grade and rough contour site.

D.	Prepare subsoil and borrow to receive subbase and base gravels and topsoil materials.

E.	Place, grade and compact subbase and base gravels to receive pavement.

F.	Compaction requirements.

G.	Dust control.

1.02	RELATED SECTIONS

A.	Section 02250 - Dewatering:  Dewatering of Excavations and water control.

B.	Section 02317 - Trenching

C.	Section 02320 - Slope Protection.

D.	Section 02741- Bituminous Concrete Paving.

1.03	REFERENCES

A.	AASHTO T 180 - Standard Specification for Moisture-Density Relations of Soils Using a 4.54 kg (10-lb) Rammer and a 457 mm (18 in.) Drop; American Association of State Highway and Transportation Officials; 1997.

B.	ASTM C 136 - Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates; 1996a.

C.	ASTM D 698 - Test Method for Laboratory Compaction Characteristics of Soil Using Standard Effort (12,400 ft-lbf/ft3 (600 kN-m/m3)); 1991.

D.	ASTM D 1556 - Standard Test Method for Density and Unit Weight of Soil in Place by the Sand-Cone Method; 1990 (Reapproved 1996).

E.	ASTM D 1557 - Test Method for Laboratory Compaction Characteristics of Soil Using Modified Effort (56,000 ft-lbf/ft3 (2,700 kN m/m3)); 1991.

F.	ASTM D 2167 - Standard Test Method for Density and Unit Weight of Soil in Place by the Rubber Balloon Method; 1994.

G.	ASTM D 2487 - Standard Classification of Soils for Engineering Purposes (Unified Soil Classification System); 1998.

H.	ASTM D 2922 - Standard Test Methods for Density of Soil and Soil-Aggregate in Place by Nuclear Methods (Shallow Depth); 1996.

I.	ASTM D 3017 - Standard Test Method for Water Content of Soil and Rock in Place by Nuclear Methods (Shallow Depth); 1996.

J.	ASTM D 4318 - Standard Test Method for Liquid Limit, Plastic Limit, and Plasticity Index of Soils; 1998.

1.04	DEFINITIONS

- Common excavation:  Excavated material meeting the description of MDOT Specification Section 203.01, except common excavation shall include the removal and disposal of boulders, solid mortared stone masonry, and concrete masonry when each is less than 2 cubic yards in volume.

B.  	Rock Excavation

1.  Rock excavation includes removal and disposal of solid rock, boulders over 1 cu. 		yd., ledge rock, rock-hard cementitious deposits and other materials or obstructions 		which cannot be dislodged and excavated with modern, heavy-duty, track-mounted 		excavating equipment defined as follows:

a.  For trenches less than 10' in width or pits in excess of 30' in either length or width:  Caterpillar Model 215 or equivalent hydraulic excavator.

b.  For open excavation (all excavations other than above):  Caterpillar Model No. 973 or 977K or equivalent loader.

2.  If encountered, rock excavation will be paid for in accordance with contract 			conditions relative to changes in work.  Rock payment lines are limited to the following:

a.  Two feet outside of concrete work for which forms are required, except  footings.

b.  One foot outside perimeter of footings.

c.  In pipe trenches, 6" below invert elevation of pipe and 2 ft. wider than inside 		diameter of pipe, but not less than 3 ft. minimum trench width.

d.  Neat outside dimensions of concrete work where no forms are required.

e.  Under slabs on grade, 6" below bottom of concrete slab.

C.  Unauthorized excavation (removal of materials beyond indicated subgrade elevations) 		may be filled with compacted structural fill.

1.05	SUBMITTALS

A.	Samples:  10 lb  sample of each type of fill; submit in air-tight containers to testing laboratory.

B.	Materials Sources:  Submit name of imported materials source.

C.	Fill Composition Test Reports:  Results of laboratory tests on proposed and actual materials used.

D.	Compaction Density Test Reports.

1.06	PROJECT CONDITIONS

A.	Verify that survey bench mark and intended elevations for the Work are as indicated.

B.	Protect bench marks, survey control points, existing structures, fences, sidewalks, paving, and curbs from excavating equipment and vehicular traffic.

C	Protect above or below grade utilities which are to remain.

D	Underpin adjacent structures which may be damaged by excavation work, including service utilities and pipe chases.

E	Notify Owner of unexpected subsurface conditions and discontinue work in affected area until notification to resume work.

F.	Protect excavations and soil adjacent to and beneath foundations from frost.

G.	Grade excavation top perimeter to prevent surface water runoff into excavations.

H.	Protect excavations by shoring, bracing, sheet piling, underpinning or other methods required to prevent cave-in or loose soil from falling into excavation.

I.	Maintenance of existing flows:

1.	Keep existing sewers and drains in operation.

2.	If existing sewers and drains are disturbed, provide for maintenance of such flows until work is completed.

3.	Do not allow raw sewage to flow on ground surface or stand in excavation.

J.	Provide sufficient quantities of fill to meet project schedule and requirements.  When necessary, store materials on site in advance of need.

K.	When fill materials need to be stored on site, locate stockpiles where indicated.

1.	Separate differing materials with dividers or stockpile separately to prevent intermixing.

2.	Prevent contamination.

3.	Protect stockpiles from erosion and deterioration of materials.

PART 2  PRODUCTS

2.01	MATERIALS

A.	Subsoil:  Reused, meeting the requirements of Common Borrow.

B.	Common Borrow:  MDOT 703.18; Earth, suitable for embankment construction, free from frozen material, perishable rubbish, peat and other unsuitable material, with sufficient moisture content to provide the required compaction and stable embankment, moisture content shall not exceed 4 percent above optimum.  Determine optimum moisture content in accordance with AASHTO T 180, Method C or D.

C.	Granular Borrow:  MDOT 703.19; Sand or gravel of hard durable particles free from vegetable matter, lumps or balls of clay and other deleterious substances.  The gradation of that portion passing a 3 inch sieve shall meet the following requirements:

1.	No. 40 sieve:  0 to 70 percent passing by weight.

2.	No. 200 sieve:  0 to 20 percent passing by weight.

D.	Granular borrow shall contain no particles or fragments with a maximum dimension in excess of one-half of the compacted thickness of the layer being placed.

E.	Gravel Borrow:  MDOT 703.20; Uniformly graded granular material having no rocks with a maximum dimension of over 6 inches. The gradation of that portion passing a 3 inch sieve shall contain not more than 70 percent passing by weight a 1/4 inch mesh sieve and not more than 10 percent passing by weight a No. 200 mesh sieve.

F.	Aggregate Base:  Crushed gravel of hard durable particles free from vegetable matter, lumps or balls of clay and other deleterious substances.  The gradation of that part that passes a 3 inch sieve shall meet the gradation requirements of MDOT Specification Section 703.06, Type A aggregate, with the following limits:

1.	1/2 inch sieve:  45 to 70 percent passing by weight

2.	1/4 inch sieve:  30 to 55 percent passing by weight

3.	No. 40 sieve:  0 to 20 percent passing by weight

4.	No. 200 sieve: 0 to 5 percent passing by weight

5.	Type A aggregate shall not contain particles of rock which will not pass the 2 inch square mesh sieve.

G.	Aggregate Subbase:  Sand or gravel of hard durable particles free from vegetable matter, lumps or balls of clay and other deleterious substances.  The gradation of that part that passes a 3 inch sieve shall meet the gradation requirements of MDOT Specification Section 703.06, Type D aggregate, with the following limits:

1.	1/4 inch sieve:  25 to 70 percent passing by weight

2.	No. 40 sieve:  0 to 30 percent passing by weight

3.	No. 200 sieve: 0 to 7 percent passing by weight

4.	Type D aggregate shall not contain particles of rock which will not pass the 6 inch square mesh sieve.

H.	Select Fill:  Screened or crushed gravel of hard durable particles free from vegetable matter, lumps or balls of clay and other deleterious substances.  The gradation of that part that passes a 4 inch sieve shall meet the following requirements:

1.	4 inch sieve:  100 percent passing by weight

2.	3 inch sieve:  90 to 100 percent passing by weight

3.	1/4 inch sieve:  25 to 90 percent passing by weight

4.	No. 40 sieve: 0 to 30 percent passing by weight

5.	No. 200 sieve: 0 to 5 percent passing by weight

I.	Structural Fill:  Granular soils with good drainage characteristics free from vegetable matter, lumps or balls of clay and other deleterious substances.  The gradation of that part that passes a 4-inch sieve shall meet the following requirements:

1.	6 inch sieve:  100 percent passing by weight.

2.	No. 40 sieve:  0 to 70 percent passing by weight.

3.	No. 200 sieve:  0 to 20 percent passing by weight.

2.02	ACCESSORIES

A.	Water for sprinkling:  Fresh and free from oil, acid, and injurious alkali or vegetable matter.

B.	Calcium chloride:  ASTM D98 commercial grade except as waived by Owner.

2.03	SOURCE QUALITY CONTROL

A.	Where fill materials are specified by reference to a specific standard, test and analyze samples for compliance before delivery to site.

B.	If tests indicate materials do not meet specified requirements, change material and retest.

C.	Provide materials of each type from same source throughout the Work.

PART 3  EXECUTION

3.01	EXAMINATION

A.	Identify required lines, levels, contours, and datum locations.

B.	Examine the areas and conditions under which excavating and filling is to be performed and notify Owner in writing of conditions detrimental to proper and timely completion of work

C.	Correct unsatisfactory conditions in a manner acceptable to Owner prior to proceeding with work

D.	Maintain in operating condition existing utilities, active utilities and drainage systems encountered in utility installation.  Repair any surface or subsurface improvements shown on Drawings.

E.	Verify subdrainage, dampproofing, or waterproofing installation has been inspected.

F.	Verify structural ability of unsupported walls to support imposed loads by the fill.

3.02	INSPECTION

A.	Verify stockpiled fill to be reused is approved.

B.	Verify areas to be backfilled are free of debris, snow, ice or water, and surfaces are not frozen.

3.03	PREPARATION

A.	When necessary, compact subgrade surfaces to density requirements for embankment, aggregate base and aggregate subbase materials.

B.	Identify known underground utilities.  Stake and flag locations.

C.	Identify and flag surface and aerial utilities.

D.	Notify utility companies of work to be done.

E.	Locate, identify, and protect utilities that remain and protect from damage.

F.	Scarify subgrade surface to a depth of 6 inches to identify soft spots.

G.	Cut out soft areas of subgrade not capable of compaction in place.  Backfill with granular borrow or crushed stone.

H.	The building pad shall be constructed in such a manner as to provide positive drainage of surface water off the pad and to protect the pad surface and subgrade.  Temporary ditches shall be constructed to carry any surface runoff away from the pad area, as directed by the Owner.  At the start of building construction, the pad shall be prepared for foundations and temporary ditches properly backfilled.

I.	Surface preparation shall be performed in accordance with the soils report and the requirements of the Geotechnical Engineer.

J.	Soil fill placed adjacent to foundations (interior and exterior) within 8 inches of floor slabs and as backfill around exterior foundations (including features such as bollards and light pole bases) shall be select fill and shall be placed in lift thickness such that the desired density is achieved throughout the lift thickness 3 to 5 passes of the compaction equipment.

K.	Soil fill placed within the proposed building area, below select fill, shall be structural fill.  Where structural fill is below footing grade, the zone of 95 percent compaction (maximum dry density as determined by ASTM D-1557) shall extend laterally beyond the foundation at least 1 foot for each foot of depth below foundation grade.

3.04	EXCAVATING

A.	Underpin adjacent structures which may be damaged by excavating work.

B.	Notify Engineer of unexpected subsurface conditions and discontinue affected Work in area until notified to resume work.

C.	Excavate materials encountered when establishing required subgrade elevations in accordance with MDOT Specification Section 203.04 and 203.05.

D.	Remove lumped subsoil, boulders, solid mortared stone masonry, concrete masonry and rock up to 2 cubic yards, measured by volume.

E.	Conform to elevations, contours, dimensions, line and grade shown on the Drawings.

F.	When excavation through roots is necessary, perform work by hand and cut roots with a sharp axe.

G.	Slope banks of excavations deeper than 4 feet to angle of repose or less until shored.  All excavations shall be consistent with OSHA regulations.

H.	Do not excavate wet subsoil.

I.	Remove all existing fill soils from beneath foundations.

J.	Do not interfere with 45 degree bearing splay of foundations.

K.	Correct areas that are over-excavated and load-bearing surfaces that are disturbed at no cost to Owner.

L.	Grade top perimeter of excavation to prevent surface water from draining into excavation.

M.	Remove excavated material that is unsuitable for re-use from site.

N.	Surplus Material:

1.	Make arrangements to provide suitable disposal areas off-site

2.	Deposit and grade material to the satisfaction of the owner of the property on which the material is deposited.

3.	Obtain any necessary permits for disposal.

4.	Provide suitable watertight vehicles to haul soft or wet materials over streets or pavements to prevent deposits on same.

5.	Keep crosswalks, streets, and pavements clean and free of debris.

6.	Clean up materials dropped from vehicles as often as directed by Owner.

3.05	FILLING AND SUBGRADE PREPARATION

A.	Subgrades shall be proof-rolled using a vibratory roller-compactor weighing at least 15 kips.  Any areas that continue to yield after 3 to 5 passes of the compaction equipment shall be over-excavated and replaced with clean granular fill.

B.	Compact subgrade to density equal to or greater than requirements for subsequent fill material.

C.	Place and compact fill materials in continuous layers not exceeding 12 inches loose depth upon compacted material.

D.	Fill to contours and elevations indicated using unfrozen materials.

E.	Fill up to subgrade elevations unless otherwise indicated.

F.	Employ a placement method that does not disturb or damage other work.

G.	Systematically fill to allow maximum time for natural settlement.  Do not fill over porous, wet, frozen or spongy subgrade surfaces.

H.	Maintain optimum moisture content of fill materials to attain required compaction density.

I.	Slope grade away from building minimum 2 inches in 10 ft, unless noted otherwise.  Make gradual grade changes.  Blend slope into level areas.

J.	Correct areas that are over-excavated.

1.	Load-bearing foundation surfaces:  Use select fill, flush to required elevation, compacted to 95 percent of maximum dry density.

2.	Other areas:  Use common borrow, flush to required subgrade elevation, compacted to minimum 95 percent of maximum dry density.

K.	Compaction Density Unless Otherwise Specified or Indicated:

1.	Under paving, slabs-on-grade, and similar construction:  95 percent of maximum dry density.

2.	At other locations:  90 percent of maximum dry density.

L.	Leave stockpile areas completely free of excess fill materials.

M.	Reshape and re-compact fills subjected to vehicular traffic.

N.	Frost:

1.	Do not excavate to full indicated depth when freezing temperatures may be expected unless fill material or structures can be constructed immediately after the excavation has been completed.  Protect the excavation from frost if placing of fill or structure is delayed.

2.	Fill shall not be placed over frozen soil.  Soil that is frozen shall be removed prior to placement of compacted fill.  Remove all frozen uncompacted soil prior to placing additional fill for compaction.

O.	Native soils can undergo substantial strength loss when subjected to construction traffic and excavation activities, particularly during periods of precipitation and shallow groundwater levels.  Care must be exercised to minimize disturbance of the bearing soils.  Should the subgrade become yielding or difficult to work, disturbed areas shall be excavated and backfilled with select fill or crushed stone.  Select fill shall be placed in lifts and compacted to at least 95 percent of its maximum dry density as determined by ASTM-1557.

3.06	CONSTRUCTION OF AGGREGATE BASE AND SUBBASE COURSE

A.	Place and compact aggregate base and subbase course materials in continuous layers not exceeding 8 inches loose depth upon compacted material.

B.	Employ a placement method so not to disturb or damage structures and utilities.

C.	Spread materials well mixed having no pockets of either fine or coarse material.

D.	Do not segregate large or fine particles.

E.	Compact by mechanical means to obtain 95 percent of maximum dry density as determined in accordance with ASTM Test Designation D1557.  Base course material shall be compacted with a minimum of two coverages with self propelled vibratory compaction equipment.

F.	Maintain surface, compaction and stability until pavement course has been placed.

G.	Conform to elevations, contours, dimensions, line and grade shown on the Drawings.

3.07	DUST CONTROL

A.	Upon request of Owner, implement the following dust control measures:

1.	Apply water and calcium chloride as directed by Owner.

2.	Spread calcium chloride uniformly over designated area.

3.	Apply water with equipment having a tank with pressure pump and nozzle equipped spray bar acceptable to Owner.

3.08	TOLERANCES

A.	Top surface of base and subbase course:  Plus or minus 3/8 inch.

3.09	FIELD QUALITY CONTROL

A.	Provide for visual inspection of load-bearing excavated surfaces before placement of foundations.

B.	Perform compaction density testing on compacted fill in accordance with ASTM D1556, ASTM D2167, or ASTM D2922.  Contractor shall be responsible for conducting and paying for all necessary compaction density testing.

C.	Evaluate results in relation to compaction curve determined by testing uncompacted material in accordance with ASTM D 1557 ("modified Proctor").

D.	If tests indicate work does not meet specified requirements, remove work, replace and retest.

E.	Frequency of Tests:

1.	Building subgrade areas, including 10'-0" outside exterior building lines:  In cut areas, not less than one compaction test for every 2,500 square feet  In fill areas, same rate of testing for each lift.

2.	Areas of construction exclusive of building subgrade:  In cut areas, not less than one compaction test for every 10,000 square feet.  In fill areas, same rate of testing for each lift.

3.10	PROTECTION

A.	Prevent displacement of banks and keep loose soil from falling into excavation; maintain soil stability.

B.	Protect bottom of excavations and soil adjacent to and beneath foundation from freezing.

C.	Protect newly graded areas from traffic and erosion and keep free of trash and debris.

D.	Repair and re-establish grades in settled, eroded and rutted areas within specified tolerances.

END OF SECTION