SECTION 09960

DRYVIT Exterior Architectural Coatings

PART I – GENERAL

1.01 SUMMARY:

A. This document contains all the manufacturer’s requirements for the proper design, use, and installation of Dryvit Exterior Architectural Coatings.

B. SECTION INCLUDES

1. Dryvit Exterior Architectural Coatings.

C. RELATED SECTIONS

1. Unit Masonry – Section 04200.

1.02 REFERENCES

A. ASTM B 117 (Federal Test Standard 141A Method 6061) Test Method of Salt Spray (Fog) Testing.

B. ASTM C 150 Specification for Portland Cement.

C. ASTM C 297 Test Method for Tensile Strength of Flat Sandwich Constructions in Flatwise Plane.

D. ASTM D 968 (Federal Test Standard 141A Method 6191) Test Method for Abrasion Resistance of Organic Coatings by Falling Abrasive.

E. ASTM D 3273: Test Method for Resistance to Growth of Mold on Surfaces.

F. ASTM E 84 Test Method for Surface Burning Characteristics of Building Materials.

G. ASTM E 96 Test Methods for Water Vapor Transmission of Materials.

H. ASTM G 155 (Federal Test Standard 141A Method 6151) Recommended Practice for Operating Exposure Apparatus (Carbon-Arc Type) With and Without Water, for Exposure of Nonmetallic Materials.

I. DS159 Dryvit Water Vapor Transmission Data Sheet.

J. DS152 Dryvit Cleaning and Recoating Data Sheet

1.03 DEFINITIONS

A. Contractor: The contractor that applies materials to the substrate.

B. Dryvit: Dryvit Systems, Inc., the manufacturer of the coating materials, a Rhode Island corporation.

C. Lamina: The layer consisting of the reinforced base coat and finish materials.

D. Finish: An acrylic based coating, available in a variety of textures and colors, which is applied to the prepared wall surface.

E. Reinforced Base Coat: The layer consisting of fiberglass reinforcing mesh fully embedded in the base coat material applied to the outside surface of the substrate.

F. Reinforcing Mesh: Glass fiber mesh used to reinforce the base coat.

G. Substrate: The material to which the Dryvit coatings are applied.

1.04 DESCRIPTION

A. General: Dryvit Exterior Architectural Coatings consist of base coat and reinforcing mesh (where specified), acrylic primer and finish, applied to various substrates.

B. Design Requirements

1. Acceptable surfaces for the Dryvit Exterior Architectural Coatings include:

a. Poured and precast concrete

b. Brick and masonry units

c. Cement plaster

d. Insulated Concrete Forms (ICF’S) – Please refer to ICF specifications (DS194).

e. Exterior cement and Calcium Silicate boards (without joints).

2. Vapor Retarders: Use, type and location of vapor retarders, within a wall assembly, is the responsibility of the project designer and shall be noted on the project drawings and specifications.

3. Projecting surfaces shall have a minimum slope of 6:12 and maximum length of 305 mm (12 in).

4. The substrate shall be flat within 6.4 mm (1/4 in) in a 1.2 m (4 ft) radius.

C. Performance Requirements: As a minimum the Dryvit coating materials shall be tested as follows:

1. Mildew/Fungus Resistance: ASTM D 3273 - Passed

2. Salt Spray Resistance: ASTM B 117 - Passed

3. Accelerated Weathering: ASTM G 155 – 5000 hrs. - Passed

4. Salt Spray Resistance: ASTM B 117 – 300 hrs. - Passed

5. Abrasion Resistance: ASTM D 964 - Passed

6. Absorption, Freeze/Thaw: ASTM C 67 – 60 Cycles - Passed

7. Water Penetration: ASTM E 331 – Passed

8. Wind Driven Rain: FED SPEC TT-C-555B: Passed

9. Flame Spread: ASTM E 84 – The adhesives and coatings shall have a flame spread index not exceeding 20 and a smoke developed index not exceeding 10.

10. Impact Resistance: EIMA 101.86.  Impact resistance is measured over EPS insulation and varies with the specific reinforcing mesh used.  Refer to table below.

11. Water Vapor Transmission: ASTM E 96 – Vapor Permeable

| Reinforcing Mesh/Weight g/m² (oz/yd²) | Minimum Tensile Strengths | EIMA Impact Classification | EIMA Impact Range Joules (in-lbs) | Impact Test Results Joules in-lbs) |
| --- | --- | --- | --- | --- |
| Standard - 146 (4.3) | 27 g/cm (150 lbs/in) | Level 1 | 3-6 | (25-49) | 4 | (36) |
| Standard PlusTM - 203 (6) | 36 g/cm (200 lbs/in) | Level 2 | 6-10 | (50-89) | 6 | (56) |
| Intermediate( - 407 (12) | 54 g/cm (300 lbs/in) | Level 3 | 10-17 | (90-150) | 12 | (108) |
| Panzer® 15 * - 509 (15) | 71 g/cm (400 lbs/in) | Level 4 | >17 | (>150) | 18 | (162) |
| Panzer 20 * - 695 (20.5) | 98 g/cm (550 lbs/in) | Level 4 | >17 | (>150) | 40 | (352) |
| Detail( Short Rolls - 146 (4.3) | 27 g/cm (150 lbs/in) | n/a | n/a | n/a | n/a | n/a |
| Corner Mesh™ - 244 (7.2) | 49 g/cm (274 lbs/in) | n/a | n/a | n/a | n/a | n/a |
| *Shall be used in conjunction with Standard Mesh |

1.05 SUBMITTALS

A. Product Data – The contractor shall submit to the owner/architect manufacturer’s product data sheets describing products, which will be used on this project.

B. Samples – The contractor shall submit to the owner/architect two samples of each finish, texture, and color to be used on the project.  The same tools and techniques proposed for the actual installation shall be used to prepare the samples.  Samples shall be of sufficient size to accurately represent each color and texture to be utilized on the project.

1.06 QUALITY ASSURANCE

A. Qualifications

1. Manufacturer: Shall be Dryvit Systems, Inc.  All materials shall be manufactured or sold by Dryvit and shall be purchased from Dryvit or its authorized distributor.

a. Materials shall be manufactured at a facility covered by a current ISO 9001:2000 certification.  Certification of the facility shall be done by a registrar accredited by the American National Standards Institute, Registrar Accreditation Board (ANSI-RAB).

2. Contractor*: Shall be knowledgeable in the installation of the Dryvit materials and shall be experienced and competent in the application of the Dryvit Exterior Architectural Coatings.  Additionally, the contractor shall possess a current trained contractor certificate from Dryvit for any of its Exterior Insulation and Finish Systems.

1.07 DELIVERY, STORAGE, AND HANDLING

A. All Dryvit materials shall be delivered to the job site in the original, unopened packages with labels intact.

B. Upon arrival, materials shall be inspected for physical damage, freezing, or overheating.  Questionable materials shall not be used.

C. Materials shall be stored at the job site in a cool, dry location, out of direct sunlight, protected from weather and other damage.  Minimum storage temperature shall be 7 °C (45 °F) for Color Prime™, 10 °C (50 °F) for Ameristone™ and 4 °C (40 °F) for all other products.

1.08 PROJECT CONDITIONS

A. Environmental Requirements

1. Application of wet materials shall not take place during inclement weather unless appropriate protection is provided.  Protect materials from inclement weather until they are dry.

2. At the time of application, the air and wall surface temperatures shall be minimum 7 °C (45 °F) for Color Prime, 10 °C (50 °F) for Ameristone, 2 °C (35 °F) for Rapidry DM™ 35-50, and 4 °C (40 °F) for all other products.  These temperatures shall be maintained, with adequate air ventilation and circulation, for a minimum of 24 hours thereafter, or until the products are dry.

B. Existing Conditions – The contractor shall have access to electric power, clean water, and a clean work area at the location where the Dryvit materials are to be applied.

1.09 SEQUENCING AND SCHEDULING

A. Installation of the Dryvit Exterior Architectural Coatings shall be coordinated with other construction trades.

B. Sufficient manpower and equipment shall be employed to ensure a continuous operation, free of cold joints, scaffold lines, texture variations, etc.

1.10 LIMITED MATERIALS WARRANTY

A. Dryvit Systems, Inc. shall provide a written, standard three (3) year limited warranty against defective materials, upon written request.  Dryvit shall have no liability for the application of the materials.  Dryvit shall make no other warranties, expressed or implied.  Dryvit is not liable for incidental or consequential damages.

1.11 MAINTENANCE

A. Maintenance and repair shall follow the procedures noted in Dryvit Outsulation System Application Instructions, DS204.

B. All Dryvit products are designed to minimize maintenance.  However, as with all building products, depending on location, some cleaning may be required.  See Dryvit publication DS152 on Cleaning and Recoating.

C. Sealants and flashings shall be inspected on a regular basis and repairs made as necessary.

PART II PRODUCT

2.01 MANUFACTURER

A. All components of the Dryvit Exterior Architectural Coatings shall be obtained from Dryvit or its authorized distributors.

2.02 MATERIALS

A. Portland Cement: shall be Type I, I-II or II, meeting ASTM C 150, white or gray in color, fresh and free of lumps.

B. Water: Shall be clean and free of foreign matter.

2.03 COMPONENTS

A. Base Coat (when specified):

1. Cementitious: A liquid polymer based material, which is field mixed in a 1:1 ratio by weight with Portland Cement.

a. Shall be Genesis®.

2. Ready mixed: A dry blend cementitious, co-polymer based product, field mixed with water.

a. Shall be Genesis® DM.

B. Reinforcing Mesh(es) (when specified) (required over EPS insulation): Shall be a balanced open weave, glass fiber fabric treated for compatibility with other System materials and shall be as noted in Paragraph 1.04.C.10 above.

C. Primers and Adhesion Promoter (when specified)

1. Color Prime: Pigmented, acrylic based primer used to improve adhesion and uniformity of finish color.

2. Primer with Sand™: Pigmented acrylic based primer with sand improves application of trowel-applied finishes.

3. Prymit®: Acrylic based adhesion promoter for use over previously painted surfaces.

D. Finishes: Shall be the type, color and texture as selected by the architect/owner and shall be one or more of the following:

1. Standard DPR (Dirt Pickup Resistance): Water-based, acrylic coatings with integral color and texture and formulated with DPR chemistry:

a. Quarzputz® DPR: Open-texture pattern.

PART III EXECUTION

3.01 EXAMINATION

A. Prior to application of the Dryvit coatings, the contractor shall ensure that the substrate is of a type listed in Section 1.04.B.1.

B. Prior to the installation of the Dryvit coatings, the architect or general contractor shall insure that all needed flashings and other waterproofing details have been completed, if such completion is required prior to the application of the Dryvit coatings.

C. The contractor shall notify the general contractor and/or architect and/or owner of all discrepancies.  Work shall not proceed until discrepancies have been corrected.

3.02 SURFACE PREPARATION

A. The substrates shall be prepared so as to be free of foreign materials such as oil, dust, dirt, form-release agents, efflorescence, paint, wax, water repellents, moisture, frost and any other materials that inhibit adhesion.

B. Concrete and masonry

1. Shall be dry and cured a minimum of 28 days.

2. All rough surfaces shall be skimmed with Dryvit Genesis or Genesis DM mixture to provide a smooth, flat and level base.

3.03 INSTALLATION

A. The Dryvit materials shall be mixed and applied in accordance with current Dryvit printed Outsulation System Installation Instructions, DS204.

B. Masonry Surfaces

1. Apply a continuous layer of Genesis or Genesis DM mixture over the entire wall surface to fill voids and provide a smooth level base for finish application.

2. When specified, embed a layer of reinforcing mesh into the wet base coat mixture and trowel smooth.

3. Allow the Genesis or Genesis DM mixture to cure a minimum of 24 hours until completely dry.  Cool, humid conditions may require longer cure times.

4. Using a brush, roller, or airless spray equipment, apply a coat of Color Prime or Primer with Sand (when specified) over the dry base coat surface, and allow to dry.

5. Apply the specified finish in accordance with Dryvit’s printed installation instructions.

3.04 CLEANING

A. All excess Dryvit materials shall be removed from the job site by the contractor in accordance with contract provisions.

B. All surrounding areas, where Dryvit coatings have been installed, shall be left free of debris and foreign substances resulting from the contractor’s work.

3.05 PROTECTION

A. The Dryvit coatings, and the project shall be protected from damage and exposure to dust and other contaminants until dry.

End of Section