CITY OF PORTLAND

DEPARTMENT OF PLANNING & URBAN DEVELOPMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

|  |  |  |
| --- | --- | --- |
| **Owner/Manager**BROWN CORA L | **Inspector**Chuck Fagone | **Inspection Date**3/9/2015 |
| **Location**203 BRACKETT ST | **CBL**055 E041001 | **Status**Re-Inspect 30 Days | **Inspection Type**Complaint-Inspection |

**Code Int/Ext Floor**

**Unit No.**

**Area**

**Compliance Date**

1) 6-116. (c) Interior Stairways

**Violation: Notes:**

**EGRESS OBSTRUCTIONS**

Rear stairway is blocked with stored furniture and other items. Stairways meant for egress should be cleared of all clutter and items.

Egress Obstruct

2) 6-116. Hallway

**Violation: Notes:**

**Comments:**

**MINIMUM STANDARDS FOR SAFETY**.

Front hallway/stairwell should have operational lights that can be switched on/off from the bottom of the stairwell and from the top.

Minimum stand

Violations of cluttered egress (back stairway) and insufficient lighting in the front hallway